## Sheet1
Sample Name | Sample source type | depth corret | Sample bulk lot ref | SOP Name | Operator name | Measurement date and time | Analysis date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Dispersant refractive index | Accessory name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Residual | Concentration | Span | Result transform type | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | Result Between User Sizes (Sizes in um) | [100 empty] | Operator Notes
[30 empty] | 0.01 | 0.011482 | 0.013183 | 0.015136 | 0.017378 | 0.019953 | 0.022909 | 0.026303 | 0.0302 | 0.034674 | 0.039811 | 0.045709 | 0.052481 | 0.060256 | 0.069183 | 0.079433 | 0.091201 | 0.10471 | 0.12023 | 0.13804 | 0.15849 | 0.18197 | 0.20893 | 0.23988 | 0.27542 | 0.31623 | 0.36308 | 0.41687 | 0.47863 | 0.54954 | 0.63096 | 0.72444 | 0.83176 | 0.95499 | 1.0965 | 1.2589 | 1.4454 | 1.6596 | 1.9055 | 2.1878 | 2.5119 | 2.884 | 3.3113 | 3.8019 | 4.3652 | 5.0119 | 5.7544 | 6.6069 | 7.5858 | 8.7096 | 10 | 11.4815 | 13.1826 | 15.1356 | 17.378 | 19.9526 | 22.9087 | 26.3027 | 30.1995 | 34.6737 | 39.8107 | 45.7088 | 52.4807 | 60.256 | 69.1831 | 79.4328 | 91.2011 | 104.7129 | 120.2264 | 138.0384 | 158.4893 | 181.9701 | 208.9296 | 239.8833 | 275.4229 | 316.2278 | 363.0781 | 416.8694 | 478.6301 | 549.5409 | 630.9573 | 724.436 | 831.7638 | 954.9926 | 1096.4782 | 1258.9254 | 1445.4398 | 1659.5869 | 1905.4607 | 2187.7616 | 2511.8864 | 2884.0315 | 3311.3112 | 3801.894 | 4365.1583 | 5011.8723 | 5754.3994 | 6606.9345 | 7585.7757 | 8709.6359 | 10000
depth correct
ACC2015_1_C10_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 6:51:33 PM | Monday, September 28, 2015 6:51:35 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.82 | 0.576 | 0.0231 | 2.034 | Volume | 42.058 | 0.615 | 0.543 | 11.052 | 7.995 | 36.451 | 82.121 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.085174 | 0.17912 | 0.26364 | 0.32704 | 0.37163 | 0.39482 | 0.40115 | 0.39653 | 0.38907 | 0.38593 | 0.39161 | 0.40658 | 0.42831 | 0.4544 | 0.48384 | 0.51579 | 0.54888 | 0.58153 | 0.6135 | 0.64603 | 0.68575 | 0.74387 | 0.84161 | 1.0027 | 1.2643 | 1.6491 | 2.192 | 2.8856 | 3.7286 | 4.6587 | 5.6182 | 6.5021 | 7.2211 | 7.6809 | 7.82 | 7.6107 | 7.0684 | 6.2436 | 5.227 | 4.1068 | 3.003 | 1.993 | 1.1708 | 0.57336 | 0.19809 | 0.046202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 6:52:15 PM | Monday, September 28, 2015 6:52:17 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.89 | 1.644 | 0.0256 | 3.034 | Volume | 109.85 | 2.24 | 0.492 | 12.199 | 9.296 | 39.57 | 129.356 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073623 | 0.15875 | 0.23515 | 0.2925 | 0.33289 | 0.35401 | 0.36001 | 0.3563 | 0.35024 | 0.34831 | 0.35444 | 0.36891 | 0.3893 | 0.41344 | 0.44052 | 0.46998 | 0.50076 | 0.5316 | 0.56234 | 0.59402 | 0.63249 | 0.68764 | 0.77868 | 0.92724 | 1.1675 | 1.5207 | 2.0192 | 2.6565 | 3.4307 | 4.2835 | 5.1597 | 5.9605 | 6.6023 | 6.9984 | 7.0948 | 6.8715 | 6.3513 | 5.5904 | 4.6801 | 3.7041 | 2.7637 | 1.9132 | 1.2111 | 0.66901 | 0.24279 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14403 | 0.56373 | 0.99851 | 1.3852 | 1.6056 | 1.5733 | 1.2728 | 0.78187 | 0.26505 | 0.00597 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_2_4 | 2 | 2 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 6:59:29 PM | Monday, September 28, 2015 6:59:31 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.94 | 0.398 | 0.0277 | 2.144 | Volume | 33.454 | 0.645 | 0.696 | 8.621 | 4.662 | 28.875 | 66.558 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007803 | 0.12339 | 0.24701 | 0.35182 | 0.42915 | 0.48207 | 0.50816 | 0.51411 | 0.50852 | 0.50271 | 0.50662 | 0.5259 | 0.56042 | 0.60499 | 0.65407 | 0.70353 | 0.74996 | 0.79071 | 0.825 | 0.85613 | 0.89157 | 0.94692 | 1.0431 | 1.2119 | 1.4813 | 1.8913 | 2.4501 | 3.1762 | 4.0262 | 4.9633 | 5.8844 | 6.7014 | 7.2989 | 7.5978 | 7.5475 | 7.1472 | 6.4426 | 5.5179 | 4.4706 | 3.4136 | 2.4237 | 1.581 | 0.90138 | 0.43571 | 0.10252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_2_4 | 2 | 2 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:00:11 PM | Monday, September 28, 2015 7:00:13 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.62 | 0.315 | 0.0272 | 2.152 | Volume | 33.213 | 0.648 | 0.694 | 8.642 | 4.661 | 28.574 | 66.147 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007368 | 0.1169 | 0.2405 | 0.34543 | 0.42317 | 0.4768 | 0.50383 | 0.51082 | 0.50628 | 0.50143 | 0.50617 | 0.52621 | 0.56159 | 0.60725 | 0.65775 | 0.70888 | 0.75704 | 0.79937 | 0.83497 | 0.86725 | 0.90409 | 0.96176 | 1.0618 | 1.2368 | 1.5146 | 1.9351 | 2.5051 | 3.2417 | 4.0987 | 5.0371 | 5.9514 | 6.7522 | 7.3246 | 7.5921 | 7.5084 | 7.0779 | 6.3514 | 5.4166 | 4.3718 | 3.3292 | 2.3623 | 1.5474 | 0.89295 | 0.45099 | 0.11496 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_4_6 | 4 | 4 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:09:04 PM | Monday, September 28, 2015 7:09:06 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.63 | 0.435 | 0.0282 | 2.066 | Volume | 33.484 | 0.618 | 0.671 | 8.94 | 5.171 | 29.286 | 65.69 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007374 | 0.11681 | 0.23724 | 0.33937 | 0.41475 | 0.46622 | 0.49121 | 0.49599 | 0.48869 | 0.48024 | 0.48031 | 0.49475 | 0.52387 | 0.56305 | 0.60708 | 0.65175 | 0.69339 | 0.72892 | 0.75725 | 0.7815 | 0.80955 | 0.85765 | 0.94816 | 1.1147 | 1.3874 | 1.8086 | 2.3881 | 3.1459 | 4.0374 | 5.0243 | 5.998 | 6.8655 | 7.5042 | 7.8304 | 7.7888 | 7.377 | 6.6412 | 5.6693 | 4.5642 | 3.4452 | 2.3977 | 1.4951 | 0.80481 | 0.24461 | 0.032513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_4_6 | 4 | 4 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:09:45 PM | Monday, September 28, 2015 7:09:47 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.36 | 0.385 | 0.028 | 2.066 | Volume | 33.516 | 0.62 | 0.663 | 9.046 | 5.279 | 29.257 | 65.724 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006943 | 0.11031 | 0.22946 | 0.3305 | 0.40515 | 0.45628 | 0.48129 | 0.48639 | 0.47961 | 0.47179 | 0.47252 | 0.48763 | 0.51745 | 0.55742 | 0.60231 | 0.64787 | 0.69039 | 0.72688 | 0.75635 | 0.78216 | 0.81241 | 0.86356 | 0.95789 | 1.1288 | 1.4058 | 1.8306 | 2.4122 | 3.17 | 4.059 | 5.0413 | 6.009 | 6.8701 | 7.503 | 7.8246 | 7.7797 | 7.3653 | 6.6269 | 5.652 | 4.5448 | 3.4264 | 2.3839 | 1.4919 | 0.81356 | 0.27325 | 0.055189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_6_8 | 6 | 6 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:16:49 PM | Monday, September 28, 2015 7:16:51 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.91 | 0.825 | 0.0251 | 2.035 | Volume | 33.03 | 0.605 | 0.679 | 8.835 | 4.983 | 29.16 | 64.31 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007651 | 0.12097 | 0.24188 | 0.34461 | 0.42075 | 0.47317 | 0.49928 | 0.5052 | 0.49889 | 0.49113 | 0.49157 | 0.50628 | 0.53597 | 0.57648 | 0.62273 | 0.67011 | 0.71385 | 0.74941 | 0.7741 | 0.78963 | 0.80349 | 0.83236 | 0.90118 | 1.0468 | 1.3048 | 1.7225 | 2.3141 | 3.1019 | 4.0383 | 5.0803 | 6.1088 | 7.0207 | 7.6836 | 8.008 | 7.9384 | 7.4771 | 6.6794 | 5.6442 | 4.4841 | 3.3259 | 2.2598 | 1.3579 | 0.68742 | 0.14524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_6_8 | 6 | 6 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:17:31 PM | Monday, September 28, 2015 7:17:33 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 17.13 | 0.84 | 0.0253 | 2.043 | Volume | 32.859 | 0.608 | 0.683 | 8.789 | 4.902 | 28.976 | 64.096 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007494 | 0.11871 | 0.24117 | 0.34523 | 0.42241 | 0.47561 | 0.50219 | 0.50837 | 0.50225 | 0.49479 | 0.49582 | 0.51147 | 0.5424 | 0.58427 | 0.63175 | 0.67996 | 0.72399 | 0.75925 | 0.7832 | 0.79792 | 0.81137 | 0.84085 | 0.91182 | 1.0615 | 1.3253 | 1.75 | 2.3481 | 3.1404 | 4.0774 | 5.1146 | 6.1328 | 7.0299 | 7.6754 | 7.9824 | 7.8979 | 7.4265 | 6.6248 | 5.5919 | 4.4395 | 3.2926 | 2.2378 | 1.3454 | 0.6743 | 0.13929 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_8_10 | 8 | 8 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:24:40 PM | Monday, September 28, 2015 7:24:42 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.25 | 0.682 | 0.0262 | 2.018 | Volume | 31.236 | 0.6 | 0.71 | 8.454 | 4.621 | 27.748 | 60.61 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008222 | 0.12983 | 0.2567 | 0.36426 | 0.44356 | 0.49761 | 0.52381 | 0.5288 | 0.52119 | 0.51257 | 0.51326 | 0.52956 | 0.56183 | 0.60501 | 0.65301 | 0.70051 | 0.7427 | 0.77566 | 0.79807 | 0.81368 | 0.8324 | 0.87358 | 0.96396 | 1.1419 | 1.4413 | 1.9078 | 2.5488 | 3.381 | 4.348 | 5.3999 | 6.4116 | 7.2767 | 7.8632 | 8.0847 | 7.8945 | 7.3062 | 6.3901 | 5.2604 | 4.0417 | 2.8737 | 1.8277 | 1.0346 | 0.34169 | 0.074906 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_8_10 | 8 | 8 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:25:21 PM | Monday, September 28, 2015 7:25:23 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.37 | 0.493 | 0.0264 | 2.02 | Volume | 31.161 | 0.601 | 0.708 | 8.47 | 4.622 | 27.637 | 60.446 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007974 | 0.12613 | 0.25312 | 0.36085 | 0.44041 | 0.49481 | 0.52139 | 0.52678 | 0.51958 | 0.5114 | 0.51257 | 0.5294 | 0.56227 | 0.60616 | 0.65499 | 0.70342 | 0.74657 | 0.78044 | 0.80366 | 0.81999 | 0.8394 | 0.88143 | 0.97306 | 1.1529 | 1.455 | 1.9251 | 2.5701 | 3.4064 | 4.3764 | 5.4291 | 6.4387 | 7.298 | 7.8749 | 8.0838 | 7.879 | 7.276 | 6.3471 | 5.2084 | 3.9875 | 2.8224 | 1.8014 | 0.99713 | 0.42501 | 0.069686 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_15_17 | 15 | 14 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:32:21 PM | Monday, September 28, 2015 7:32:23 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.45 | 0.796 | 0.0226 | 2.048 | Volume | 31.224 | 0.611 | 0.729 | 8.235 | 4.229 | 27.795 | 61.146 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00819 | 0.12944 | 0.25798 | 0.36734 | 0.44878 | 0.50555 | 0.53517 | 0.54426 | 0.54142 | 0.53789 | 0.5437 | 0.56459 | 0.60067 | 0.64695 | 0.69813 | 0.75024 | 0.79982 | 0.84384 | 0.88074 | 0.91284 | 0.94673 | 0.99738 | 1.0861 | 1.2465 | 1.5101 | 1.9217 | 2.4946 | 3.2517 | 4.1492 | 5.1476 | 6.1334 | 7.0058 | 7.6329 | 7.9217 | 7.8125 | 7.3046 | 6.4544 | 5.3666 | 4.1613 | 2.9796 | 1.8988 | 1.0669 | 0.32984 | 0.062454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_15_17 | 15 | 14 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:33:03 PM | Monday, September 28, 2015 7:33:05 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.66 | 0.792 | 0.0229 | 2.065 | Volume | 31.093 | 0.617 | 0.729 | 8.228 | 4.2 | 27.551 | 61.091 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007752 | 0.12298 | 0.25287 | 0.36344 | 0.44596 | 0.50375 | 0.5342 | 0.54401 | 0.54185 | 0.53911 | 0.54592 | 0.56809 | 0.60568 | 0.65356 | 0.70622 | 0.75955 | 0.81007 | 0.85486 | 0.89253 | 0.92569 | 0.96125 | 1.0147 | 1.1077 | 1.2742 | 1.5455 | 1.966 | 2.5472 | 3.3101 | 4.2081 | 5.1994 | 6.1691 | 7.0163 | 7.612 | 7.868 | 7.7307 | 7.2052 | 6.3515 | 5.2747 | 4.0926 | 2.941 | 1.892 | 1.0851 | 0.36667 | 0.083119 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_19_21 | 19 | 18 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:40:17 PM | Monday, September 28, 2015 7:40:19 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.28 | 0.359 | 0.0194 | 2.102 | Volume | 29.725 | 0.628 | 0.784 | 7.658 | 3.604 | 26.419 | 59.146 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008812 | 0.13923 | 0.27697 | 0.39402 | 0.48109 | 0.54189 | 0.57408 | 0.5852 | 0.58499 | 0.58591 | 0.59898 | 0.63009 | 0.67877 | 0.73855 | 0.80257 | 0.86542 | 0.92271 | 0.97131 | 1.0106 | 1.0447 | 1.0824 | 1.1406 | 1.2412 | 1.4167 | 1.6949 | 2.1156 | 2.6857 | 3.4227 | 4.2801 | 5.2173 | 6.1256 | 6.9104 | 7.452 | 7.6688 | 7.5122 | 6.9864 | 6.1455 | 5.0851 | 3.9135 | 2.7599 | 1.6954 | 0.8676 | 0.14455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_19_21 | 19 | 18 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:40:58 PM | Monday, September 28, 2015 7:41:00 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.04 | 0.48 | 0.019 | 2.105 | Volume | 29.692 | 0.63 | 0.782 | 7.67 | 3.606 | 26.378 | 59.137 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008495 | 0.13455 | 0.27281 | 0.39033 | 0.47796 | 0.53948 | 0.57248 | 0.58444 | 0.58504 | 0.58662 | 0.60016 | 0.63158 | 0.68046 | 0.74043 | 0.80469 | 0.86785 | 0.92557 | 0.97483 | 1.0152 | 1.0511 | 1.0912 | 1.1524 | 1.256 | 1.4341 | 1.7136 | 2.1339 | 2.7013 | 3.4329 | 4.2828 | 5.211 | 6.1102 | 6.8878 | 7.4258 | 7.6439 | 7.4932 | 6.9762 | 6.1444 | 5.0907 | 3.9216 | 2.7654 | 1.696 | 0.85336 | 0.13831 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_23_25 | 23 | 22 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:47:50 PM | Monday, September 28, 2015 7:47:52 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.19 | 0.358 | 0.0241 | 2.149 | Volume | 30.938 | 0.644 | 0.768 | 7.812 | 3.798 | 27.002 | 61.814 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009569 | 0.15021 | 0.2823 | 0.39463 | 0.47797 | 0.53562 | 0.56545 | 0.57461 | 0.5724 | 0.5708 | 0.58033 | 0.60669 | 0.64936 | 0.70207 | 0.75814 | 0.8125 | 0.86138 | 0.90238 | 0.93561 | 0.96581 | 1.0022 | 1.0621 | 1.1675 | 1.351 | 1.6397 | 2.0724 | 2.6534 | 3.3976 | 4.2559 | 5.1867 | 6.0825 | 6.8517 | 7.379 | 7.5874 | 7.4324 | 6.9224 | 6.1152 | 5.1087 | 4.0113 | 2.9413 | 1.9768 | 1.1758 | 0.59298 | 0.12613 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_23_25 | 23 | 22 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:48:32 PM | Monday, September 28, 2015 7:48:33 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.66 | 0.353 | 0.0245 | 2.151 | Volume | 30.572 | 0.645 | 0.775 | 7.742 | 3.719 | 26.701 | 61.157 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009167 | 0.14442 | 0.27998 | 0.39532 | 0.48105 | 0.54061 | 0.5717 | 0.58168 | 0.5801 | 0.57923 | 0.58987 | 0.61776 | 0.66223 | 0.71662 | 0.77394 | 0.82894 | 0.87803 | 0.91923 | 0.95325 | 0.98543 | 1.0253 | 1.0904 | 1.2023 | 1.393 | 1.688 | 2.1251 | 2.707 | 3.4476 | 4.2973 | 5.2148 | 6.0944 | 6.8464 | 7.3581 | 7.5543 | 7.3913 | 6.8764 | 6.066 | 5.0557 | 3.953 | 2.8768 | 1.9069 | 1.1091 | 0.52835 | 0.10377 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_27_29 | 27 | 26 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:55:49 PM | Monday, September 28, 2015 7:55:50 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.59 | 0.324 | 0.0192 | 2.174 | Volume | 31.475 | 0.652 | 0.752 | 7.984 | 3.927 | 27.288 | 63.246 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008502 | 0.13429 | 0.26638 | 0.37846 | 0.4617 | 0.5197 | 0.55023 | 0.56047 | 0.55964 | 0.55952 | 0.57043 | 0.59776 | 0.64073 | 0.6929 | 0.74769 | 0.80043 | 0.84807 | 0.88897 | 0.9238 | 0.95751 | 0.99893 | 1.0646 | 1.1751 | 1.362 | 1.6506 | 2.0784 | 2.6493 | 3.3776 | 4.2153 | 5.1227 | 5.9958 | 6.7474 | 7.2674 | 7.4834 | 7.3543 | 6.8879 | 6.1373 | 5.1901 | 4.1431 | 3.1033 | 2.1445 | 1.3207 | 0.70456 | 0.15853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_27_29 | 27 | 26 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 7:56:30 PM | Monday, September 28, 2015 7:56:32 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.56 | 0.329 | 0.019 | 2.15 | Volume | 30.943 | 0.645 | 0.757 | 7.926 | 3.869 | 27.005 | 61.941 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008244 | 0.13056 | 0.26464 | 0.37846 | 0.46315 | 0.52245 | 0.55399 | 0.56503 | 0.56486 | 0.56536 | 0.57692 | 0.605 | 0.6488 | 0.70186 | 0.75762 | 0.81154 | 0.86077 | 0.90388 | 0.94166 | 0.97901 | 1.0245 | 1.0942 | 1.2084 | 1.3977 | 1.6874 | 2.115 | 2.6843 | 3.4105 | 4.2466 | 5.1535 | 6.0281 | 6.7832 | 7.3077 | 7.5271 | 7.3963 | 6.9194 | 6.1462 | 5.1647 | 4.0754 | 2.9945 | 2.0032 | 1.1754 | 0.55068 | 0.10219 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_31_33 | 31 | 30 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:03:27 PM | Monday, September 28, 2015 8:03:29 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 20.85 | 0.282 | 0.0271 | 2.506 | Volume | 35.744 | 0.765 | 0.795 | 7.548 | 3.38 | 29.137 | 76.407 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010474 | 0.16381 | 0.2978 | 0.41224 | 0.49791 | 0.55832 | 0.59193 | 0.60628 | 0.61117 | 0.61841 | 0.63805 | 0.67432 | 0.72497 | 0.7821 | 0.83871 | 0.89119 | 0.93858 | 0.98177 | 1.0236 | 1.0699 | 1.1277 | 1.2088 | 1.3248 | 1.4949 | 1.7314 | 2.0578 | 2.4742 | 2.9935 | 3.5889 | 4.2444 | 4.901 | 5.5116 | 6.006 | 6.3339 | 6.4524 | 6.3433 | 6.0111 | 5.4838 | 4.8027 | 4.0279 | 3.2061 | 2.4017 | 1.6527 | 1.0121 | 0.52211 | 0.15348 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_31_33 | 31 | 30 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:04:09 PM | Monday, September 28, 2015 8:04:11 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 20.83 | 0.287 | 0.0267 | 2.505 | Volume | 35.21 | 0.767 | 0.803 | 7.468 | 3.314 | 28.685 | 75.168 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010344 | 0.162 | 0.2982 | 0.41456 | 0.50177 | 0.56349 | 0.59811 | 0.61329 | 0.61899 | 0.62716 | 0.64801 | 0.68572 | 0.73795 | 0.79658 | 0.85448 | 0.90798 | 0.95624 | 1.0003 | 1.0432 | 1.091 | 1.1507 | 1.2342 | 1.3531 | 1.5266 | 1.7667 | 2.097 | 2.5171 | 3.0398 | 3.6378 | 4.2945 | 4.9503 | 5.5572 | 6.0445 | 6.3609 | 6.4629 | 6.3318 | 5.9729 | 5.4162 | 4.707 | 3.9107 | 3.0795 | 2.2816 | 1.5564 | 0.95012 | 0.50679 | 0.16401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_40_41 | 40 | 39 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:11:06 PM | Monday, September 28, 2015 8:11:08 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.88 | 0.324 | 0.0207 | 2.537 | Volume | 36.778 | 0.774 | 0.765 | 7.841 | 3.587 | 29.652 | 78.816 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009241 | 0.14518 | 0.27477 | 0.38535 | 0.46838 | 0.52758 | 0.56139 | 0.57706 | 0.58398 | 0.59337 | 0.61481 | 0.65217 | 0.70317 | 0.76001 | 0.81585 | 0.86716 | 0.91318 | 0.95504 | 0.99582 | 1.0416 | 1.0997 | 1.1823 | 1.3009 | 1.4746 | 1.7155 | 2.0465 | 2.4664 | 2.9867 | 3.5792 | 4.227 | 4.8716 | 5.4675 | 5.948 | 6.2666 | 6.3848 | 6.2879 | 5.982 | 5.4936 | 4.8587 | 4.1279 | 3.339 | 2.5499 | 1.7981 | 1.1445 | 0.63146 | 0.25509 | 0.069329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_40_41 | 40 | 39 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:11:48 PM | Monday, September 28, 2015 8:11:50 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.15 | 0.343 | 0.0207 | 2.543 | Volume | 36.088 | 0.778 | 0.777 | 7.72 | 3.483 | 29.057 | 77.371 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009009 | 0.14195 | 0.27571 | 0.3898 | 0.47552 | 0.53677 | 0.57182 | 0.58815 | 0.59542 | 0.60519 | 0.62741 | 0.66615 | 0.71914 | 0.77836 | 0.83671 | 0.89044 | 0.93865 | 0.9825 | 1.0252 | 1.073 | 1.1333 | 1.2182 | 1.3393 | 1.5156 | 1.7589 | 2.0924 | 2.5149 | 3.0381 | 3.634 | 4.285 | 4.9315 | 5.526 | 5.9995 | 6.3031 | 6.3968 | 6.2662 | 5.9207 | 5.3928 | 4.7258 | 3.9775 | 3.1898 | 2.4201 | 1.7003 | 1.0823 | 0.60025 | 0.24451 | 0.066405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_60_61 | 60 | 59 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:18:55 PM | Monday, September 28, 2015 8:18:57 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.56 | 0.345 | 0.0197 | 2.416 | Volume | 43.402 | 0.738 | 0.676 | 8.872 | 4.419 | 36.143 | 91.733 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007649 | 0.12071 | 0.23747 | 0.33717 | 0.41233 | 0.46635 | 0.49762 | 0.51242 | 0.51885 | 0.52662 | 0.54392 | 0.57396 | 0.61457 | 0.65905 | 0.70195 | 0.74137 | 0.77824 | 0.81527 | 0.85643 | 0.90744 | 0.97324 | 1.061 | 1.1749 | 1.3243 | 1.5122 | 1.7526 | 2.0462 | 2.4086 | 2.8341 | 3.3306 | 3.8774 | 4.4624 | 5.0459 | 5.5929 | 6.0509 | 6.3705 | 6.5022 | 6.4077 | 6.0668 | 5.4898 | 4.7058 | 3.7891 | 2.8129 | 1.8845 | 1.1031 | 0.46724 | 0.12359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_60_61 | 60 | 59 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:19:37 PM | Monday, September 28, 2015 8:19:39 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.62 | 0.377 | 0.0196 | 2.445 | Volume | 42.883 | 0.749 | 0.682 | 8.797 | 4.333 | 35.437 | 90.961 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007452 | 0.11786 | 0.23626 | 0.33732 | 0.41354 | 0.46843 | 0.50034 | 0.5157 | 0.52277 | 0.53142 | 0.54998 | 0.58164 | 0.62414 | 0.67054 | 0.7152 | 0.75609 | 0.79409 | 0.83194 | 0.87377 | 0.92556 | 0.99249 | 1.0821 | 1.1989 | 1.3524 | 1.546 | 1.7939 | 2.0963 | 2.4686 | 2.9035 | 3.4075 | 3.9579 | 4.5405 | 5.1137 | 5.6409 | 6.0699 | 6.3527 | 6.4436 | 6.3098 | 5.9371 | 5.3417 | 4.5557 | 3.655 | 2.7072 | 1.8254 | 1.0677 | 0.51718 | 0.14856 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_80_81 | 80 | 79 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:26:53 PM | Monday, September 28, 2015 8:26:54 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.81 | 0.568 | 0.0472 | 1.792 | Volume | 68.768 | 0.54 | 0.352 | 17.06 | 15.335 | 62.756 | 127.771 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12066 | 0.17008 | 0.21366 | 0.24053 | 0.25707 | 0.26295 | 0.26338 | 0.26278 | 0.26511 | 0.27166 | 0.28079 | 0.28917 | 0.29472 | 0.29837 | 0.30334 | 0.31396 | 0.33469 | 0.36917 | 0.4179 | 0.47965 | 0.54792 | 0.61713 | 0.67893 | 0.73268 | 0.78233 | 0.84698 | 0.95558 | 1.1536 | 1.4852 | 1.9997 | 2.7174 | 3.6434 | 4.7305 | 5.9001 | 7.0316 | 7.9811 | 8.6105 | 8.7997 | 8.4869 | 7.689 | 6.4843 | 5.057 | 3.5692 | 2.2346 | 1.1556 | 0.39942 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_80_81 | 80 | 79 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:27:34 PM | Monday, September 28, 2015 8:27:36 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.42 | 0.568 | 0.0454 | 1.794 | Volume | 67.882 | 0.539 | 0.355 | 16.888 | 14.727 | 62.069 | 126.103 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12027 | 0.16998 | 0.2139 | 0.24103 | 0.25787 | 0.26405 | 0.26484 | 0.26468 | 0.26755 | 0.27473 | 0.28461 | 0.29382 | 0.30033 | 0.30508 | 0.31133 | 0.32345 | 0.34593 | 0.38251 | 0.43367 | 0.49818 | 0.56933 | 0.64133 | 0.70539 | 0.76062 | 0.81073 | 0.87494 | 0.9826 | 1.1799 | 1.5117 | 2.0285 | 2.751 | 3.6842 | 4.7797 | 5.9566 | 7.0911 | 8.0355 | 8.6493 | 8.812 | 8.4642 | 7.6288 | 6.3898 | 4.9384 | 3.4395 | 2.1117 | 1.0521 | 0.33324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_100_101 | 100 | 99 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:34:52 PM | Monday, September 28, 2015 8:34:54 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.94 | 0.557 | 0.0386 | 1.24 | Volume | 60.267 | 0.394 | 0.267 | 22.468 | 28.757 | 56.786 | 99.186 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064964 | 0.10469 | 0.13654 | 0.16303 | 0.17985 | 0.18898 | 0.19139 | 0.18937 | 0.18466 | 0.17805 | 0.16896 | 0.15712 | 0.14446 | 0.13635 | 0.13985 | 0.16145 | 0.20461 | 0.26823 | 0.3427 | 0.41291 | 0.45574 | 0.45036 | 0.38398 | 0.26171 | 0.12931 | 0.009065 | 0.042627 | 0.25688 | 0.75879 | 1.7051 | 3.1359 | 5.0118 | 7.1256 | 9.1732 | 10.786 | 11.6365 | 11.5377 | 10.4964 | 8.6973 | 6.5026 | 4.2593 | 2.352 | 0.94896 | 0.16484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_100_101 | 100 | 99 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:35:34 PM | Monday, September 28, 2015 8:35:35 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.89 | 0.564 | 0.0387 | 1.24 | Volume | 60.417 | 0.393 | 0.265 | 22.613 | 28.831 | 56.934 | 99.401 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064016 | 0.10349 | 0.13511 | 0.1614 | 0.17803 | 0.18703 | 0.18937 | 0.18735 | 0.18272 | 0.17626 | 0.16737 | 0.15575 | 0.14326 | 0.13521 | 0.1386 | 0.15983 | 0.20238 | 0.26525 | 0.33906 | 0.40904 | 0.45242 | 0.44869 | 0.38489 | 0.26573 | 0.13696 | 0.009968 | 0.044425 | 0.25836 | 0.75404 | 1.691 | 3.1101 | 4.9754 | 7.0839 | 9.1348 | 10.7604 | 11.6306 | 11.5536 | 10.5299 | 8.7404 | 6.5458 | 4.2955 | 2.3776 | 0.96466 | 0.17046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_120_121 | 120 | 119 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:42:59 PM | Monday, September 28, 2015 8:43:00 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.64 | 0.858 | 0.0512 | 1.399 | Volume | 78.804 | 0.437 | 0.218 | 27.47 | 31.756 | 73.605 | 134.742 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.065523 | 0.099014 | 0.12397 | 0.14085 | 0.14888 | 0.14966 | 0.14561 | 0.13993 | 0.13515 | 0.13251 | 0.13124 | 0.12937 | 0.12523 | 0.11868 | 0.11104 | 0.10475 | 0.10331 | 0.11039 | 0.1288 | 0.16009 | 0.20218 | 0.25188 | 0.30185 | 0.3477 | 0.38566 | 0.42261 | 0.4756 | 0.5803 | 0.7847 | 1.155 | 1.7502 | 2.6264 | 3.7925 | 5.2123 | 6.775 | 8.2981 | 9.562 | 10.3257 | 10.4171 | 9.7667 | 8.4331 | 6.6512 | 4.6629 | 2.8215 | 1.2732 | 0.22048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_120_121 | 120 | 119 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:43:40 PM | Monday, September 28, 2015 8:43:42 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.4 | 0.856 | 0.0497 | 1.398 | Volume | 78.269 | 0.437 | 0.221 | 27.202 | 31.483 | 73.194 | 133.781 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06688 | 0.10052 | 0.12556 | 0.14237 | 0.15032 | 0.15096 | 0.14682 | 0.1411 | 0.1364 | 0.13397 | 0.13299 | 0.13145 | 0.12758 | 0.1212 | 0.11362 | 0.10733 | 0.10589 | 0.11305 | 0.13164 | 0.16327 | 0.20588 | 0.2563 | 0.30718 | 0.35415 | 0.39332 | 0.43149 | 0.48563 | 0.59152 | 0.79748 | 1.1704 | 1.77 | 2.653 | 3.8277 | 5.2568 | 6.8267 | 8.3517 | 9.6091 | 10.3567 | 10.4235 | 9.7447 | 8.3839 | 6.5818 | 4.5817 | 2.7406 | 1.1965 | 0.1594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_140_141 | 140 | 139 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:51:37 PM | Monday, September 28, 2015 8:51:39 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.45 | 0.894 | 0.0534 | 1.432 | Volume | 79.751 | 0.445 | 0.224 | 26.768 | 30.546 | 74.572 | 137.296 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.065311 | 0.099019 | 0.12417 | 0.14141 | 0.14999 | 0.15172 | 0.14921 | 0.1457 | 0.14376 | 0.14437 | 0.14639 | 0.14726 | 0.14481 | 0.13853 | 0.12968 | 0.12098 | 0.11674 | 0.12182 | 0.14056 | 0.17613 | 0.22757 | 0.29223 | 0.36118 | 0.42761 | 0.48264 | 0.52807 | 0.57529 | 0.65562 | 0.81588 | 1.1236 | 1.6449 | 2.4452 | 3.5454 | 4.9207 | 6.4684 | 8.01 | 9.3247 | 10.1652 | 10.3501 | 9.7953 | 8.5477 | 6.8287 | 4.8775 | 3.0379 | 1.4757 | 0.37528 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_140_141 | 140 | 139 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:52:18 PM | Monday, September 28, 2015 8:52:20 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.43 | 0.903 | 0.0534 | 1.433 | Volume | 79.941 | 0.445 | 0.223 | 26.858 | 30.529 | 74.759 | 137.683 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064126 | 0.097872 | 0.12308 | 0.14054 | 0.14932 | 0.15127 | 0.14893 | 0.14553 | 0.14359 | 0.1441 | 0.14592 | 0.1466 | 0.14402 | 0.13778 | 0.12914 | 0.12081 | 0.11701 | 0.1225 | 0.14152 | 0.17716 | 0.22847 | 0.2929 | 0.36169 | 0.42829 | 0.48392 | 0.53041 | 0.57882 | 0.65991 | 0.8197 | 1.1249 | 1.6411 | 2.4335 | 3.5243 | 4.8901 | 6.4307 | 7.9698 | 9.2883 | 10.1394 | 10.3408 | 9.8054 | 8.5767 | 6.8712 | 4.9251 | 3.0806 | 1.5026 | 0.38052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_160_161 | 160 | 159 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:59:12 PM | Monday, September 28, 2015 8:59:14 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.45 | 1.228 | 0.0413 | 1.646 | Volume | 79.757 | 0.513 | 0.263 | 22.855 | 24.847 | 72.21 | 143.725 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074799 | 0.11149 | 0.14448 | 0.16458 | 0.17717 | 0.18175 | 0.18239 | 0.18246 | 0.18502 | 0.19101 | 0.19904 | 0.20612 | 0.21 | 0.21056 | 0.20971 | 0.21066 | 0.21745 | 0.23395 | 0.26237 | 0.30348 | 0.35393 | 0.40989 | 0.46378 | 0.51237 | 0.55411 | 0.59908 | 0.66669 | 0.79299 | 1.0211 | 1.407 | 1.9934 | 2.8165 | 3.868 | 5.103 | 6.419 | 7.6643 | 8.6683 | 9.2532 | 9.2994 | 8.7644 | 7.6983 | 6.2809 | 4.6959 | 3.2048 | 1.9355 | 1.0181 | 0.43917 | 0.16134 | 0.065727 | 0.011448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_160_161 | 160 | 159 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 8:59:53 PM | Monday, September 28, 2015 8:59:55 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.19 | 1.189 | 0.0403 | 1.64 | Volume | 78.968 | 0.509 | 0.262 | 22.903 | 24.625 | 71.804 | 142.379 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.072525 | 0.10917 | 0.14232 | 0.16263 | 0.17553 | 0.18042 | 0.1813 | 0.18148 | 0.18398 | 0.18979 | 0.19765 | 0.20472 | 0.20888 | 0.21009 | 0.21021 | 0.21236 | 0.22038 | 0.23801 | 0.2673 | 0.30903 | 0.35992 | 0.41626 | 0.47054 | 0.51961 | 0.56197 | 0.60789 | 0.67699 | 0.80563 | 1.0372 | 1.4279 | 2.0204 | 2.8506 | 3.9088 | 5.1485 | 6.4651 | 7.7057 | 8.7002 | 9.2726 | 9.3054 | 8.7586 | 7.6829 | 6.2585 | 4.6676 | 3.1717 | 1.8953 | 0.97076 | 0.38507 | 0.083253 | 0.007263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_180_181 | 180 | 179 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 9:08:18 PM | Monday, September 28, 2015 9:08:20 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.3 | 1.025 | 0.0701 | 1.169 | Volume | 100.492 | 0.377 | 0.162 | 37.075 | 50.537 | 95.355 | 162.036 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.057026 | 0.079547 | 0.090347 | 0.094131 | 0.096887 | 0.097705 | 0.10071 | 0.10763 | 0.11885 | 0.13253 | 0.14486 | 0.15188 | 0.15088 | 0.14124 | 0.1249 | 0.10696 | 0.094736 | 0.097214 | 0.12294 | 0.17644 | 0.25801 | 0.35585 | 0.4537 | 0.52221 | 0.53545 | 0.4735 | 0.33775 | 0.16063 | 0.02492 | 0.006708 | 0.15625 | 0.6409 | 1.6345 | 3.2251 | 5.3483 | 7.7685 | 10.0569 | 11.7592 | 12.4524 | 11.9615 | 10.4054 | 8.1088 | 5.6214 | 3.3264 | 1.6014 | 0.50735 | 0.009536 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_180_181 | 180 | 179 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 9:08:59 PM | Monday, September 28, 2015 9:09:01 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.4 | 1.021 | 0.0705 | 1.177 | Volume | 100.932 | 0.38 | 0.162 | 37.088 | 50.294 | 95.834 | 163.119 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055103 | 0.077551 | 0.088561 | 0.092915 | 0.096095 | 0.097426 | 0.10085 | 0.1081 | 0.11954 | 0.1334 | 0.14599 | 0.15345 | 0.15312 | 0.14433 | 0.12892 | 0.1118 | 0.10012 | 0.10272 | 0.12809 | 0.18086 | 0.26157 | 0.35896 | 0.45742 | 0.52835 | 0.54623 | 0.49175 | 0.36284 | 0.20038 | 0.043687 | 0.010567 | 0.177 | 0.64598 | 1.6129 | 3.1636 | 5.2432 | 7.6292 | 9.9066 | 11.63 | 12.3745 | 11.9537 | 10.4655 | 8.2168 | 5.7447 | 3.4334 | 1.6727 | 0.53913 | 0.010287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_200_201 | 200 | 199 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 9:17:49 PM | Monday, September 28, 2015 9:17:51 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.77 | 1.032 | 0.0639 | 1.251 | Volume | 96.386 | 0.396 | 0.17 | 35.342 | 45.804 | 90.613 | 159.205 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.061771 | 0.086375 | 0.098293 | 0.10267 | 0.10572 | 0.10635 | 0.10876 | 0.1146 | 0.12415 | 0.13541 | 0.14456 | 0.14791 | 0.14336 | 0.13123 | 0.11437 | 0.098539 | 0.09126 | 0.10086 | 0.13454 | 0.1944 | 0.27809 | 0.37135 | 0.4564 | 0.50524 | 0.49534 | 0.41496 | 0.27399 | 0.11965 | 0.032206 | 0.12641 | 0.53062 | 1.3516 | 2.6457 | 4.3742 | 6.3811 | 8.4194 | 10.1494 | 11.2698 | 11.5358 | 10.8783 | 9.4259 | 7.4132 | 5.2345 | 3.1632 | 1.4963 | 0.31228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_200_201 | 200 | 199 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 9:18:30 PM | Monday, September 28, 2015 9:18:32 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.46 | 1.03 | 0.0618 | 1.252 | Volume | 96.076 | 0.396 | 0.171 | 35.152 | 45.558 | 90.389 | 158.731 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06208 | 0.086583 | 0.09839 | 0.10262 | 0.10562 | 0.10623 | 0.10873 | 0.11478 | 0.12467 | 0.13642 | 0.1462 | 0.15022 | 0.14633 | 0.13474 | 0.11825 | 0.10261 | 0.095376 | 0.1049 | 0.1384 | 0.19802 | 0.28149 | 0.3746 | 0.45967 | 0.50879 | 0.49952 | 0.42008 | 0.28032 | 0.12733 | 0.041367 | 0.13722 | 0.5434 | 1.3667 | 2.6632 | 4.3933 | 6.4003 | 8.4359 | 10.1605 | 11.2731 | 11.5303 | 10.8639 | 9.4038 | 7.3846 | 5.201 | 3.1272 | 1.4607 | 0.28046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_220_221 | 220 | 219 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 9:27:30 PM | Monday, September 28, 2015 9:27:32 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.24 | 1.011 | 0.0594 | 1.176 | Volume | 93.767 | 0.376 | 0.174 | 34.503 | 47.066 | 88.808 | 151.46 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.062595 | 0.088162 | 0.10082 | 0.10605 | 0.10979 | 0.11105 | 0.11397 | 0.12018 | 0.12991 | 0.14113 | 0.15001 | 0.15296 | 0.1481 | 0.13607 | 0.12026 | 0.10696 | 0.10406 | 0.11969 | 0.16031 | 0.22623 | 0.31283 | 0.40301 | 0.47653 | 0.50499 | 0.46688 | 0.35778 | 0.19026 | 0.035725 | 0 | 0.036003 | 0.37745 | 1.1326 | 2.4514 | 4.3388 | 6.6287 | 8.9992 | 10.9879 | 12.1784 | 12.2659 | 11.2111 | 9.271 | 6.8351 | 4.4356 | 2.412 | 0.99249 | 0.18138 | 0.008795 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_220_221 | 220 | 219 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 9:28:11 PM | Monday, September 28, 2015 9:28:13 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.97 | 1.014 | 0.057 | 1.176 | Volume | 93.271 | 0.377 | 0.176 | 34.04 | 46.698 | 88.426 | 150.676 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.062842 | 0.088598 | 0.10147 | 0.10705 | 0.11119 | 0.11292 | 0.11634 | 0.12307 | 0.13331 | 0.14503 | 0.1544 | 0.15774 | 0.15309 | 0.14106 | 0.12504 | 0.1115 | 0.10853 | 0.1245 | 0.16606 | 0.23359 | 0.32242 | 0.41523 | 0.49151 | 0.52229 | 0.48577 | 0.3763 | 0.2094 | 0.042067 | 0 | 0.037166 | 0.38243 | 1.139 | 2.4635 | 4.3608 | 6.663 | 9.0436 | 11.034 | 12.2127 | 12.2735 | 11.181 | 9.2035 | 6.7424 | 4.3407 | 2.3375 | 0.95434 | 0.1798 | 0.008832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_240_241 | 240 | 239 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 9:38:38 PM | Monday, September 28, 2015 9:38:40 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.13 | 1.252 | 0.0609 | 1.07 | Volume | 85.342 | 0.349 | 0.185 | 32.476 | 45.891 | 81.874 | 133.477 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.069616 | 0.097696 | 0.11148 | 0.11691 | 0.12074 | 0.1217 | 0.12422 | 0.12978 | 0.13825 | 0.147 | 0.15179 | 0.14912 | 0.13815 | 0.12126 | 0.10379 | 0.093832 | 0.10038 | 0.13108 | 0.19035 | 0.27369 | 0.37061 | 0.45716 | 0.50796 | 0.49485 | 0.40177 | 0.2409 | 0.040549 | 0 | 0 | 0.064939 | 0.42846 | 1.317 | 2.9287 | 5.2787 | 8.1014 | 10.8727 | 12.8918 | 13.5969 | 12.7466 | 10.5533 | 7.6676 | 4.7575 | 2.4623 | 0.96234 | 0.22689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_240_241 | 240 | 239 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 9:39:19 PM | Monday, September 28, 2015 9:39:21 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.21 | 1.199 | 0.0615 | 1.065 | Volume | 85.276 | 0.348 | 0.184 | 32.633 | 46.003 | 81.875 | 133.186 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.068418 | 0.096269 | 0.11002 | 0.11563 | 0.11963 | 0.12084 | 0.12362 | 0.12939 | 0.13796 | 0.14666 | 0.15119 | 0.14809 | 0.13659 | 0.11915 | 0.10125 | 0.091097 | 0.097825 | 0.12918 | 0.18964 | 0.27458 | 0.3733 | 0.46142 | 0.51309 | 0.49952 | 0.40452 | 0.23829 | 0.039226 | 0 | 0 | 0.053795 | 0.41255 | 1.2968 | 2.91 | 5.2692 | 8.1076 | 10.8974 | 12.932 | 13.6441 | 12.789 | 10.5795 | 7.6718 | 4.7401 | 2.4317 | 0.92743 | 0.20067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_260_261 | 260 | 259 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 9:50:17 PM | Monday, September 28, 2015 9:50:19 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.1 | 0.918 | 0.0667 | 1.155 | Volume | 83.676 | 0.37 | 0.184 | 32.654 | 42.661 | 79.245 | 134.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.069779 | 0.098796 | 0.11338 | 0.11973 | 0.12391 | 0.1246 | 0.12587 | 0.12896 | 0.13367 | 0.1375 | 0.13673 | 0.12866 | 0.11349 | 0.094502 | 0.077516 | 0.070356 | 0.080933 | 0.11496 | 0.17453 | 0.25294 | 0.33843 | 0.4082 | 0.43986 | 0.41192 | 0.31692 | 0.17197 | 0.027171 | 0 | 0.038488 | 0.33873 | 1.0372 | 2.2687 | 4.0676 | 6.307 | 8.6844 | 10.7866 | 12.1498 | 12.452 | 11.589 | 9.7232 | 7.3022 | 4.7739 | 2.6398 | 1.0871 | 0.21899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_260_261 | 260 | 259 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 9:50:59 PM | Monday, September 28, 2015 9:51:01 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.08 | 0.914 | 0.0667 | 1.153 | Volume | 83.694 | 0.37 | 0.183 | 32.701 | 42.689 | 79.314 | 134.174 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.068657 | 0.097637 | 0.11231 | 0.11888 | 0.12318 | 0.12403 | 0.12546 | 0.12873 | 0.13368 | 0.13783 | 0.13746 | 0.12984 | 0.11508 | 0.096369 | 0.079414 | 0.072002 | 0.082087 | 0.11554 | 0.17469 | 0.25317 | 0.33943 | 0.41078 | 0.44475 | 0.41939 | 0.32621 | 0.18316 | 0.030044 | 0 | 0.037407 | 0.33103 | 1.021 | 2.2444 | 4.0389 | 6.2799 | 8.6654 | 10.7805 | 12.1581 | 12.472 | 11.615 | 9.7485 | 7.3212 | 4.783 | 2.6392 | 1.0777 | 0.20706 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_280_281 | 280 | 279 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 1:07:08 PM | Tuesday, September 29, 2015 1:07:10 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 17.85 | 1.295 | 0.1999 | 0.993 | Volume | 96.159 | 0.316 | 0.0822 | 72.982 | 55.397 | 91.317 | 146.076 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.023491 | 0.10069 | 0.18853 | 0.28952 | 0.39001 | 0.458 | 0.46285 | 0.38675 | 0.22938 | 0.037697 | 0 | 0 | 0 | 0.020585 | 0.40468 | 1.4927 | 3.449 | 6.213 | 9.3932 | 12.2613 | 14.0656 | 14.2406 | 12.7243 | 10.0058 | 6.7976 | 3.9302 | 1.8047 | 0.57563 | 0.054392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_280_281 | 280 | 279 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 1:07:49 PM | Tuesday, September 29, 2015 1:07:51 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 17.28 | 1.305 | 0.1921 | 0.993 | Volume | 95.894 | 0.316 | 0.0825 | 72.702 | 55.248 | 91.042 | 145.645 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.024478 | 0.10439 | 0.19241 | 0.29365 | 0.39397 | 0.46123 | 0.46476 | 0.38703 | 0.22734 | 0.036956 | 0 | 0 | 0 | 0.021232 | 0.41297 | 1.5147 | 3.4895 | 6.2715 | 9.4614 | 12.3233 | 14.102 | 14.2366 | 12.6761 | 9.9257 | 6.7096 | 3.8602 | 1.7691 | 0.57283 | 0.067045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_300_301 | 300 | 299 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 9:59:31 PM | Monday, September 28, 2015 9:59:33 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.6 | 0.877 | 0.0548 | 1.368 | Volume | 84.892 | 0.433 | 0.218 | 27.571 | 36.346 | 78.998 | 144.431 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055275 | 0.085882 | 0.10892 | 0.1258 | 0.13566 | 0.14082 | 0.14386 | 0.14769 | 0.1543 | 0.16351 | 0.1729 | 0.17856 | 0.17766 | 0.17009 | 0.15873 | 0.1488 | 0.14739 | 0.16179 | 0.1972 | 0.25572 | 0.33144 | 0.41429 | 0.48428 | 0.52248 | 0.51036 | 0.44196 | 0.33431 | 0.22926 | 0.20253 | 0.35188 | 0.77982 | 1.577 | 2.7751 | 4.339 | 6.1359 | 7.9439 | 9.5005 | 10.525 | 10.8256 | 10.3232 | 9.0856 | 7.3549 | 5.3935 | 3.541 | 1.9897 | 0.86852 | 0.17936 | 0.009199 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_300_301 | 300 | 299 | 123-ABC | ACC2015 | malvern | Monday, September 28, 2015 10:00:13 PM | Monday, September 28, 2015 10:00:14 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.71 | 0.884 | 0.0568 | 1.367 | Volume | 85.704 | 0.434 | 0.207 | 28.972 | 36.789 | 79.695 | 145.723 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077157 | 0.10654 | 0.12308 | 0.13259 | 0.13775 | 0.14085 | 0.14489 | 0.15187 | 0.16156 | 0.17153 | 0.1778 | 0.17746 | 0.17031 | 0.1591 | 0.14902 | 0.14716 | 0.16094 | 0.19574 | 0.25392 | 0.32991 | 0.41388 | 0.48589 | 0.52683 | 0.51744 | 0.45075 | 0.34233 | 0.23252 | 0.19592 | 0.32974 | 0.73755 | 1.5121 | 2.6891 | 4.238 | 6.0305 | 7.8482 | 9.4299 | 10.4924 | 10.8387 | 10.3811 | 9.1787 | 7.4675 | 5.5043 | 3.642 | 2.0597 | 0.93254 | 0.25319 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_320_321 | 320 | 319 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 1:14:37 PM | Tuesday, September 29, 2015 1:14:38 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.46 | 0.889 | 0.0752 | 1.183 | Volume | 84.455 | 0.381 | 0.194 | 30.859 | 42.145 | 79.92 | 136.714 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.07631 | 0.10451 | 0.11963 | 0.12794 | 0.13179 | 0.13346 | 0.13585 | 0.14083 | 0.1481 | 0.15509 | 0.15776 | 0.15311 | 0.14105 | 0.12474 | 0.10996 | 0.1046 | 0.11668 | 0.15205 | 0.21293 | 0.29273 | 0.37974 | 0.45098 | 0.48363 | 0.45548 | 0.35697 | 0.20822 | 0.035408 | 0 | 0.031712 | 0.29952 | 0.95971 | 2.1423 | 3.8884 | 6.0791 | 8.4224 | 10.5163 | 11.9067 | 12.2753 | 11.511 | 9.7604 | 7.4434 | 4.9892 | 2.8779 | 1.3107 | 0.37635 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_320_321 | 320 | 319 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 1:15:18 PM | Tuesday, September 29, 2015 1:15:20 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.38 | 0.882 | 0.0731 | 1.183 | Volume | 84.4 | 0.381 | 0.203 | 29.523 | 42.056 | 79.938 | 136.653 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.054376 | 0.083375 | 0.10502 | 0.1203 | 0.12876 | 0.13248 | 0.13405 | 0.13635 | 0.14131 | 0.1487 | 0.15597 | 0.15906 | 0.15489 | 0.14328 | 0.12729 | 0.11263 | 0.10717 | 0.11894 | 0.15386 | 0.21427 | 0.29373 | 0.38061 | 0.45201 | 0.48507 | 0.45743 | 0.35923 | 0.21048 | 0.035908 | 0 | 0.03055 | 0.29343 | 0.94877 | 2.126 | 3.868 | 6.0571 | 8.4025 | 10.5021 | 11.9005 | 12.2782 | 11.5215 | 9.775 | 7.457 | 4.9962 | 2.8757 | 1.2989 | 0.36172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_340_341 | 340 | 339 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 1:21:58 PM | Tuesday, September 29, 2015 1:22:00 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.42 | 0.887 | 0.0727 | 1.13 | Volume | 93.502 | 0.362 | 0.158 | 38.002 | 49.084 | 88.362 | 148.924 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.054078 | 0.076136 | 0.086893 | 0.091022 | 0.093973 | 0.095033 | 0.09794 | 0.10404 | 0.11318 | 0.1229 | 0.12904 | 0.12782 | 0.11753 | 0.099505 | 0.078081 | 0.060738 | 0.056429 | 0.074068 | 0.12023 | 0.19418 | 0.28931 | 0.38507 | 0.45731 | 0.47375 | 0.41006 | 0.2617 | 0.046141 | 0 | 0 | 0.001788 | 0.22452 | 1.0193 | 2.429 | 4.4636 | 6.9217 | 9.4342 | 11.4875 | 12.6354 | 12.5811 | 11.3265 | 9.1945 | 6.6245 | 4.1795 | 2.1863 | 0.846 | 0.12312 | 0.005229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_340_341 | 340 | 339 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 1:22:39 PM | Tuesday, September 29, 2015 1:22:41 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.5 | 0.893 | 0.0729 | 1.123 | Volume | 93.465 | 0.36 | 0.159 | 37.821 | 49.21 | 88.501 | 148.633 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.054827 | 0.07706 | 0.08783 | 0.09181 | 0.094619 | 0.095517 | 0.098352 | 0.10453 | 0.11393 | 0.12411 | 0.13084 | 0.13022 | 0.12041 | 0.1026 | 0.081043 | 0.063213 | 0.058135 | 0.07489 | 0.12026 | 0.19373 | 0.28889 | 0.38522 | 0.45849 | 0.47606 | 0.41312 | 0.26446 | 0.046766 | 0 | 0 | 0 | 0.20528 | 0.98742 | 2.3866 | 4.4169 | 6.881 | 9.411 | 11.4909 | 12.6688 | 12.6396 | 11.3981 | 9.2625 | 6.6719 | 4.1945 | 2.165 | 0.79782 | 0.072982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_360_361 | 360 | 359 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 1:32:54 PM | Tuesday, September 29, 2015 1:32:56 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.54 | 0.951 | 0.0426 | 1.439 | Volume | 92.024 | 0.45 | 0.253 | 23.696 | 34.52 | 86.244 | 158.646 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071002 | 0.10508 | 0.13078 | 0.14885 | 0.16013 | 0.16698 | 0.17335 | 0.18305 | 0.19897 | 0.22085 | 0.24562 | 0.2676 | 0.28187 | 0.28609 | 0.28121 | 0.27127 | 0.26333 | 0.26603 | 0.28782 | 0.33522 | 0.40788 | 0.50054 | 0.5951 | 0.67079 | 0.69873 | 0.65756 | 0.54163 | 0.36873 | 0.19697 | 0.11503 | 0.24073 | 0.69642 | 1.5708 | 2.8928 | 4.5925 | 6.4903 | 8.3322 | 9.8012 | 10.6403 | 10.6727 | 9.8859 | 8.4487 | 6.5971 | 4.6916 | 2.945 | 1.5925 | 0.66852 | 0.13196 | 0.010844 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_360_361 | 360 | 359 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 1:33:35 PM | Tuesday, September 29, 2015 1:33:37 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.33 | 0.942 | 0.0411 | 1.479 | Volume | 92.921 | 0.465 | 0.258 | 23.299 | 33.063 | 86.193 | 160.573 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074357 | 0.10649 | 0.13467 | 0.15203 | 0.16375 | 0.17054 | 0.17705 | 0.18691 | 0.20316 | 0.22554 | 0.25095 | 0.27364 | 0.28863 | 0.29354 | 0.28932 | 0.28005 | 0.27279 | 0.27617 | 0.29852 | 0.34619 | 0.4186 | 0.51036 | 0.60351 | 0.6776 | 0.70443 | 0.66334 | 0.54935 | 0.38063 | 0.21488 | 0.13976 | 0.27105 | 0.72854 | 1.5982 | 2.907 | 4.5846 | 6.4532 | 8.2624 | 9.7005 | 10.5154 | 10.5352 | 9.7505 | 8.3306 | 6.5116 | 4.6482 | 2.9532 | 1.648 | 0.75866 | 0.2776 | 0.081063 | 0.056708 | 0.070975 | 0.030005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_380_381 | 380 | 379 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 1:41:24 PM | Tuesday, September 29, 2015 1:41:26 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.61 | 1.815 | 0.065 | 1.244 | Volume | 94.393 | 0.408 | 0.179 | 33.588 | 45.718 | 87.369 | 154.395 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.060832 | 0.086485 | 0.099405 | 0.10525 | 0.10969 | 0.1122 | 0.1169 | 0.12539 | 0.13757 | 0.15093 | 0.16112 | 0.16432 | 0.15904 | 0.14685 | 0.13221 | 0.12235 | 0.1257 | 0.15008 | 0.20095 | 0.27633 | 0.36905 | 0.45905 | 0.52392 | 0.53509 | 0.47183 | 0.33807 | 0.14143 | 0.016051 | 0 | 0.040282 | 0.42665 | 1.2607 | 2.669 | 4.6249 | 6.9241 | 9.2143 | 11.0267 | 11.9711 | 11.8088 | 10.5748 | 8.5956 | 6.2805 | 4.1372 | 2.4113 | 1.2645 | 0.60522 | 0.29855 | 0.17454 | 0.076482 | 0.01669 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_380_381 | 380 | 379 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 1:42:05 PM | Tuesday, September 29, 2015 1:42:07 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.72 | 1.465 | 0.0655 | 1.257 | Volume | 95.197 | 0.419 | 0.179 | 33.541 | 45.612 | 87.259 | 155.317 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.061044 | 0.086828 | 0.099829 | 0.10573 | 0.11018 | 0.11267 | 0.1173 | 0.12569 | 0.13775 | 0.15097 | 0.16103 | 0.16415 | 0.15885 | 0.14671 | 0.13221 | 0.12257 | 0.1262 | 0.1509 | 0.20206 | 0.27759 | 0.37021 | 0.45977 | 0.52387 | 0.53413 | 0.47013 | 0.33619 | 0.14067 | 0.016148 | 0 | 0.042191 | 0.43832 | 1.2794 | 2.6951 | 4.6549 | 6.9518 | 9.2304 | 11.0215 | 11.9367 | 11.7435 | 10.4849 | 8.4954 | 6.1879 | 4.0676 | 2.3731 | 1.2572 | 0.6247 | 0.34371 | 0.23797 | 0.1985 | 0.10456 | 0.02923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_400_401 | 400 | 399 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 4:15:24 PM | Tuesday, September 29, 2015 4:15:26 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.3 | 1.173 | 0.1475 | 1.112 | Volume | 99.834 | 0.353 | 0.0809 | 74.174 | 53.739 | 93.209 | 157.385 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.025047 | 0.10446 | 0.17976 | 0.26993 | 0.35986 | 0.42143 | 0.42714 | 0.36017 | 0.22493 | 0.039415 | 0 | 0 | 0 | 0.057945 | 0.73692 | 1.9924 | 3.8987 | 6.3016 | 8.874 | 11.1182 | 12.5686 | 12.8645 | 11.9341 | 10.0236 | 7.534 | 5.0383 | 2.8759 | 1.3407 | 0.42062 | 0.007944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_400_401 | 400 | 399 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 4:16:06 PM | Tuesday, September 29, 2015 4:16:08 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.14 | 1.198 | 0.1455 | 1.106 | Volume | 99.531 | 0.351 | 0.081 | 74.068 | 53.758 | 93.002 | 156.575 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.025285 | 0.10536 | 0.18071 | 0.27086 | 0.36055 | 0.42156 | 0.42632 | 0.35823 | 0.22057 | 0.038063 | 0 | 0 | 0 | 0.056146 | 0.72548 | 1.9867 | 3.9053 | 6.3278 | 8.923 | 11.1856 | 12.6414 | 12.9242 | 11.963 | 10.0128 | 7.486 | 4.968 | 2.8036 | 1.2849 | 0.3916 | 0.0072 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_420_421 | 420 | 419 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 4:23:05 PM | Tuesday, September 29, 2015 4:23:07 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.29 | 0.953 | 0.0715 | 1.41 | Volume | 111.993 | 0.585 | 0.186 | 32.27 | 44.177 | 90.382 | 171.576 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.067188 | 0.094041 | 0.1074 | 0.11326 | 0.11823 | 0.1213 | 0.1269 | 0.13669 | 0.1506 | 0.16615 | 0.17888 | 0.18481 | 0.18206 | 0.17166 | 0.1575 | 0.14632 | 0.14628 | 0.16541 | 0.20968 | 0.27844 | 0.36604 | 0.45437 | 0.52256 | 0.54245 | 0.49274 | 0.3718 | 0.1881 | 0.033489 | 0 | 0.059357 | 0.55124 | 1.4437 | 2.7902 | 4.5193 | 6.4518 | 8.3331 | 9.8437 | 10.7249 | 10.796 | 10.0423 | 8.6288 | 6.7906 | 4.8861 | 3.1326 | 1.7629 | 0.81305 | 0.28763 | 0.076834 | 0.06146 | 0.13047 | 0.20603 | 0.25655 | 0.27758 | 0.2714 | 0.24563 | 0.2064 | 0.16062 | 0.11925 | 0.079677 | 0.046021 | 0.010283 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_420_421 | 420 | 419 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 4:23:47 PM | Tuesday, September 29, 2015 4:23:48 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.12 | 0.96 | 0.0703 | 1.25 | Volume | 99.524 | 0.437 | 0.187 | 32.136 | 46.315 | 90.02 | 158.798 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.067377 | 0.094314 | 0.1077 | 0.11356 | 0.11857 | 0.12172 | 0.1275 | 0.13758 | 0.15191 | 0.16796 | 0.18121 | 0.18757 | 0.18508 | 0.17469 | 0.16025 | 0.14851 | 0.14774 | 0.16608 | 0.20974 | 0.27831 | 0.36634 | 0.45582 | 0.52578 | 0.54762 | 0.49947 | 0.37833 | 0.19362 | 0.033496 | 0 | 0.024749 | 0.31029 | 1.0246 | 2.287 | 4.1097 | 6.3322 | 8.6416 | 10.5878 | 11.7675 | 11.89 | 10.9244 | 9.1217 | 6.8505 | 4.6167 | 2.7064 | 1.3553 | 0.53386 | 0.15305 | 0.03153 | 0.024351 | 0.058641 | 0.097735 | 0.12072 | 0.1231 | 0.1049 | 0.078959 | 0.049023 | 0.025886 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_437_439 | 437 | 436 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 4:41:35 PM | Tuesday, September 29, 2015 4:41:37 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 29.54 | 0.699 | 0.0204 | 7.146 | Volume | 26.142 | 2.13 | 1.55 | 3.865 | 1.425 | 10.286 | 74.934 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008252 | 0.085941 | 0.3227 | 0.544 | 0.74662 | 0.91894 | 1.0456 | 1.1373 | 1.2051 | 1.2743 | 1.3676 | 1.5055 | 1.6897 | 1.9071 | 2.1281 | 2.3287 | 2.4974 | 2.6354 | 2.752 | 2.8611 | 2.9797 | 3.1173 | 3.2801 | 3.4572 | 3.6349 | 3.7827 | 3.8757 | 3.8854 | 3.7966 | 3.6123 | 3.3476 | 3.0403 | 2.7253 | 2.4468 | 2.2341 | 2.1065 | 2.0628 | 2.0843 | 2.1364 | 2.1764 | 2.1619 | 2.059 | 1.8532 | 1.5507 | 1.1971 | 0.84019 | 0.54107 | 0.32155 | 0.19186 | 0.13183 | 0.11704 | 0.11856 | 0.10408 | 0.059444 | 0.008752 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_437_439 | 437 | 436 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 4:42:17 PM | Tuesday, September 29, 2015 4:42:19 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 29.73 | 0.7 | 0.0208 | 7.336 | Volume | 27.868 | 2.25 | 1.53 | 3.91 | 1.441 | 10.477 | 78.305 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007936 | 0.083167 | 0.3167 | 0.53538 | 0.73588 | 0.90665 | 1.0324 | 1.1236 | 1.1913 | 1.2601 | 1.3527 | 1.4892 | 1.6714 | 1.8865 | 2.1052 | 2.304 | 2.4716 | 2.6093 | 2.7261 | 2.8358 | 2.9549 | 3.0923 | 3.2534 | 3.4273 | 3.5997 | 3.7411 | 3.8278 | 3.8334 | 3.7446 | 3.5663 | 3.3145 | 3.0254 | 2.7317 | 2.473 | 2.2744 | 2.1514 | 2.1003 | 2.1022 | 2.1255 | 2.1341 | 2.0955 | 1.9852 | 1.7949 | 1.5306 | 1.2284 | 0.92366 | 0.6633 | 0.46278 | 0.3318 | 0.25553 | 0.2149 | 0.1868 | 0.13486 | 0.068613 | 0.005337 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_448_449 | 448 | 447 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 4:34:10 PM | Tuesday, September 29, 2015 4:34:12 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.02 | 0.453 | 0.0254 | 2.426 | Volume | 61.492 | 0.887 | 0.544 | 11.039 | 6.885 | 45.101 | 116.318 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005949 | 0.094001 | 0.18686 | 0.26589 | 0.3251 | 0.36723 | 0.39096 | 0.4014 | 0.40502 | 0.40958 | 0.42147 | 0.44299 | 0.47195 | 0.5026 | 0.53035 | 0.55386 | 0.57458 | 0.59587 | 0.62262 | 0.66111 | 0.71683 | 0.79656 | 0.90333 | 1.0436 | 1.2168 | 1.4312 | 1.6833 | 1.9845 | 2.3318 | 2.7381 | 3.1985 | 3.7192 | 4.2836 | 4.8771 | 5.4603 | 5.9859 | 6.3915 | 6.6101 | 6.5836 | 6.2756 | 5.6787 | 4.8431 | 3.8408 | 2.8141 | 1.8676 | 1.1257 | 0.61264 | 0.3338 | 0.23435 | 0.25454 | 0.32345 | 0.38023 | 0.39243 | 0.34745 | 0.27062 | 0.15477 | 0.064841 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C10_448_449 | 448 | 447 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 4:34:51 PM | Tuesday, September 29, 2015 4:34:53 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.97 | 0.451 | 0.0252 | 2.452 | Volume | 62.983 | 0.916 | 0.545 | 11.004 | 6.831 | 45.274 | 117.831 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006055 | 0.095586 | 0.18867 | 0.26782 | 0.32703 | 0.36903 | 0.39255 | 0.40277 | 0.40621 | 0.41073 | 0.42279 | 0.44473 | 0.47433 | 0.50576 | 0.53426 | 0.55828 | 0.57917 | 0.60019 | 0.6263 | 0.66389 | 0.71869 | 0.79768 | 0.90412 | 1.0447 | 1.2186 | 1.4341 | 1.687 | 1.9879 | 2.3327 | 2.7336 | 3.1853 | 3.6946 | 4.2468 | 4.8293 | 5.4052 | 5.929 | 6.3386 | 6.5664 | 6.5522 | 6.2568 | 5.6706 | 4.8417 | 3.842 | 2.8146 | 1.8663 | 1.1239 | 0.61296 | 0.33911 | 0.2469 | 0.27583 | 0.35473 | 0.4213 | 0.44025 | 0.39689 | 0.31487 | 0.20066 | 0.097847 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0