## Sheet1
Sample Name | Sample source type | depth corret | Sample bulk lot ref | SOP Name | Operator name | Measurement date and time | Analysis date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Dispersant refractive index | Accessory name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Residual | Concentration | Span | Result transform type | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | Result Between User Sizes (Sizes in um) | [100 empty] | Operator Notes
[30 empty] | 0.01 | 0.011482 | 0.013183 | 0.015136 | 0.017378 | 0.019953 | 0.022909 | 0.026303 | 0.0302 | 0.034674 | 0.039811 | 0.045709 | 0.052481 | 0.060256 | 0.069183 | 0.079433 | 0.091201 | 0.10471 | 0.12023 | 0.13804 | 0.15849 | 0.18197 | 0.20893 | 0.23988 | 0.27542 | 0.31623 | 0.36308 | 0.41687 | 0.47863 | 0.54954 | 0.63096 | 0.72444 | 0.83176 | 0.95499 | 1.0965 | 1.2589 | 1.4454 | 1.6596 | 1.9055 | 2.1878 | 2.5119 | 2.884 | 3.3113 | 3.8019 | 4.3652 | 5.0119 | 5.7544 | 6.6069 | 7.5858 | 8.7096 | 10 | 11.4815 | 13.1826 | 15.1356 | 17.378 | 19.9526 | 22.9087 | 26.3027 | 30.1995 | 34.6737 | 39.8107 | 45.7088 | 52.4807 | 60.256 | 69.1831 | 79.4328 | 91.2011 | 104.7129 | 120.2264 | 138.0384 | 158.4893 | 181.9701 | 208.9296 | 239.8833 | 275.4229 | 316.2278 | 363.0781 | 416.8694 | 478.6301 | 549.5409 | 630.9573 | 724.436 | 831.7638 | 954.9926 | 1096.4782 | 1258.9254 | 1445.4398 | 1659.5869 | 1905.4607 | 2187.7616 | 2511.8864 | 2884.0315 | 3311.3112 | 3801.894 | 4365.1583 | 5011.8723 | 5754.3994 | 6606.9345 | 7585.7757 | 8709.6359 | 10000
Depth correct
ACC2015_1_C3_10_11 | 10 | 10 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 7:49:45 PM | Tuesday, September 29, 2015 7:49:47 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.69 | 0.668 | 0.0314 | 1.854 | Volume | 71.753 | 0.551 | 0.385 | 15.59 | 10.338 | 67.347 | 135.191 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12251 | 0.17472 | 0.22107 | 0.25013 | 0.26938 | 0.27884 | 0.28461 | 0.29156 | 0.30395 | 0.32244 | 0.34438 | 0.3647 | 0.37995 | 0.39041 | 0.39981 | 0.41432 | 0.44153 | 0.48929 | 0.56221 | 0.66298 | 0.78524 | 0.92144 | 1.0527 | 1.1652 | 1.2407 | 1.2757 | 1.2786 | 1.28 | 1.3305 | 1.4983 | 1.8525 | 2.4557 | 3.3288 | 4.4472 | 5.7177 | 6.9826 | 8.0525 | 8.7222 | 8.8467 | 8.3648 | 7.3222 | 5.9017 | 4.3034 | 2.7893 | 1.5228 | 0.59256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_10_11 | 10 | 10 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 7:50:27 PM | Tuesday, September 29, 2015 7:50:29 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.93 | 0.682 | 0.0315 | 1.859 | Volume | 71.34 | 0.554 | 0.391 | 15.331 | 10.059 | 66.999 | 134.636 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12452 | 0.17794 | 0.22544 | 0.25523 | 0.27502 | 0.2848 | 0.29085 | 0.29816 | 0.31108 | 0.3303 | 0.35308 | 0.37417 | 0.39005 | 0.40097 | 0.4107 | 0.42554 | 0.45315 | 0.50152 | 0.57538 | 0.67757 | 0.80173 | 0.94024 | 1.0738 | 1.1881 | 1.2641 | 1.2979 | 1.2978 | 1.2948 | 1.34 | 1.5025 | 1.8524 | 2.4528 | 3.3247 | 4.4431 | 5.7135 | 6.9772 | 8.0442 | 8.7085 | 8.825 | 8.3329 | 7.2789 | 5.8489 | 4.247 | 2.7382 | 1.4899 | 0.5864 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_30_31 | 30 | 30 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 7:57:59 PM | Tuesday, September 29, 2015 7:58:01 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.24 | 0.822 | 0.0541 | 1.481 | Volume | 83.424 | 0.453 | 0.253 | 23.723 | 28.78 | 78.352 | 144.792 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.075622 | 0.10884 | 0.13812 | 0.1559 | 0.16707 | 0.17174 | 0.17397 | 0.1771 | 0.18387 | 0.19452 | 0.20674 | 0.2163 | 0.21988 | 0.21682 | 0.20945 | 0.20253 | 0.20287 | 0.21781 | 0.25313 | 0.3123 | 0.39161 | 0.48396 | 0.57196 | 0.63921 | 0.66613 | 0.64454 | 0.58315 | 0.51396 | 0.49887 | 0.62302 | 0.98052 | 1.6606 | 2.7057 | 4.101 | 5.7429 | 7.4405 | 8.9549 | 10.015 | 10.4214 | 10.068 | 8.9884 | 7.3834 | 5.4913 | 3.6413 | 2.044 | 0.84986 | 0.090202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_30_31 | 30 | 30 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 7:58:40 PM | Tuesday, September 29, 2015 7:58:42 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.55 | 0.835 | 0.0553 | 1.474 | Volume | 83.511 | 0.45 | 0.253 | 23.683 | 28.81 | 78.672 | 144.746 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074839 | 0.10859 | 0.13845 | 0.15659 | 0.16802 | 0.17282 | 0.17512 | 0.1783 | 0.18517 | 0.19599 | 0.20844 | 0.21827 | 0.22209 | 0.21923 | 0.21193 | 0.20491 | 0.2049 | 0.21924 | 0.2538 | 0.31221 | 0.391 | 0.48327 | 0.57174 | 0.63995 | 0.66797 | 0.64708 | 0.58517 | 0.51333 | 0.49274 | 0.6081 | 0.95405 | 1.6211 | 2.6543 | 4.0419 | 5.6837 | 7.3915 | 8.9271 | 10.0172 | 10.4574 | 10.1347 | 9.0765 | 7.4777 | 5.5754 | 3.6938 | 2.0578 | 0.80663 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_50_51 | 50 | 50 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:05:27 PM | Tuesday, September 29, 2015 8:05:29 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.28 | 0.738 | 0.0376 | 1.732 | Volume | 75.66 | 0.507 | 0.338 | 17.75 | 12.654 | 71.999 | 137.327 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10794 | 0.15347 | 0.19357 | 0.21825 | 0.23397 | 0.24087 | 0.24438 | 0.24894 | 0.25834 | 0.27309 | 0.29056 | 0.30582 | 0.31532 | 0.31902 | 0.32046 | 0.32588 | 0.34346 | 0.3819 | 0.44721 | 0.5432 | 0.66428 | 0.80248 | 0.93672 | 1.0492 | 1.1162 | 1.1277 | 1.0887 | 1.0283 | 1.0044 | 1.0972 | 1.3969 | 1.9883 | 2.9132 | 4.1581 | 5.6257 | 7.1365 | 8.466 | 9.3621 | 9.6401 | 9.2081 | 8.1053 | 6.534 | 4.7256 | 3.0001 | 1.5466 | 0.51259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_50_51 | 50 | 50 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:06:09 PM | Tuesday, September 29, 2015 8:06:11 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.43 | 0.755 | 0.0376 | 1.728 | Volume | 75.554 | 0.505 | 0.342 | 17.56 | 12.405 | 72.118 | 137.054 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1095 | 0.15566 | 0.19625 | 0.22112 | 0.23686 | 0.24369 | 0.24716 | 0.25185 | 0.26169 | 0.2772 | 0.29569 | 0.31207 | 0.32261 | 0.3271 | 0.32895 | 0.33436 | 0.35152 | 0.38931 | 0.45404 | 0.54995 | 0.67193 | 0.81236 | 0.95011 | 1.067 | 1.1381 | 1.1519 | 1.1115 | 1.0445 | 1.0081 | 1.0833 | 1.3627 | 1.9351 | 2.8468 | 4.0885 | 5.5648 | 7.0957 | 8.4531 | 9.3784 | 9.6804 | 9.261 | 8.1568 | 6.5717 | 4.7397 | 2.99 | 1.5089 | 0.46094 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_70_71 | 70 | 70 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:12:47 PM | Tuesday, September 29, 2015 8:12:49 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.73 | 0.702 | 0.0446 | 1.679 | Volume | 74.76 | 0.49 | 0.32 | 18.752 | 15.099 | 70.637 | 133.726 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10332 | 0.14682 | 0.18516 | 0.20874 | 0.2236 | 0.22976 | 0.23219 | 0.23502 | 0.24173 | 0.25289 | 0.26613 | 0.27709 | 0.2827 | 0.28322 | 0.2821 | 0.28517 | 0.29978 | 0.33349 | 0.39109 | 0.47491 | 0.5786 | 0.69328 | 0.79927 | 0.88043 | 0.91865 | 0.91052 | 0.87045 | 0.83733 | 0.87635 | 1.0726 | 1.5108 | 2.2642 | 3.3505 | 4.7277 | 6.2683 | 7.7706 | 9.0025 | 9.7259 | 9.786 | 9.1379 | 7.8595 | 6.1863 | 4.355 | 2.679 | 1.3141 | 0.38945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_70_71 | 70 | 70 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:13:28 PM | Tuesday, September 29, 2015 8:13:30 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.81 | 0.695 | 0.0443 | 1.688 | Volume | 74.696 | 0.492 | 0.323 | 18.564 | 14.656 | 70.606 | 133.859 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10379 | 0.14779 | 0.18666 | 0.21062 | 0.22586 | 0.23235 | 0.23518 | 0.23848 | 0.24579 | 0.25763 | 0.27154 | 0.28306 | 0.28904 | 0.28972 | 0.28864 | 0.29176 | 0.30663 | 0.34106 | 0.39999 | 0.48582 | 0.59199 | 0.70928 | 0.81734 | 0.89947 | 0.93698 | 0.9262 | 0.88172 | 0.84277 | 0.87528 | 1.0648 | 1.4966 | 2.2443 | 3.3261 | 4.7003 | 6.2397 | 7.742 | 8.9749 | 9.6999 | 9.7628 | 9.1199 | 7.8502 | 6.1884 | 4.3682 | 2.6986 | 1.3272 | 0.38355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_90_91 | 90 | 90 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:20:03 PM | Tuesday, September 29, 2015 8:20:05 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.06 | 0.868 | 0.0694 | 1.31 | Volume | 92.337 | 0.415 | 0.176 | 34.185 | 41.765 | 86.261 | 154.807 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064071 | 0.090597 | 0.10371 | 0.10893 | 0.11213 | 0.11223 | 0.11335 | 0.11708 | 0.1237 | 0.13125 | 0.13623 | 0.13552 | 0.12798 | 0.11497 | 0.10017 | 0.089641 | 0.090475 | 0.10949 | 0.15174 | 0.21645 | 0.29882 | 0.38327 | 0.45277 | 0.48405 | 0.46211 | 0.3864 | 0.27898 | 0.19617 | 0.22259 | 0.46419 | 1.0304 | 1.9947 | 3.3754 | 5.0976 | 6.985 | 8.7932 | 10.2175 | 11.0105 | 10.9978 | 10.1594 | 8.6525 | 6.7027 | 4.6697 | 2.7849 | 1.2958 | 0.25387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_90_91 | 90 | 90 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:20:45 PM | Tuesday, September 29, 2015 8:20:47 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.04 | 0.859 | 0.0683 | 1.325 | Volume | 92.382 | 0.42 | 0.178 | 33.73 | 41.274 | 86.144 | 155.457 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.065686 | 0.092612 | 0.10582 | 0.11088 | 0.11397 | 0.11392 | 0.11504 | 0.11895 | 0.12596 | 0.13406 | 0.13966 | 0.13953 | 0.13246 | 0.11973 | 0.10504 | 0.094427 | 0.095057 | 0.11382 | 0.15585 | 0.22046 | 0.30294 | 0.38787 | 0.45841 | 0.49144 | 0.47217 | 0.4 | 0.29695 | 0.21879 | 0.24942 | 0.49354 | 1.0593 | 2.0188 | 3.3895 | 5.0967 | 6.9653 | 8.753 | 10.1581 | 10.9358 | 10.9155 | 10.0798 | 8.5879 | 6.6644 | 4.6662 | 2.8167 | 1.3605 | 0.34803 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_110_111 | 110 | 110 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:27:37 PM | Tuesday, September 29, 2015 8:27:39 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.3 | 0.824 | 0.0418 | 1.582 | Volume | 86.533 | 0.466 | 0.255 | 23.538 | 22.411 | 81.701 | 151.639 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074133 | 0.10762 | 0.13705 | 0.15466 | 0.16551 | 0.16977 | 0.17164 | 0.17463 | 0.18178 | 0.19358 | 0.20791 | 0.22059 | 0.22803 | 0.22904 | 0.22523 | 0.2208 | 0.2223 | 0.23754 | 0.27361 | 0.33623 | 0.42435 | 0.53384 | 0.64844 | 0.75185 | 0.8191 | 0.83469 | 0.7941 | 0.71536 | 0.64728 | 0.66612 | 0.8688 | 1.3568 | 2.2003 | 3.4195 | 4.9498 | 6.6328 | 8.2464 | 9.5124 | 10.2029 | 10.1575 | 9.3567 | 7.9471 | 6.1381 | 4.2641 | 2.5376 | 1.1866 | 0.25593 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_110_111 | 110 | 110 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:28:19 PM | Tuesday, September 29, 2015 8:28:20 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.34 | 0.848 | 0.0419 | 1.578 | Volume | 86.665 | 0.464 | 0.255 | 23.527 | 22.31 | 81.954 | 151.667 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074106 | 0.10755 | 0.13694 | 0.15455 | 0.16545 | 0.16982 | 0.17189 | 0.17516 | 0.18264 | 0.19478 | 0.20942 | 0.22235 | 0.22999 | 0.23114 | 0.22739 | 0.22282 | 0.22392 | 0.23844 | 0.27353 | 0.33505 | 0.42227 | 0.5314 | 0.64652 | 0.75146 | 0.82092 | 0.83869 | 0.79898 | 0.71844 | 0.6448 | 0.65397 | 0.84401 | 1.3187 | 2.1516 | 3.3668 | 4.9022 | 6.6 | 8.2361 | 9.5272 | 10.2397 | 10.2082 | 9.412 | 7.9987 | 6.1806 | 4.293 | 2.5498 | 1.1773 | 0.21986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_130_131 | 130 | 130 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:33:14 PM | Tuesday, September 29, 2015 8:33:16 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 20.53 | 0.844 | 0.1125 | 1.291 | Volume | 91.42 | 0.41 | 0.178 | 33.679 | 42.073 | 85.573 | 152.518 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.068044 | 0.095043 | 0.10815 | 0.1129 | 0.1159 | 0.11565 | 0.11654 | 0.12007 | 0.12651 | 0.13374 | 0.13811 | 0.13642 | 0.12754 | 0.11297 | 0.096697 | 0.085186 | 0.085963 | 0.10617 | 0.15101 | 0.21934 | 0.30569 | 0.39315 | 0.46317 | 0.49096 | 0.46048 | 0.37158 | 0.24797 | 0.14995 | 0.16709 | 0.41106 | 0.99593 | 1.9966 | 3.4287 | 5.2092 | 7.1492 | 8.9906 | 10.4168 | 11.1752 | 11.0962 | 10.1721 | 8.579 | 6.5641 | 4.4889 | 2.6172 | 1.1436 | 0.13826 | 0.005202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_130_131 | 130 | 130 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:33:56 PM | Tuesday, September 29, 2015 8:33:58 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 20.11 | 0.833 | 0.1083 | 1.308 | Volume | 91.949 | 0.415 | 0.181 | 33.213 | 41.759 | 85.887 | 154.087 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.069045 | 0.096497 | 0.10985 | 0.11478 | 0.11797 | 0.11793 | 0.11912 | 0.12309 | 0.1301 | 0.13804 | 0.14318 | 0.14228 | 0.13418 | 0.12031 | 0.1046 | 0.093461 | 0.094365 | 0.11443 | 0.15887 | 0.22663 | 0.31241 | 0.39959 | 0.46991 | 0.49882 | 0.47037 | 0.38413 | 0.26314 | 0.16651 | 0.18228 | 0.42046 | 0.99378 | 1.9769 | 3.3863 | 5.1419 | 7.0589 | 8.8839 | 10.305 | 11.0724 | 11.0166 | 10.1276 | 8.5772 | 6.6024 | 4.5708 | 2.7115 | 1.2656 | 0.27311 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_150_151 | 150 | 150 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:38:20 PM | Tuesday, September 29, 2015 8:38:21 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.16 | 0.802 | 0.0678 | 1.465 | Volume | 87.87 | 0.451 | 0.231 | 25.932 | 30.815 | 82.671 | 151.915 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0651 | 0.097871 | 0.12235 | 0.1392 | 0.14831 | 0.15174 | 0.15261 | 0.15432 | 0.15947 | 0.16839 | 0.17896 | 0.18723 | 0.18998 | 0.18643 | 0.1786 | 0.171 | 0.17034 | 0.18433 | 0.21967 | 0.28132 | 0.36724 | 0.47202 | 0.57841 | 0.66921 | 0.72021 | 0.71714 | 0.65911 | 0.5682 | 0.49841 | 0.5304 | 0.7636 | 1.2996 | 2.2047 | 3.4927 | 5.0903 | 6.83 | 8.4827 | 9.7653 | 10.4494 | 10.3782 | 9.5388 | 8.0861 | 6.2347 | 4.3228 | 2.5636 | 1.1836 | 0.22639 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_150_151 | 150 | 150 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:39:01 PM | Tuesday, September 29, 2015 8:39:03 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.58 | 0.797 | 0.0639 | 1.497 | Volume | 88.378 | 0.457 | 0.236 | 25.457 | 29.232 | 83.041 | 153.549 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.066398 | 0.099808 | 0.12476 | 0.14197 | 0.15133 | 0.15497 | 0.15609 | 0.15818 | 0.16391 | 0.17365 | 0.18524 | 0.19467 | 0.19865 | 0.19632 | 0.18965 | 0.18307 | 0.18323 | 0.19776 | 0.23332 | 0.29487 | 0.38054 | 0.48522 | 0.59214 | 0.68462 | 0.7387 | 0.74004 | 0.68679 | 0.59948 | 0.52973 | 0.55568 | 0.77475 | 1.2877 | 2.1622 | 3.4155 | 4.9799 | 6.6947 | 8.337 | 9.6274 | 10.3375 | 10.3059 | 9.5128 | 8.1049 | 6.2915 | 4.4089 | 2.667 | 1.2987 | 0.35289 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_170_171 | 170 | 170 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:48:05 PM | Tuesday, September 29, 2015 8:48:07 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.02 | 0.945 | 0.0651 | 1.286 | Volume | 98.097 | 0.408 | 0.17 | 35.209 | 44.944 | 92.195 | 163.499 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.060993 | 0.08574 | 0.097835 | 0.10243 | 0.10543 | 0.10583 | 0.10776 | 0.11297 | 0.12193 | 0.13294 | 0.1425 | 0.14721 | 0.14505 | 0.13621 | 0.12319 | 0.11117 | 0.10705 | 0.1185 | 0.15237 | 0.21088 | 0.29245 | 0.38429 | 0.47061 | 0.52541 | 0.52768 | 0.4651 | 0.34518 | 0.20911 | 0.12901 | 0.20987 | 0.57149 | 1.3172 | 2.5077 | 4.1185 | 6.018 | 7.9865 | 9.7101 | 10.9012 | 11.3088 | 10.8391 | 9.5748 | 7.7095 | 5.606 | 3.5285 | 1.7957 | 0.51223 | 0.007941 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_170_171 | 170 | 170 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 8:48:47 PM | Tuesday, September 29, 2015 8:48:49 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.06 | 0.939 | 0.0655 | 1.291 | Volume | 98.657 | 0.41 | 0.17 | 35.328 | 45.075 | 92.642 | 164.631 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.060843 | 0.085408 | 0.097349 | 0.10176 | 0.10464 | 0.10497 | 0.10695 | 0.1123 | 0.1215 | 0.13279 | 0.14267 | 0.14768 | 0.14581 | 0.13722 | 0.12435 | 0.1123 | 0.10787 | 0.11873 | 0.15174 | 0.20927 | 0.28995 | 0.38131 | 0.46782 | 0.52366 | 0.52782 | 0.46754 | 0.34969 | 0.21442 | 0.13276 | 0.20867 | 0.56133 | 1.2943 | 2.4693 | 4.0644 | 5.9511 | 7.9131 | 9.6396 | 10.8444 | 11.2757 | 10.8373 | 9.6061 | 7.7704 | 5.6875 | 3.6175 | 1.8813 | 0.58653 | 0.010313 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_190_191 | 190 | 190 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 5:26:51 PM | Tuesday, September 29, 2015 5:26:53 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.2 | 1.051 | 0.0718 | 1.278 | Volume | 101.957 | 0.407 | 0.157 | 38.238 | 47.8 | 95.332 | 169.589 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.054381 | 0.07657 | 0.087346 | 0.09128 | 0.093768 | 0.094032 | 0.095937 | 0.10112 | 0.10998 | 0.12079 | 0.13008 | 0.13434 | 0.13135 | 0.121 | 0.10549 | 0.089782 | 0.080675 | 0.08616 | 0.11362 | 0.16642 | 0.24411 | 0.33527 | 0.42492 | 0.48683 | 0.49866 | 0.44455 | 0.32744 | 0.18303 | 0.078583 | 0.11717 | 0.42015 | 1.0984 | 2.2246 | 3.7897 | 5.6771 | 7.6777 | 9.48 | 10.791 | 11.3426 | 11.023 | 9.8906 | 8.1226 | 6.0737 | 3.9974 | 2.2358 | 0.91032 | 0.02085 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_190_191 | 190 | 190 | 123-ABC | ACC2015 | malvern | Tuesday, September 29, 2015 5:27:33 PM | Tuesday, September 29, 2015 5:27:35 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.35 | 1.041 | 0.0718 | 1.281 | Volume | 101.636 | 0.408 | 0.159 | 37.743 | 47.308 | 95.141 | 169.209 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055096 | 0.077807 | 0.088897 | 0.093047 | 0.095627 | 0.095912 | 0.097818 | 0.10304 | 0.11202 | 0.12305 | 0.13265 | 0.13727 | 0.13469 | 0.12477 | 0.10969 | 0.094372 | 0.08559 | 0.091282 | 0.11878 | 0.17141 | 0.24875 | 0.33944 | 0.42874 | 0.49075 | 0.50354 | 0.45162 | 0.33822 | 0.19884 | 0.10015 | 0.14392 | 0.44993 | 1.1275 | 2.248 | 3.8027 | 5.6761 | 7.6616 | 9.4512 | 10.7551 | 11.3076 | 10.9966 | 9.8768 | 8.1193 | 6.0717 | 3.9864 | 2.2057 | 0.85801 | 0.018934 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_205_206 | 205 | 205 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 7:30:01 PM | Wednesday, September 30, 2015 7:30:03 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.4 | 1.069 | 0.0849 | 1.131 | Volume | 109.294 | 0.36 | 0.131 | 45.79 | 56.948 | 103.667 | 174.231 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.046713 | 0.06811 | 0.073149 | 0.072525 | 0.075122 | 0.077702 | 0.084257 | 0.094549 | 0.10746 | 0.11988 | 0.12841 | 0.13027 | 0.12418 | 0.11094 | 0.094101 | 0.079528 | 0.075256 | 0.089692 | 0.12897 | 0.19591 | 0.2831 | 0.37819 | 0.45463 | 0.48727 | 0.4456 | 0.33867 | 0.088838 | 0 | 0 | 0.008397 | 0.22903 | 0.93148 | 2.2159 | 4.1107 | 6.4768 | 8.9563 | 11.1087 | 12.4342 | 12.6288 | 11.6306 | 9.64 | 7.1477 | 4.5811 | 2.4462 | 0.93225 | 0.068784 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_205_206 | 205 | 205 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 7:30:42 PM | Wednesday, September 30, 2015 7:30:44 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.27 | 1.055 | 0.0828 | 1.129 | Volume | 108.986 | 0.36 | 0.133 | 45.163 | 56.791 | 103.534 | 173.674 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.047465 | 0.069283 | 0.074501 | 0.074048 | 0.076884 | 0.079742 | 0.08665 | 0.097353 | 0.1107 | 0.12353 | 0.1324 | 0.13448 | 0.12851 | 0.11527 | 0.098341 | 0.083612 | 0.079187 | 0.093554 | 0.13294 | 0.20026 | 0.28814 | 0.38429 | 0.46197 | 0.4959 | 0.45475 | 0.34877 | 0.092235 | 0 | 0 | 0.007837 | 0.22395 | 0.92286 | 2.2057 | 4.1025 | 6.4745 | 8.9627 | 11.1241 | 12.4554 | 12.6501 | 11.6454 | 9.6423 | 7.1359 | 4.5537 | 2.41 | 0.89904 | 0.019398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_206_208 | 206 | 206 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 7:21:11 PM | Wednesday, September 30, 2015 7:21:13 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 32.02 | 0.703 | 0.0237 | 5.143 | Volume | 23.314 | 1.67 | 1.46 | 4.112 | 1.537 | 11.23 | 59.291 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.066223 | 0.27331 | 0.47506 | 0.66249 | 0.82502 | 0.94834 | 1.0421 | 1.1154 | 1.1909 | 1.2885 | 1.4264 | 1.6059 | 1.8152 | 2.0277 | 2.2223 | 2.3894 | 2.5303 | 2.6533 | 2.7698 | 2.8931 | 3.0293 | 3.1817 | 3.3399 | 3.4935 | 3.6217 | 3.713 | 3.7551 | 3.7481 | 3.7002 | 3.6242 | 3.535 | 3.4393 | 3.34 | 3.2311 | 3.1038 | 2.9464 | 2.7491 | 2.5074 | 2.2216 | 1.9026 | 1.5598 | 1.2158 | 0.88733 | 0.60706 | 0.38927 | 0.24704 | 0.16728 | 0.13309 | 0.1222 | 0.11672 | 0.09456 | 0.050133 | 0.006049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_206_208 | 206 | 206 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 7:21:53 PM | Wednesday, September 30, 2015 7:21:55 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 32.65 | 0.749 | 0.024 | 5.199 | Volume | 23.685 | 1.74 | 1.47 | 4.074 | 1.519 | 11.064 | 59.044 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.063148 | 0.2746 | 0.48082 | 0.67256 | 0.83869 | 0.96432 | 1.0591 | 1.1324 | 1.2073 | 1.3043 | 1.4423 | 1.6224 | 1.8328 | 2.0464 | 2.2418 | 2.4093 | 2.5505 | 2.6738 | 2.7906 | 2.9144 | 3.0508 | 3.203 | 3.36 | 3.5111 | 3.6354 | 3.7215 | 3.7579 | 3.7453 | 3.6927 | 3.6132 | 3.5212 | 3.4224 | 3.318 | 3.2009 | 3.0625 | 2.8919 | 2.6815 | 2.4291 | 2.1371 | 1.8184 | 1.4829 | 1.153 | 0.84467 | 0.58801 | 0.39459 | 0.27346 | 0.21011 | 0.18631 | 0.17946 | 0.171 | 0.13628 | 0.074622 | 0.009852 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_214_216 | 214 | 214 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 7:13:46 PM | Wednesday, September 30, 2015 7:13:48 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.99 | 1.161 | 0.1522 | 1.097 | Volume | 114.651 | 0.347 | 0.0704 | 85.221 | 61.861 | 107.749 | 180.061 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018357 | 0.10249 | 0.17508 | 0.26341 | 0.35643 | 0.42382 | 0.44209 | 0.39004 | 0.27774 | 0.069379 | 0 | 0 | 0 | 0.11143 | 0.72524 | 1.9216 | 3.7563 | 6.1185 | 8.6713 | 10.9785 | 12.5174 | 12.9466 | 12.1491 | 10.2846 | 7.8179 | 5.1783 | 2.9031 | 1.2188 | 0.17601 | 0.010835 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_214_216 | 214 | 214 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 7:14:28 PM | Wednesday, September 30, 2015 7:14:30 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.99 | 1.169 | 0.152 | 1.094 | Volume | 114.56 | 0.346 | 0.0704 | 85.171 | 61.934 | 107.721 | 179.735 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018127 | 0.10139 | 0.1748 | 0.26422 | 0.35869 | 0.42747 | 0.4467 | 0.39468 | 0.28111 | 0.07021 | 0 | 0 | 0 | 0.097383 | 0.70774 | 1.9029 | 3.7421 | 6.1143 | 8.6808 | 11.0019 | 12.5505 | 12.9817 | 12.1769 | 10.2973 | 7.8124 | 5.1572 | 2.8746 | 1.1934 | 0.16521 | 0.00963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_234_236 | 234 | 234 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 7:06:18 PM | Wednesday, September 30, 2015 7:06:20 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.11 | 0.46 | 0.0151 | 3.308 | Volume | 25.785 | 1.05 | 1.19 | 5.034 | 1.847 | 18.026 | 61.475 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006004 | 0.22446 | 0.4093 | 0.5705 | 0.70526 | 0.80357 | 0.87609 | 0.92978 | 0.98159 | 1.046 | 1.136 | 1.2521 | 1.3863 | 1.5213 | 1.644 | 1.7492 | 1.8381 | 1.9166 | 1.9928 | 2.0772 | 2.1765 | 2.2982 | 2.442 | 2.6115 | 2.8012 | 3.0161 | 3.2493 | 3.5072 | 3.7807 | 4.0694 | 4.3523 | 4.6092 | 4.8043 | 4.9041 | 4.8751 | 4.6944 | 4.3553 | 3.8718 | 3.2746 | 2.6184 | 1.9506 | 1.3367 | 0.80174 | 0.42131 | 0.11186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_234_236 | 234 | 234 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 7:06:59 PM | Wednesday, September 30, 2015 7:07:01 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.1 | 0.593 | 0.0153 | 3.424 | Volume | 29.072 | 1.19 | 1.18 | 5.094 | 1.867 | 18.473 | 65.111 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005948 | 0.2223 | 0.40524 | 0.56474 | 0.69802 | 0.79518 | 0.86677 | 0.91968 | 0.97068 | 1.0341 | 1.1229 | 1.2375 | 1.37 | 1.5034 | 1.6246 | 1.7284 | 1.8161 | 1.8935 | 1.9688 | 2.052 | 2.1499 | 2.2694 | 2.4102 | 2.5751 | 2.7588 | 2.9663 | 3.1914 | 3.441 | 3.7076 | 3.9913 | 4.2719 | 4.529 | 4.7262 | 4.8287 | 4.8019 | 4.6223 | 4.2831 | 3.7999 | 3.2062 | 2.5595 | 1.9107 | 1.3234 | 0.83148 | 0.47451 | 0.25419 | 0.16368 | 0.16504 | 0.21116 | 0.25651 | 0.25885 | 0.23488 | 0.025968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_246_248 | 246 | 246 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 6:58:51 PM | Wednesday, September 30, 2015 6:58:52 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 30.83 | 0.97 | 0.0338 | 2.566 | Volume | 28.661 | 0.801 | 1 | 5.997 | 2.311 | 23.387 | 62.317 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006474 | 0.23034 | 0.38093 | 0.51316 | 0.62277 | 0.6982 | 0.74855 | 0.7785 | 0.80155 | 0.83018 | 0.87543 | 0.93977 | 1.0183 | 1.0992 | 1.1736 | 1.2381 | 1.2937 | 1.3447 | 1.3971 | 1.4596 | 1.5398 | 1.6483 | 1.7923 | 1.9856 | 2.2338 | 2.5554 | 2.9476 | 3.4227 | 3.9579 | 4.5398 | 5.1136 | 5.63 | 6.0155 | 6.2111 | 6.1688 | 5.87 | 5.3296 | 4.597 | 3.7413 | 2.8545 | 2.01 | 1.279 | 0.71887 | 0.29328 | 0.094017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_246_248 | 246 | 246 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 6:59:32 PM | Wednesday, September 30, 2015 6:59:34 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 31 | 1.001 | 0.0339 | 2.601 | Volume | 28.997 | 0.82 | 1.01 | 5.967 | 2.293 | 23.318 | 62.953 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006514 | 0.23203 | 0.38466 | 0.51847 | 0.62909 | 0.70491 | 0.75508 | 0.78443 | 0.80671 | 0.83468 | 0.87958 | 0.94398 | 1.0228 | 1.1043 | 1.179 | 1.2436 | 1.2992 | 1.35 | 1.4022 | 1.4647 | 1.5449 | 1.6537 | 1.798 | 1.9915 | 2.2396 | 2.5606 | 2.9516 | 3.4248 | 3.9573 | 4.5352 | 5.1034 | 5.6119 | 5.9866 | 6.1687 | 6.1112 | 5.7977 | 5.2469 | 4.5125 | 3.6673 | 2.8044 | 1.9933 | 1.306 | 0.76523 | 0.40067 | 0.1762 | 0.093045 | 0.051765 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_262_264 | 262 | 262 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 7:37:39 PM | Wednesday, September 30, 2015 7:37:41 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 20.71 | 0.287 | 0.0229 | 2.634 | Volume | 34.486 | 0.974 | 0.922 | 6.506 | 2.606 | 24.391 | 66.85 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011312 | 0.17737 | 0.33004 | 0.46131 | 0.56157 | 0.63548 | 0.68186 | 0.70937 | 0.72935 | 0.75439 | 0.79505 | 0.85413 | 0.92716 | 1.0031 | 1.073 | 1.1331 | 1.1839 | 1.2294 | 1.2763 | 1.3343 | 1.413 | 1.5257 | 1.6816 | 1.8968 | 2.1762 | 2.5372 | 2.9716 | 3.4865 | 4.0511 | 4.6469 | 5.2155 | 5.7083 | 6.0569 | 6.2098 | 6.1283 | 5.8016 | 5.2503 | 4.5252 | 3.6929 | 2.8391 | 2.0275 | 1.3283 | 0.7693 | 0.38144 | 0.15323 | 0.0674 | 0.079833 | 0.14152 | 0.21176 | 0.26103 | 0.27537 | 0.25012 | 0.20124 | 0.12752 | 0.04832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_262_264 | 262 | 262 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 7:38:20 PM | Wednesday, September 30, 2015 7:38:22 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 21.19 | 0.408 | 0.0227 | 2.569 | Volume | 29.022 | 0.797 | 0.957 | 6.271 | 2.472 | 23.537 | 62.929 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011921 | 0.18676 | 0.34475 | 0.48069 | 0.58459 | 0.66127 | 0.70961 | 0.73862 | 0.7601 | 0.78708 | 0.83049 | 0.89312 | 0.97022 | 1.0502 | 1.1237 | 1.1867 | 1.2399 | 1.2871 | 1.3351 | 1.394 | 1.4737 | 1.5875 | 1.745 | 1.9622 | 2.244 | 2.6075 | 3.0438 | 3.5592 | 4.1221 | 4.713 | 5.2736 | 5.7555 | 6.0916 | 6.2325 | 6.1417 | 5.8105 | 5.2601 | 4.5403 | 3.7156 | 2.8685 | 2.059 | 1.3564 | 0.77914 | 0.38568 | 0.096031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_278_280 | 278 | 278 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:01:26 PM | Wednesday, September 30, 2015 8:01:28 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.92 | 0.462 | 0.0249 | 2.318 | Volume | 46.226 | 1.17 | 0.767 | 7.821 | 3.531 | 27.913 | 68.241 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008198 | 0.12976 | 0.26167 | 0.37483 | 0.46094 | 0.5238 | 0.56144 | 0.58074 | 0.59076 | 0.60238 | 0.62524 | 0.66358 | 0.71597 | 0.77556 | 0.836 | 0.893 | 0.94351 | 0.98516 | 1.0171 | 1.0418 | 1.0654 | 1.1012 | 1.1689 | 1.2991 | 1.5222 | 1.8804 | 2.389 | 3.0708 | 3.8876 | 4.8029 | 5.7106 | 6.5147 | 7.0904 | 7.3509 | 7.242 | 6.7669 | 5.9828 | 4.9916 | 3.9089 | 2.8599 | 1.9246 | 1.166 | 0.59908 | 0.15734 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16827 | 0.37423 | 0.50243 | 0.57278 | 0.54495 | 0.44511 | 0.25136 | 0.096289 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_278_280 | 278 | 278 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:02:07 PM | Wednesday, September 30, 2015 8:02:09 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.87 | 0.375 | 0.024 | 2.159 | Volume | 30.753 | 0.65 | 0.793 | 7.565 | 3.359 | 27.006 | 61.653 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008398 | 0.13298 | 0.26927 | 0.38623 | 0.47534 | 0.54057 | 0.57991 | 0.6005 | 0.61169 | 0.62468 | 0.64933 | 0.68988 | 0.74471 | 0.80664 | 0.8691 | 0.9278 | 0.97976 | 1.0227 | 1.056 | 1.082 | 1.1069 | 1.1444 | 1.2144 | 1.3482 | 1.5773 | 1.9455 | 2.469 | 3.1717 | 4.0148 | 4.9604 | 5.8986 | 6.7297 | 7.3237 | 7.5898 | 7.4714 | 6.9713 | 6.1499 | 5.1141 | 3.9858 | 2.8965 | 1.9352 | 1.1547 | 0.62171 | 0.14756 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_286_288 | 286 | 286 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:10:34 PM | Wednesday, September 30, 2015 8:10:36 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.91 | 0.457 | 0.026 | 1.578 | Volume | 38.839 | 0.484 | 0.478 | 12.551 | 12.742 | 35.763 | 69.179 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14794 | 0.22101 | 0.28788 | 0.3296 | 0.35554 | 0.36283 | 0.35752 | 0.3453 | 0.33275 | 0.32556 | 0.32741 | 0.34056 | 0.36677 | 0.40658 | 0.45684 | 0.50977 | 0.55342 | 0.57492 | 0.56316 | 0.51502 | 0.44322 | 0.37847 | 0.37678 | 0.51375 | 0.86733 | 1.5208 | 2.495 | 3.7925 | 5.2959 | 6.8672 | 8.2752 | 9.3174 | 9.8111 | 9.6703 | 8.9142 | 7.6674 | 6.1156 | 4.4869 | 2.9578 | 1.6853 | 0.74158 | 0.1258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_286_288 | 286 | 286 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:11:15 PM | Wednesday, September 30, 2015 8:11:17 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.98 | 0.447 | 0.0256 | 1.602 | Volume | 38.559 | 0.488 | 0.488 | 12.287 | 11.943 | 35.536 | 68.889 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15277 | 0.2272 | 0.29514 | 0.33747 | 0.36375 | 0.37121 | 0.36618 | 0.35454 | 0.34307 | 0.33749 | 0.34135 | 0.35661 | 0.38473 | 0.42603 | 0.47718 | 0.5304 | 0.57395 | 0.59533 | 0.5839 | 0.53702 | 0.46771 | 0.40675 | 0.40957 | 0.55087 | 0.90697 | 1.5596 | 2.5284 | 3.8152 | 5.3037 | 6.8573 | 8.2475 | 9.2739 | 9.7557 | 9.6082 | 8.8504 | 7.6064 | 6.0601 | 4.4386 | 2.9169 | 1.653 | 0.71245 | 0.1156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_294_296 | 294 | 294 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:17:50 PM | Wednesday, September 30, 2015 8:17:52 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.04 | 0.387 | 0.021 | 2.154 | Volume | 32.475 | 0.65 | 0.755 | 7.943 | 3.613 | 28.441 | 64.879 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007713 | 0.12236 | 0.25134 | 0.36212 | 0.44682 | 0.50925 | 0.54744 | 0.56798 | 0.57954 | 0.5925 | 0.61616 | 0.65465 | 0.7068 | 0.7663 | 0.82735 | 0.88602 | 0.93932 | 0.98454 | 1.0198 | 1.0461 | 1.0673 | 1.0946 | 1.1459 | 1.2508 | 1.4418 | 1.7648 | 2.243 | 2.9074 | 3.7297 | 4.6805 | 5.6551 | 6.5542 | 7.2408 | 7.6135 | 7.6017 | 7.1964 | 6.4486 | 5.4603 | 4.3508 | 3.2508 | 2.2472 | 1.4106 | 0.78592 | 0.32084 | 0.10368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_294_296 | 294 | 294 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:18:31 PM | Wednesday, September 30, 2015 8:18:33 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.4 | 0.425 | 0.0211 | 2.161 | Volume | 32.11 | 0.653 | 0.769 | 7.801 | 3.491 | 28.169 | 64.351 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007797 | 0.12381 | 0.25632 | 0.37008 | 0.45695 | 0.5209 | 0.5599 | 0.5808 | 0.59262 | 0.60613 | 0.63092 | 0.67121 | 0.72566 | 0.78754 | 0.85068 | 0.91095 | 0.96532 | 1.0112 | 1.0468 | 1.0734 | 1.0952 | 1.1234 | 1.1759 | 1.2819 | 1.4735 | 1.7956 | 2.2709 | 2.9296 | 3.7432 | 4.6824 | 5.6439 | 6.5297 | 7.2049 | 7.5696 | 7.5543 | 7.15 | 6.4067 | 5.4242 | 4.3191 | 3.2195 | 2.2119 | 1.3683 | 0.73743 | 0.26829 | 0.071619 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_302_304 | 302 | 302 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:26:59 PM | Wednesday, September 30, 2015 8:27:00 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.02 | 0.435 | 0.0276 | 1.548 | Volume | 39.214 | 0.48 | 0.456 | 13.156 | 13.924 | 35.976 | 69.626 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13967 | 0.21 | 0.274 | 0.31309 | 0.33644 | 0.34132 | 0.33373 | 0.31938 | 0.30471 | 0.29528 | 0.29448 | 0.30428 | 0.32614 | 0.36045 | 0.40417 | 0.45001 | 0.48698 | 0.50355 | 0.49046 | 0.44652 | 0.38589 | 0.34021 | 0.364 | 0.53077 | 0.91302 | 1.5894 | 2.5756 | 3.8716 | 5.3615 | 6.9115 | 8.2983 | 9.3264 | 9.8176 | 9.686 | 8.9465 | 7.7175 | 6.1791 | 4.5562 | 3.0252 | 1.7417 | 0.78727 | 0.14011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_302_304 | 302 | 302 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:27:40 PM | Wednesday, September 30, 2015 8:27:42 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.9 | 0.438 | 0.0271 | 1.555 | Volume | 39.152 | 0.482 | 0.459 | 13.086 | 13.818 | 35.874 | 69.62 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1413 | 0.21194 | 0.27612 | 0.31527 | 0.33854 | 0.34328 | 0.3355 | 0.32099 | 0.30627 | 0.29697 | 0.29652 | 0.30691 | 0.32951 | 0.36462 | 0.40902 | 0.45524 | 0.49217 | 0.50821 | 0.49417 | 0.44905 | 0.38745 | 0.34152 | 0.36634 | 0.53583 | 0.92246 | 1.6046 | 2.5966 | 3.8972 | 5.3884 | 6.935 | 8.3128 | 9.3264 | 9.8 | 9.6514 | 8.8993 | 7.6659 | 6.1326 | 4.523 | 3.0112 | 1.7447 | 0.81243 | 0.15334 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_314_316 | 314 | 314 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:34:52 PM | Wednesday, September 30, 2015 8:34:54 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.59 | 0.418 | 0.0261 | 1.574 | Volume | 33.029 | 0.485 | 0.552 | 10.871 | 10.974 | 30.386 | 58.791 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.07454 | 0.17439 | 0.26308 | 0.32931 | 0.3753 | 0.39757 | 0.40042 | 0.38963 | 0.37429 | 0.36343 | 0.36484 | 0.38267 | 0.41694 | 0.46449 | 0.51847 | 0.56759 | 0.5975 | 0.59435 | 0.54959 | 0.46664 | 0.36416 | 0.28525 | 0.292 | 0.4623 | 0.88511 | 1.6118 | 2.6883 | 4.0499 | 5.6171 | 7.183 | 8.5562 | 9.504 | 9.8753 | 9.5982 | 8.7163 | 7.3737 | 5.7819 | 4.1531 | 2.6898 | 1.4918 | 0.66044 | 0.095335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_314_316 | 314 | 314 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:35:33 PM | Wednesday, September 30, 2015 8:35:35 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.5 | 0.425 | 0.0258 | 1.578 | Volume | 32.96 | 0.486 | 0.554 | 10.828 | 10.876 | 30.322 | 58.719 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.075407 | 0.17555 | 0.2645 | 0.33089 | 0.37694 | 0.39919 | 0.40196 | 0.3911 | 0.37576 | 0.36507 | 0.36689 | 0.38537 | 0.42044 | 0.46875 | 0.52319 | 0.57221 | 0.60136 | 0.59691 | 0.55062 | 0.46646 | 0.36366 | 0.28586 | 0.29545 | 0.47008 | 0.89822 | 1.63 | 2.71 | 4.072 | 5.6357 | 7.194 | 8.5565 | 9.4929 | 9.8548 | 9.5727 | 8.6911 | 7.3535 | 5.7686 | 4.1458 | 2.6844 | 1.4855 | 0.64236 | 0.088365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_336_338 | 336 | 333 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:43:07 PM | Wednesday, September 30, 2015 8:43:09 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.95 | 0.437 | 0.0179 | 1.747 | Volume | 32.198 | 0.529 | 0.588 | 10.197 | 8.396 | 28.952 | 58.981 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.081478 | 0.18545 | 0.2772 | 0.34493 | 0.3915 | 0.41396 | 0.41771 | 0.40975 | 0.40026 | 0.39898 | 0.41317 | 0.4454 | 0.49272 | 0.54882 | 0.60428 | 0.64686 | 0.66349 | 0.64435 | 0.58709 | 0.50325 | 0.41975 | 0.38542 | 0.46502 | 0.72877 | 1.2539 | 2.066 | 3.1858 | 4.5217 | 5.9776 | 7.3499 | 8.4666 | 9.1404 | 9.2701 | 8.835 | 7.9101 | 6.6446 | 5.2257 | 3.8236 | 2.5866 | 1.5835 | 0.84763 | 0.37212 | 0.069792 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_336_338 | 336 | 333 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:43:48 PM | Wednesday, September 30, 2015 8:43:50 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.87 | 0.388 | 0.0179 | 1.821 | Volume | 36.196 | 0.659 | 0.583 | 10.289 | 8.555 | 29.165 | 61.671 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.081757 | 0.18451 | 0.27523 | 0.34213 | 0.38805 | 0.41009 | 0.41362 | 0.40561 | 0.39616 | 0.395 | 0.40937 | 0.44185 | 0.48953 | 0.54606 | 0.60196 | 0.64486 | 0.6616 | 0.64227 | 0.58455 | 0.50004 | 0.41578 | 0.38067 | 0.45936 | 0.72175 | 1.2443 | 2.0517 | 3.1635 | 4.4869 | 5.9247 | 7.2737 | 8.3623 | 9.0061 | 9.107 | 8.6495 | 7.7135 | 6.453 | 5.0575 | 3.6961 | 2.5129 | 1.5679 | 0.89058 | 0.44452 | 0.19484 | 0.085259 | 0.070636 | 0.10518 | 0.15045 | 0.18509 | 0.20082 | 0.19569 | 0.17361 | 0.12889 | 0.087353 | 0.02455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_338_340 | 338 | 335 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:50:33 PM | Wednesday, September 30, 2015 8:50:35 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 19.16 | 0.339 | 0.0183 | 2.333 | Volume | 21.982 | 0.723 | 1.05 | 5.698 | 2.22 | 18.556 | 45.507 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005383 | 0.20207 | 0.37086 | 0.51561 | 0.63277 | 0.7128 | 0.76462 | 0.79513 | 0.82003 | 0.85439 | 0.91135 | 0.99356 | 1.094 | 1.1959 | 1.2833 | 1.3461 | 1.3813 | 1.3938 | 1.3976 | 1.4158 | 1.478 | 1.6201 | 1.8727 | 2.2692 | 2.8109 | 3.5047 | 4.2914 | 5.1274 | 5.9024 | 6.5346 | 6.9193 | 6.9967 | 6.7407 | 6.1744 | 5.3705 | 4.4246 | 3.4435 | 2.5227 | 1.7247 | 1.0928 | 0.62348 | 0.31959 | 0.11568 | 0.033148 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_338_340 | 338 | 335 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:51:15 PM | Wednesday, September 30, 2015 8:51:17 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 19.26 | 0.353 | 0.0185 | 2.342 | Volume | 22.072 | 0.727 | 1.05 | 5.707 | 2.223 | 18.574 | 45.729 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005302 | 0.19966 | 0.36851 | 0.51341 | 0.63083 | 0.71128 | 0.76358 | 0.79456 | 0.81987 | 0.85451 | 0.91155 | 0.99365 | 1.0939 | 1.1954 | 1.2824 | 1.345 | 1.3803 | 1.3933 | 1.3981 | 1.4176 | 1.4813 | 1.6248 | 1.8781 | 2.2743 | 2.8139 | 3.5037 | 4.2846 | 5.1138 | 5.8821 | 6.5095 | 6.8925 | 6.9717 | 6.7214 | 6.1633 | 5.3688 | 4.4314 | 3.4562 | 2.5382 | 1.7406 | 1.1083 | 0.63998 | 0.33741 | 0.14277 | 0.048644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_350_352 | 350 | 347 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:57:31 PM | Wednesday, September 30, 2015 8:57:33 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 35.31 | 0.36 | 0.0309 | 2.644 | Volume | 19.488 | 0.838 | 1.32 | 4.559 | 1.654 | 15.378 | 42.308 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009766 | 0.098452 | 0.34095 | 0.53625 | 0.70312 | 0.83748 | 0.92887 | 0.98773 | 1.0227 | 1.0524 | 1.0942 | 1.1624 | 1.2581 | 1.3706 | 1.4787 | 1.5643 | 1.6192 | 1.6456 | 1.6551 | 1.6692 | 1.7169 | 1.8291 | 2.039 | 2.3648 | 2.8234 | 3.3916 | 4.0524 | 4.7289 | 5.3669 | 5.8705 | 6.1803 | 6.2406 | 6.0359 | 5.5886 | 4.9479 | 4.1928 | 3.4004 | 2.6412 | 1.9665 | 1.3994 | 0.95275 | 0.6102 | 0.37314 | 0.1844 | 0.066968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_350_352 | 350 | 347 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 8:58:13 PM | Wednesday, September 30, 2015 8:58:15 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 35.5 | 0.366 | 0.0309 | 2.648 | Volume | 19.327 | 0.838 | 1.32 | 4.531 | 1.64 | 15.27 | 42.067 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00962 | 0.097539 | 0.3427 | 0.5401 | 0.70879 | 0.84461 | 0.93696 | 0.99638 | 1.0316 | 1.0615 | 1.1037 | 1.1724 | 1.2688 | 1.382 | 1.4903 | 1.5758 | 1.6301 | 1.6558 | 1.665 | 1.6796 | 1.7287 | 1.8433 | 2.0562 | 2.3847 | 2.8448 | 3.4121 | 4.0692 | 4.739 | 5.3678 | 5.8613 | 6.1616 | 6.2149 | 6.0072 | 5.5615 | 4.9264 | 4.1789 | 3.3936 | 2.6386 | 1.9636 | 1.3921 | 0.9379 | 0.58625 | 0.34179 | 0.14753 | 0.047906 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_360_361 | 360 | 357 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 9:28:15 PM | Wednesday, September 30, 2015 9:28:17 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.52 | 0.606 | 0.0139 | 2.623 | Volume | 24.713 | 0.808 | 1.02 | 5.885 | 2.291 | 19.664 | 53.868 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010897 | 0.17222 | 0.34311 | 0.48939 | 0.60123 | 0.6848 | 0.73911 | 0.77445 | 0.80403 | 0.84199 | 0.90004 | 0.98011 | 1.0755 | 1.1711 | 1.2542 | 1.3183 | 1.3638 | 1.3974 | 1.4322 | 1.4871 | 1.5825 | 1.7427 | 1.9832 | 2.3237 | 2.7582 | 3.291 | 3.8807 | 4.5048 | 5.0953 | 5.6082 | 5.9772 | 6.1634 | 6.1377 | 5.8974 | 5.4635 | 4.8721 | 4.1729 | 3.4218 | 2.6677 | 1.9622 | 1.3338 | 0.80513 | 0.42005 | 0.093676 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_360_361 | 360 | 357 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 9:28:57 PM | Wednesday, September 30, 2015 9:28:59 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.5 | 0.621 | 0.0138 | 2.659 | Volume | 24.764 | 0.822 | 1.02 | 5.854 | 2.274 | 19.503 | 54.142 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.010912 | 0.1725 | 0.34431 | 0.49138 | 0.60386 | 0.68797 | 0.74278 | 0.77867 | 0.80896 | 0.84788 | 0.9072 | 0.98877 | 1.0857 | 1.1827 | 1.2667 | 1.3312 | 1.3768 | 1.4102 | 1.4448 | 1.4998 | 1.5963 | 1.7584 | 2.0022 | 2.3466 | 2.7852 | 3.3208 | 3.9106 | 4.5303 | 5.1112 | 5.6086 | 5.9575 | 6.1207 | 6.0729 | 5.815 | 5.3724 | 4.7837 | 4.0986 | 3.3695 | 2.641 | 1.9605 | 1.3526 | 0.8428 | 0.45564 | 0.16257 | 0.041478 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_381_382 | 381 | 378 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 9:36:45 PM | Wednesday, September 30, 2015 9:36:47 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.42 | 0.654 | 0.0278 | 1.51 | Volume | 51.73 | 0.451 | 0.391 | 15.352 | 15.827 | 49.057 | 89.903 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1154 | 0.1738 | 0.22815 | 0.26371 | 0.28867 | 0.30107 | 0.30596 | 0.30688 | 0.30719 | 0.30785 | 0.30762 | 0.30496 | 0.30103 | 0.30107 | 0.31207 | 0.34001 | 0.38748 | 0.45256 | 0.52548 | 0.59263 | 0.63511 | 0.63881 | 0.59961 | 0.53138 | 0.47654 | 0.50196 | 0.69533 | 1.156 | 1.9496 | 3.1168 | 4.5971 | 6.2751 | 7.9319 | 9.3225 | 10.1997 | 10.3837 | 9.8103 | 8.5584 | 6.8072 | 4.8512 | 2.9432 | 1.3537 | 0.24124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_381_382 | 381 | 378 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 9:37:27 PM | Wednesday, September 30, 2015 9:37:29 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.28 | 0.661 | 0.0271 | 1.521 | Volume | 51.46 | 0.452 | 0.395 | 15.189 | 15.232 | 48.849 | 89.53 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11726 | 0.17627 | 0.23114 | 0.26703 | 0.29222 | 0.30471 | 0.30961 | 0.31052 | 0.31089 | 0.31178 | 0.31204 | 0.31011 | 0.30712 | 0.30812 | 0.31987 | 0.34816 | 0.39546 | 0.45987 | 0.53185 | 0.59811 | 0.6402 | 0.64449 | 0.60721 | 0.54249 | 0.49252 | 0.52371 | 0.72262 | 1.1873 | 1.9822 | 3.1469 | 4.6208 | 6.2892 | 7.935 | 9.3147 | 10.1826 | 10.3594 | 9.7808 | 8.525 | 6.7707 | 4.8095 | 2.8996 | 1.2933 | 0.20748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_401_402 | 401 | 398 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 9:44:28 PM | Wednesday, September 30, 2015 9:44:30 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.89 | 0.729 | 0.041 | 1.193 | Volume | 70.062 | 0.381 | 0.25 | 24.008 | 34.128 | 66.766 | 113.809 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.062885 | 0.10102 | 0.13013 | 0.15273 | 0.16655 | 0.1745 | 0.17888 | 0.18257 | 0.18727 | 0.19243 | 0.19531 | 0.19239 | 0.18233 | 0.16786 | 0.15521 | 0.15241 | 0.16757 | 0.20649 | 0.26896 | 0.34908 | 0.43013 | 0.4918 | 0.50879 | 0.46279 | 0.35147 | 0.20121 | 0.026414 | 0.003038 | 0.10534 | 0.45511 | 1.2304 | 2.5425 | 4.3865 | 6.6138 | 8.9086 | 10.8467 | 12.0188 | 12.1299 | 11.1214 | 9.2122 | 6.7751 | 4.3421 | 2.2798 | 0.86781 | 0.12183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C3_401_402 | 401 | 398 | 123-ABC | ACC2015 | malvern | Wednesday, September 30, 2015 9:45:09 PM | Wednesday, September 30, 2015 9:45:11 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.86 | 0.701 | 0.0406 | 1.195 | Volume | 69.949 | 0.381 | 0.251 | 23.882 | 34.009 | 66.669 | 113.685 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.063192 | 0.10176 | 0.1312 | 0.15409 | 0.16806 | 0.17606 | 0.18039 | 0.18397 | 0.18855 | 0.19364 | 0.19653 | 0.19376 | 0.18392 | 0.16969 | 0.1572 | 0.15445 | 0.16954 | 0.20831 | 0.2706 | 0.35057 | 0.43154 | 0.49326 | 0.51048 | 0.46496 | 0.35422 | 0.20569 | 0.027252 | 0.004619 | 0.11039 | 0.4624 | 1.2406 | 2.5556 | 4.4017 | 6.6294 | 8.9215 | 10.8529 | 12.0149 | 12.1151 | 11.0989 | 9.1864 | 6.756 | 4.3196 | 2.2913 | 0.81435 | 0.14159 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0