## Sheet1
Sample Name | Sample source type | depth corret | Sample bulk lot ref | SOP Name | Operator name | Measurement date and time | Analysis date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Dispersant refractive index | Accessory name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Residual | Concentration | Span | Result transform type | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | Result Between User Sizes (Sizes in um) | [100 empty] | Operator Notes
[30 empty] | 0.01 | 0.011482 | 0.013183 | 0.015136 | 0.017378 | 0.019953 | 0.022909 | 0.026303 | 0.0302 | 0.034674 | 0.039811 | 0.045709 | 0.052481 | 0.060256 | 0.069183 | 0.079433 | 0.091201 | 0.10471 | 0.12023 | 0.13804 | 0.15849 | 0.18197 | 0.20893 | 0.23988 | 0.27542 | 0.31623 | 0.36308 | 0.41687 | 0.47863 | 0.54954 | 0.63096 | 0.72444 | 0.83176 | 0.95499 | 1.0965 | 1.2589 | 1.4454 | 1.6596 | 1.9055 | 2.1878 | 2.5119 | 2.884 | 3.3113 | 3.8019 | 4.3652 | 5.0119 | 5.7544 | 6.6069 | 7.5858 | 8.7096 | 10 | 11.4815 | 13.1826 | 15.1356 | 17.378 | 19.9526 | 22.9087 | 26.3027 | 30.1995 | 34.6737 | 39.8107 | 45.7088 | 52.4807 | 60.256 | 69.1831 | 79.4328 | 91.2011 | 104.7129 | 120.2264 | 138.0384 | 158.4893 | 181.9701 | 208.9296 | 239.8833 | 275.4229 | 316.2278 | 363.0781 | 416.8694 | 478.6301 | 549.5409 | 630.9573 | 724.436 | 831.7638 | 954.9926 | 1096.4782 | 1258.9254 | 1445.4398 | 1659.5869 | 1905.4607 | 2187.7616 | 2511.8864 | 2884.0315 | 3311.3112 | 3801.894 | 4365.1583 | 5011.8723 | 5754.3994 | 6606.9345 | 7585.7757 | 8709.6359 | 10000
depth correct
ACC2015_1_C9_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 1:55:58 PM | Tuesday, November 17, 2015 1:56:00 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.83 | 0.685 | 0.0204 | 2.908 | Volume | 39.981 | 0.916 | 0.749 | 8.01 | 3.459 | 29.444 | 89.096 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005586 | 0.090415 | 0.21561 | 0.32306 | 0.40622 | 0.46986 | 0.51262 | 0.54159 | 0.56592 | 0.59557 | 0.63929 | 0.69932 | 0.77245 | 0.8498 | 0.92411 | 0.99173 | 1.0524 | 1.1086 | 1.1648 | 1.2286 | 1.3072 | 1.4114 | 1.5486 | 1.7319 | 1.9649 | 2.2616 | 2.6145 | 3.0296 | 3.4831 | 3.9638 | 4.4322 | 4.8609 | 5.2091 | 5.4512 | 5.5659 | 5.5452 | 5.3901 | 5.1082 | 4.7082 | 4.2067 | 3.6144 | 2.9654 | 2.2869 | 1.6443 | 1.0766 | 0.64061 | 0.34064 | 0.17383 | 0.1034 | 0.092588 | 0.091385 | 0.017806 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 1:56:39 PM | Tuesday, November 17, 2015 1:56:41 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.68 | 0.731 | 0.0202 | 2.938 | Volume | 40.164 | 0.929 | 0.747 | 8.029 | 3.463 | 29.292 | 89.51 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005255 | 0.085501 | 0.21082 | 0.31841 | 0.40185 | 0.46594 | 0.50929 | 0.53893 | 0.564 | 0.59439 | 0.63885 | 0.69964 | 0.77364 | 0.85206 | 0.92771 | 0.99699 | 1.0596 | 1.1178 | 1.1758 | 1.2411 | 1.3207 | 1.4253 | 1.5624 | 1.7453 | 1.978 | 2.2746 | 2.6281 | 3.0443 | 3.4992 | 3.9808 | 4.4487 | 4.8744 | 5.2162 | 5.4486 | 5.5506 | 5.5157 | 5.3467 | 5.0537 | 4.6474 | 4.1459 | 3.5604 | 2.9243 | 2.2633 | 1.64 | 1.0909 | 0.66983 | 0.37901 | 0.21432 | 0.13903 | 0.11612 | 0.09907 | 0.019553 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_4_6 | 4 | 4 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 2:04:26 PM | Tuesday, November 17, 2015 2:04:28 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.84 | 0.45 | 0.0232 | 2.325 | Volume | 54.118 | 0.729 | 0.561 | 10.702 | 5.212 | 46.776 | 113.968 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15442 | 0.22929 | 0.29816 | 0.34361 | 0.37766 | 0.39994 | 0.41962 | 0.44351 | 0.47829 | 0.52514 | 0.58103 | 0.63859 | 0.69207 | 0.73929 | 0.78157 | 0.82303 | 0.86955 | 0.92886 | 1.0067 | 1.1095 | 1.2368 | 1.39 | 1.56 | 1.7445 | 1.9302 | 2.1177 | 2.3031 | 2.5012 | 2.727 | 3.0109 | 3.3767 | 3.8485 | 4.424 | 5.0765 | 5.7409 | 6.3194 | 6.7009 | 6.7776 | 6.4807 | 5.8092 | 4.8166 | 3.6586 | 2.4611 | 1.439 | 0.5985 | 0.11051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_4_6 | 4 | 4 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 2:05:08 PM | Tuesday, November 17, 2015 2:05:10 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.25 | 0.422 | 0.0235 | 2.429 | Volume | 52.953 | 0.764 | 0.571 | 10.516 | 5.063 | 44.574 | 113.336 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15267 | 0.22823 | 0.29792 | 0.34396 | 0.37865 | 0.40163 | 0.42223 | 0.4474 | 0.48392 | 0.53297 | 0.59146 | 0.6519 | 0.70851 | 0.75913 | 0.80521 | 0.85097 | 0.90239 | 0.96738 | 1.0519 | 1.1625 | 1.2993 | 1.464 | 1.6476 | 1.8482 | 2.0517 | 2.2582 | 2.4616 | 2.6744 | 2.9074 | 3.1868 | 3.5318 | 3.963 | 4.4772 | 5.0505 | 5.6251 | 6.1149 | 6.423 | 6.4554 | 6.1519 | 5.5132 | 4.5863 | 3.5114 | 2.3989 | 1.4442 | 0.64594 | 0.16739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_8_10 | 8 | 8 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 2:13:16 PM | Tuesday, November 17, 2015 2:13:17 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.31 | 0.434 | 0.0211 | 2.27 | Volume | 55.483 | 0.707 | 0.496 | 12.086 | 6.735 | 47.754 | 115.154 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12895 | 0.19505 | 0.256 | 0.29575 | 0.32504 | 0.34319 | 0.35808 | 0.37558 | 0.40145 | 0.43693 | 0.47959 | 0.52355 | 0.56432 | 0.60061 | 0.63415 | 0.66904 | 0.71099 | 0.76744 | 0.84421 | 0.94809 | 1.0798 | 1.2425 | 1.4288 | 1.6393 | 1.8612 | 2.0969 | 2.34 | 2.603 | 2.8946 | 3.2392 | 3.6523 | 4.1514 | 4.7289 | 5.3569 | 5.9737 | 6.4897 | 6.8053 | 6.8254 | 6.4906 | 5.8052 | 4.8221 | 3.6864 | 2.525 | 1.5109 | 0.70945 | 0.18335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_8_10 | 8 | 8 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 2:13:57 PM | Tuesday, November 17, 2015 2:13:59 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.31 | 0.425 | 0.0206 | 2.315 | Volume | 54.361 | 0.722 | 0.508 | 11.808 | 6.44 | 46.314 | 113.677 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13086 | 0.19853 | 0.26103 | 0.30184 | 0.332 | 0.35079 | 0.36629 | 0.38452 | 0.41144 | 0.44836 | 0.49291 | 0.53914 | 0.58254 | 0.62178 | 0.65856 | 0.69685 | 0.74224 | 0.802 | 0.88177 | 0.9883 | 1.1223 | 1.2872 | 1.476 | 1.6899 | 1.9167 | 2.1594 | 2.4114 | 2.6849 | 2.9866 | 3.3386 | 3.7529 | 4.2436 | 4.8004 | 5.3942 | 5.9648 | 6.4275 | 6.6895 | 6.6649 | 6.3016 | 5.6088 | 4.6395 | 3.5339 | 2.4129 | 1.4404 | 0.67849 | 0.1819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_12_14 | 12 | 12 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 4:14:24 PM | Tuesday, November 17, 2015 4:14:26 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.27 | 1.153 | 0.0135 | 2.992 | Volume | 38.089 | 0.93 | 0.782 | 7.673 | 3.231 | 28.024 | 87.068 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005199 | 0.085021 | 0.21685 | 0.32958 | 0.41687 | 0.48423 | 0.53043 | 0.56314 | 0.59209 | 0.62755 | 0.67841 | 0.7464 | 0.82753 | 0.91199 | 0.99232 | 1.0656 | 1.1332 | 1.1992 | 1.2697 | 1.3534 | 1.4571 | 1.5898 | 1.7544 | 1.9588 | 2.1994 | 2.4837 | 2.8002 | 3.1527 | 3.5233 | 3.9081 | 4.2826 | 4.6327 | 4.9315 | 5.16 | 5.2965 | 5.3245 | 5.2307 | 5.007 | 4.6508 | 4.1732 | 3.5882 | 2.9381 | 2.2584 | 1.6207 | 1.0563 | 0.62597 | 0.28791 | 0.078416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_12_14 | 12 | 12 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 4:15:06 PM | Tuesday, November 17, 2015 4:15:08 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.2 | 1.181 | 0.0134 | 3.003 | Volume | 37.649 | 0.932 | 0.779 | 7.703 | 3.248 | 27.62 | 86.191 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.083368 | 0.2096 | 0.32173 | 0.40876 | 0.47624 | 0.5229 | 0.55635 | 0.58628 | 0.62292 | 0.67517 | 0.74473 | 0.8277 | 0.91433 | 0.99717 | 1.0732 | 1.1435 | 1.2121 | 1.2849 | 1.3704 | 1.4756 | 1.6097 | 1.7761 | 1.983 | 2.2274 | 2.5172 | 2.8407 | 3.2015 | 3.5806 | 3.9726 | 4.3508 | 4.6991 | 4.9885 | 5.1994 | 5.311 | 5.3097 | 5.1866 | 4.9388 | 4.5675 | 4.0859 | 3.507 | 2.8703 | 2.2071 | 1.5848 | 1.0324 | 0.60953 | 0.27331 | 0.062491 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_16_18 | 16 | 16 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 4:23:01 PM | Tuesday, November 17, 2015 4:23:03 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.82 | 0.319 | 0.0219 | 2.685 | Volume | 43.357 | 0.827 | 0.653 | 9.194 | 4.465 | 33.904 | 95.508 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.081403 | 0.18648 | 0.28013 | 0.35179 | 0.40559 | 0.44014 | 0.46162 | 0.47787 | 0.49774 | 0.52888 | 0.57361 | 0.62936 | 0.68886 | 0.74622 | 0.79891 | 0.84762 | 0.89557 | 0.94797 | 1.0128 | 1.0974 | 1.212 | 1.3622 | 1.5584 | 1.7999 | 2.096 | 2.4353 | 2.8212 | 3.2331 | 3.6667 | 4.0969 | 4.5138 | 4.8951 | 5.2293 | 5.4979 | 5.6836 | 5.7626 | 5.7079 | 5.4924 | 5.1006 | 4.5271 | 3.8071 | 2.9818 | 2.1515 | 1.3718 | 0.76477 | 0.28069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_16_18 | 16 | 16 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 4:23:43 PM | Tuesday, November 17, 2015 4:23:45 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.25 | 0.355 | 0.0224 | 2.7 | Volume | 42.757 | 0.832 | 0.653 | 9.186 | 4.414 | 33.312 | 94.363 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.072239 | 0.17835 | 0.27263 | 0.34514 | 0.40003 | 0.43578 | 0.4586 | 0.47639 | 0.49804 | 0.53126 | 0.57832 | 0.63664 | 0.69887 | 0.75912 | 0.81497 | 0.86722 | 0.91914 | 0.97587 | 1.0453 | 1.1343 | 1.2528 | 1.4058 | 1.6035 | 1.8453 | 2.1405 | 2.4783 | 2.8629 | 3.274 | 3.7076 | 4.1382 | 4.5546 | 4.933 | 5.2602 | 5.5164 | 5.6837 | 5.7397 | 5.6598 | 5.4206 | 5.0104 | 4.4266 | 3.7057 | 2.8888 | 2.0742 | 1.3157 | 0.73229 | 0.27133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_20_22 | 20 | 20 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 4:33:30 PM | Tuesday, November 17, 2015 4:33:32 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.41 | 0.331 | 0.0172 | 2.761 | Volume | 41.541 | 0.849 | 0.686 | 8.741 | 4.101 | 31.872 | 92.098 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005196 | 0.08412 | 0.20092 | 0.30012 | 0.37575 | 0.43243 | 0.46875 | 0.49132 | 0.50841 | 0.52933 | 0.56216 | 0.60942 | 0.66853 | 0.73187 | 0.79312 | 0.84921 | 0.90018 | 0.94865 | 0.99952 | 1.0608 | 1.1405 | 1.25 | 1.3969 | 1.5941 | 1.8436 | 2.1573 | 2.5244 | 2.9484 | 3.4039 | 3.8807 | 4.3436 | 4.773 | 5.1376 | 5.4211 | 5.6064 | 5.6834 | 5.6422 | 5.4722 | 5.1624 | 4.7107 | 4.1185 | 3.4208 | 2.6538 | 1.9028 | 1.2185 | 0.68749 | 0.29646 | 0.089404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_20_22 | 20 | 20 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 4:34:11 PM | Tuesday, November 17, 2015 4:34:13 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.69 | 0.325 | 0.0174 | 2.759 | Volume | 40.388 | 0.848 | 0.694 | 8.641 | 4.003 | 30.968 | 89.44 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0827 | 0.19642 | 0.29751 | 0.37516 | 0.43398 | 0.4724 | 0.49694 | 0.51592 | 0.53864 | 0.57327 | 0.62234 | 0.68335 | 0.74874 | 0.81225 | 0.87091 | 0.92476 | 0.9764 | 1.0305 | 1.095 | 1.1776 | 1.2895 | 1.4383 | 1.6372 | 1.8888 | 2.2059 | 2.5786 | 3.0113 | 3.4785 | 3.9695 | 4.4468 | 4.8873 | 5.2552 | 5.53 | 5.6917 | 5.7297 | 5.6366 | 5.4081 | 5.0408 | 4.5421 | 3.9201 | 3.2145 | 2.4617 | 1.7422 | 1.1017 | 0.61521 | 0.26686 | 0.086956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_30_31 | 30 | 30 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 4:42:48 PM | Tuesday, November 17, 2015 4:42:50 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.09 | 0.661 | 0.0534 | 1.34 | Volume | 73.126 | 0.423 | 0.211 | 28.458 | 32.596 | 67.892 | 123.59 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077359 | 0.10925 | 0.12912 | 0.14055 | 0.14632 | 0.14752 | 0.14656 | 0.14481 | 0.14241 | 0.1379 | 0.12963 | 0.11752 | 0.10447 | 0.09555 | 0.096633 | 0.11304 | 0.14797 | 0.19973 | 0.2626 | 0.32326 | 0.36709 | 0.37753 | 0.34544 | 0.27637 | 0.19421 | 0.15162 | 0.2231 | 0.49633 | 1.0629 | 1.9755 | 3.2526 | 4.8243 | 6.5582 | 8.2486 | 9.6531 | 10.5493 | 10.7629 | 10.2296 | 9.0202 | 7.2925 | 5.3526 | 3.4244 | 1.8454 | 0.60389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_30_31 | 30 | 30 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 4:43:29 PM | Tuesday, November 17, 2015 4:43:31 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.49 | 0.679 | 0.0543 | 1.342 | Volume | 72.821 | 0.423 | 0.214 | 27.99 | 32.29 | 67.692 | 123.123 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.078826 | 0.11132 | 0.1316 | 0.14332 | 0.1493 | 0.15072 | 0.15004 | 0.14872 | 0.14689 | 0.14307 | 0.13548 | 0.12396 | 0.11132 | 0.1026 | 0.10374 | 0.12015 | 0.15518 | 0.20726 | 0.2708 | 0.33253 | 0.3778 | 0.38985 | 0.35931 | 0.29135 | 0.20953 | 0.16623 | 0.23589 | 0.50636 | 1.0696 | 1.9791 | 3.2539 | 4.8244 | 6.5586 | 8.2503 | 9.656 | 10.5519 | 10.7622 | 10.2217 | 9.0016 | 7.2618 | 5.3108 | 3.3783 | 1.7967 | 0.56979 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_50_51 | 50 | 50 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 4:52:12 PM | Tuesday, November 17, 2015 4:52:14 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.09 | 0.491 | 0.0339 | 1.759 | Volume | 59.535 | 0.529 | 0.367 | 16.353 | 13.372 | 54.897 | 109.932 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10191 | 0.15334 | 0.20049 | 0.23058 | 0.25129 | 0.26143 | 0.26619 | 0.26953 | 0.27532 | 0.28489 | 0.29713 | 0.30933 | 0.32008 | 0.3305 | 0.34347 | 0.36249 | 0.39082 | 0.43109 | 0.48298 | 0.5454 | 0.61315 | 0.68356 | 0.75279 | 0.82649 | 0.91444 | 1.0427 | 1.242 | 1.5596 | 2.0317 | 2.6991 | 3.5629 | 4.6079 | 5.76 | 6.9143 | 7.9259 | 8.6373 | 8.913 | 8.6653 | 7.883 | 6.6613 | 5.1427 | 3.5682 | 2.115 | 0.96981 | 0.19965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_50_51 | 50 | 50 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 4:52:53 PM | Tuesday, November 17, 2015 4:52:55 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.64 | 0.493 | 0.036 | 1.757 | Volume | 59.837 | 0.529 | 0.361 | 16.625 | 13.6 | 55.14 | 110.455 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09722 | 0.14783 | 0.19443 | 0.22416 | 0.24468 | 0.25476 | 0.25959 | 0.26309 | 0.26909 | 0.27887 | 0.29123 | 0.30341 | 0.31399 | 0.32417 | 0.33695 | 0.35597 | 0.38456 | 0.42539 | 0.47814 | 0.54168 | 0.61072 | 0.68248 | 0.75288 | 0.82728 | 0.9151 | 1.0421 | 1.2387 | 1.5524 | 2.0197 | 2.6819 | 3.5414 | 4.5836 | 5.7354 | 6.8923 | 7.9096 | 8.6295 | 8.916 | 8.6803 | 7.9097 | 6.6979 | 5.1857 | 3.6138 | 2.1576 | 1.0093 | 0.2254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_70_71 | 70 | 70 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 5:01:08 PM | Tuesday, November 17, 2015 5:01:10 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.98 | 0.704 | 0.051 | 1.358 | Volume | 69.038 | 0.426 | 0.243 | 24.735 | 29.116 | 64.739 | 117.063 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05723 | 0.095034 | 0.12388 | 0.14655 | 0.15964 | 0.16604 | 0.16739 | 0.1665 | 0.16527 | 0.16417 | 0.16191 | 0.15665 | 0.14799 | 0.13828 | 0.13192 | 0.13406 | 0.14949 | 0.18124 | 0.2282 | 0.28601 | 0.34381 | 0.39011 | 0.41166 | 0.4026 | 0.36912 | 0.33498 | 0.34753 | 0.47567 | 0.7977 | 1.3983 | 2.3247 | 3.5946 | 5.1405 | 6.8331 | 8.4675 | 9.797 | 10.5911 | 10.6722 | 9.98 | 8.606 | 6.7376 | 4.7028 | 2.7753 | 1.2071 | 0.17154 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_70_71 | 70 | 70 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 5:01:50 PM | Tuesday, November 17, 2015 5:01:52 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.45 | 0.708 | 0.0483 | 1.371 | Volume | 69.098 | 0.43 | 0.245 | 24.52 | 28.767 | 64.734 | 117.535 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.058494 | 0.096274 | 0.12511 | 0.14765 | 0.16073 | 0.16712 | 0.16854 | 0.16778 | 0.16678 | 0.16604 | 0.16431 | 0.15979 | 0.15206 | 0.14338 | 0.13798 | 0.14082 | 0.15651 | 0.18801 | 0.23421 | 0.2909 | 0.34756 | 0.39316 | 0.41504 | 0.40791 | 0.37818 | 0.34954 | 0.36838 | 0.50223 | 0.82728 | 1.4262 | 2.3446 | 3.5997 | 5.1253 | 6.7951 | 8.4083 | 9.723 | 10.5124 | 10.6008 | 9.9276 | 8.5807 | 6.7423 | 4.7346 | 2.8231 | 1.2634 | 0.21125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_90_91 | 90 | 90 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 5:11:56 PM | Tuesday, November 17, 2015 5:11:58 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.68 | 0.574 | 0.0293 | 1.772 | Volume | 62.539 | 0.525 | 0.375 | 15.992 | 11.563 | 58.518 | 115.264 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10505 | 0.15656 | 0.20349 | 0.23359 | 0.25484 | 0.26652 | 0.27421 | 0.28202 | 0.29374 | 0.31001 | 0.3287 | 0.34576 | 0.35882 | 0.3688 | 0.37943 | 0.39599 | 0.4242 | 0.46932 | 0.53293 | 0.6146 | 0.70663 | 0.80161 | 0.88648 | 0.95606 | 1.0085 | 1.0595 | 1.1384 | 1.2956 | 1.5874 | 2.0785 | 2.8052 | 3.7832 | 4.9627 | 6.2463 | 7.4775 | 8.4672 | 9.0384 | 9.0548 | 8.4684 | 7.3482 | 5.8326 | 4.1793 | 2.584 | 1.2897 | 0.34505 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_90_91 | 90 | 90 | 123-ABC | ACC2015 | malvern | Tuesday, November 17, 2015 5:12:38 PM | Tuesday, November 17, 2015 5:12:39 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.59 | 0.585 | 0.0293 | 1.77 | Volume | 62.548 | 0.524 | 0.371 | 16.169 | 11.604 | 58.539 | 115.234 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10103 | 0.15159 | 0.19779 | 0.22743 | 0.24847 | 0.26019 | 0.26813 | 0.27633 | 0.28856 | 0.30543 | 0.3248 | 0.34264 | 0.35652 | 0.36735 | 0.37881 | 0.39618 | 0.42524 | 0.47129 | 0.53598 | 0.61888 | 0.71225 | 0.80861 | 0.89473 | 0.96522 | 1.0181 | 1.0686 | 1.1461 | 1.3007 | 1.5889 | 2.0759 | 2.7989 | 3.7746 | 4.9541 | 6.2403 | 7.4763 | 8.4718 | 9.0476 | 9.0656 | 8.4772 | 7.3522 | 5.8313 | 4.1746 | 2.579 | 1.2881 | 0.34676 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_110_111 | 110 | 110 | 123-ABC | ACC2015 | malvern | Monday, November 23, 2015 1:53:59 PM | Monday, November 23, 2015 1:54:01 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.09 | 0.742 | 0.0588 | 1.144 | Volume | 77.325 | 0.368 | 0.19 | 31.558 | 39.981 | 73.165 | 123.695 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064069 | 0.093464 | 0.10939 | 0.11871 | 0.12551 | 0.12918 | 0.13275 | 0.13701 | 0.14127 | 0.14291 | 0.13872 | 0.12712 | 0.11001 | 0.092555 | 0.082008 | 0.086463 | 0.11255 | 0.16228 | 0.23248 | 0.30958 | 0.37552 | 0.40433 | 0.37397 | 0.27639 | 0.10536 | 0.006866 | 0 | 0 | 0.082899 | 0.63041 | 1.6727 | 3.2941 | 5.4229 | 7.8148 | 10.0773 | 11.7742 | 12.5134 | 12.1078 | 10.6326 | 8.3745 | 5.8489 | 3.4636 | 1.6516 | 0.44777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_110_111 | 110 | 110 | 123-ABC | ACC2015 | malvern | Monday, November 23, 2015 1:54:41 PM | Monday, November 23, 2015 1:54:43 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.91 | 0.737 | 0.0572 | 1.149 | Volume | 77.113 | 0.37 | 0.192 | 31.204 | 39.729 | 72.964 | 123.536 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064918 | 0.094655 | 0.11076 | 0.12019 | 0.1271 | 0.13091 | 0.13468 | 0.13922 | 0.14381 | 0.1458 | 0.14191 | 0.1306 | 0.11383 | 0.096804 | 0.086842 | 0.092028 | 0.11894 | 0.16945 | 0.24021 | 0.31749 | 0.38309 | 0.4111 | 0.37971 | 0.28112 | 0.1107 | 0.007856 | 0 | 0 | 0.088014 | 0.65176 | 1.7012 | 3.3286 | 5.4576 | 7.8422 | 10.0895 | 11.7655 | 12.4826 | 12.0598 | 10.5769 | 8.3223 | 5.8091 | 3.4403 | 1.6432 | 0.44797 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_130_131 | 130 | 130 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 8:59:37 AM | Wednesday, November 18, 2015 8:59:39 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.68 | 0.982 | 0.0731 | 1.031 | Volume | 92.554 | 0.332 | 0.143 | 41.976 | 51.618 | 88.568 | 142.964 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049614 | 0.073108 | 0.07923 | 0.07965 | 0.083299 | 0.086772 | 0.093833 | 0.10371 | 0.11458 | 0.12274 | 0.1247 | 0.11849 | 0.10467 | 0.086553 | 0.070527 | 0.064735 | 0.077864 | 0.117 | 0.18312 | 0.27194 | 0.36595 | 0.44362 | 0.47425 | 0.42969 | 0.31466 | 0.062812 | 0 | 0 | 0 | 0.085862 | 0.6192 | 1.8311 | 3.8729 | 6.6261 | 9.667 | 12.2848 | 13.7922 | 13.7193 | 12.0727 | 9.363 | 6.2673 | 3.5544 | 1.5748 | 0.45783 | 0.015151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_130_131 | 130 | 130 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 9:00:19 AM | Wednesday, November 18, 2015 9:00:21 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.75 | 1 | 0.0737 | 1.024 | Volume | 92.334 | 0.33 | 0.143 | 42.043 | 51.718 | 88.465 | 142.315 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.048953 | 0.072236 | 0.078389 | 0.078993 | 0.082817 | 0.086541 | 0.093858 | 0.10396 | 0.11497 | 0.12316 | 0.12499 | 0.11851 | 0.10431 | 0.085763 | 0.069313 | 0.063171 | 0.076128 | 0.1154 | 0.18209 | 0.27204 | 0.36764 | 0.44717 | 0.47935 | 0.43531 | 0.31873 | 0.063576 | 0 | 0 | 0 | 0.070285 | 0.59427 | 1.8046 | 3.8583 | 6.6367 | 9.71 | 12.3553 | 13.8737 | 13.7889 | 12.1097 | 9.358 | 6.2248 | 3.4894 | 1.5101 | 0.40861 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_150_151 | 150 | 150 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 9:09:51 AM | Wednesday, November 18, 2015 9:09:52 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.28 | 0.901 | 0.0573 | 1.245 | Volume | 82.789 | 0.393 | 0.181 | 33.196 | 39.45 | 77.832 | 136.36 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.059468 | 0.086262 | 0.10033 | 0.10767 | 0.11271 | 0.11492 | 0.11767 | 0.12218 | 0.12824 | 0.13364 | 0.13495 | 0.12955 | 0.11729 | 0.1009 | 0.085622 | 0.078798 | 0.088137 | 0.1196 | 0.17602 | 0.25212 | 0.33782 | 0.41206 | 0.45389 | 0.44184 | 0.36738 | 0.24696 | 0.12494 | 0.084842 | 0.23651 | 0.69735 | 1.5719 | 2.8976 | 4.6332 | 6.6228 | 8.607 | 10.2797 | 11.3207 | 11.5192 | 10.8069 | 9.2824 | 7.2477 | 5.0042 | 2.9638 | 1.2868 | 0.18625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_150_151 | 150 | 150 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 9:10:32 AM | Wednesday, November 18, 2015 9:10:34 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.24 | 0.899 | 0.0569 | 1.245 | Volume | 82.566 | 0.393 | 0.181 | 33.085 | 39.284 | 77.678 | 135.999 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.059399 | 0.08633 | 0.1005 | 0.10795 | 0.11303 | 0.11529 | 0.11808 | 0.12262 | 0.12873 | 0.13417 | 0.13551 | 0.13012 | 0.1179 | 0.10161 | 0.08653 | 0.080022 | 0.089787 | 0.12172 | 0.17858 | 0.25496 | 0.34077 | 0.41497 | 0.4567 | 0.44469 | 0.37064 | 0.2512 | 0.13089 | 0.093201 | 0.24785 | 0.71182 | 1.5891 | 2.9164 | 4.6518 | 6.6391 | 8.6189 | 10.2858 | 11.3208 | 11.5137 | 10.7974 | 9.2677 | 7.2329 | 4.9729 | 2.9561 | 1.2191 | 0.17271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_170_171 | 170 | 170 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 9:24:59 AM | Wednesday, November 18, 2015 9:25:01 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.78 | 0.882 | 0.0567 | 1.252 | Volume | 80.447 | 0.395 | 0.191 | 31.396 | 37.678 | 76.004 | 132.828 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.063463 | 0.092132 | 0.10726 | 0.11528 | 0.12082 | 0.12334 | 0.12637 | 0.13118 | 0.13756 | 0.14322 | 0.14464 | 0.13928 | 0.12728 | 0.11173 | 0.09826 | 0.094476 | 0.10823 | 0.14528 | 0.2081 | 0.29053 | 0.38172 | 0.45959 | 0.50272 | 0.48975 | 0.41333 | 0.29222 | 0.1739 | 0.14503 | 0.31787 | 0.80946 | 1.7213 | 3.0837 | 4.8455 | 6.8403 | 8.7997 | 10.4136 | 11.3658 | 11.4554 | 10.6334 | 9.0123 | 6.9228 | 4.6434 | 2.6734 | 0.97538 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_170_171 | 170 | 170 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 9:25:41 AM | Wednesday, November 18, 2015 9:25:43 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.16 | 0.9 | 0.0535 | 1.252 | Volume | 80.524 | 0.395 | 0.191 | 31.345 | 37.728 | 76.083 | 132.964 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064303 | 0.093076 | 0.10814 | 0.11591 | 0.12122 | 0.12343 | 0.12616 | 0.13071 | 0.13697 | 0.14269 | 0.14438 | 0.13945 | 0.12789 | 0.11271 | 0.099428 | 0.095667 | 0.10934 | 0.14628 | 0.20908 | 0.29165 | 0.38313 | 0.46136 | 0.50477 | 0.4918 | 0.41485 | 0.29248 | 0.17204 | 0.14029 | 0.30974 | 0.798 | 1.7072 | 3.0681 | 4.8302 | 6.8267 | 8.7889 | 10.4065 | 11.3631 | 11.4577 | 10.6416 | 9.0268 | 6.9424 | 4.6649 | 2.6896 | 0.97941 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_190_191 | 190 | 190 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 9:34:41 AM | Wednesday, November 18, 2015 9:34:43 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.88 | 0.918 | 0.0546 | 1.262 | Volume | 79.856 | 0.399 | 0.201 | 29.902 | 36.843 | 75.565 | 132.175 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071039 | 0.09923 | 0.11602 | 0.12585 | 0.13144 | 0.13464 | 0.13813 | 0.14363 | 0.15094 | 0.15782 | 0.16064 | 0.15666 | 0.14567 | 0.13041 | 0.11614 | 0.11025 | 0.12053 | 0.15295 | 0.21039 | 0.28761 | 0.3747 | 0.45086 | 0.49572 | 0.48848 | 0.42183 | 0.31327 | 0.20867 | 0.19196 | 0.37304 | 0.86683 | 1.7739 | 3.1248 | 4.8702 | 6.8459 | 8.786 | 10.3823 | 11.3202 | 11.399 | 10.5697 | 8.9448 | 6.8525 | 4.5761 | 2.5972 | 0.91204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_190_191 | 190 | 190 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 9:35:23 AM | Wednesday, November 18, 2015 9:35:25 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.13 | 0.923 | 0.0561 | 1.257 | Volume | 79.982 | 0.397 | 0.2 | 30.05 | 37.029 | 75.734 | 132.192 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.069098 | 0.099893 | 0.11616 | 0.12484 | 0.13096 | 0.13377 | 0.13709 | 0.14235 | 0.1495 | 0.1563 | 0.15915 | 0.15527 | 0.14435 | 0.12905 | 0.11455 | 0.10823 | 0.1179 | 0.14971 | 0.20672 | 0.28394 | 0.37165 | 0.4491 | 0.49578 | 0.49041 | 0.42507 | 0.31642 | 0.20954 | 0.18793 | 0.36155 | 0.84639 | 1.7448 | 3.0899 | 4.8349 | 6.8173 | 8.7715 | 10.3873 | 11.3459 | 11.4416 | 10.6207 | 8.9934 | 6.8881 | 4.5932 | 2.5921 | 0.89674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_210_211 | 210 | 210 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 9:47:44 AM | Wednesday, November 18, 2015 9:47:46 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.55 | 0.777 | 0.0668 | 1.131 | Volume | 80.11 | 0.361 | 0.188 | 31.862 | 41.309 | 76.406 | 127.693 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.062457 | 0.091026 | 0.10627 | 0.11472 | 0.12076 | 0.12404 | 0.12802 | 0.13392 | 0.14129 | 0.14752 | 0.14877 | 0.14231 | 0.12838 | 0.11062 | 0.095339 | 0.090937 | 0.10578 | 0.14558 | 0.21201 | 0.29708 | 0.38728 | 0.45746 | 0.48301 | 0.44122 | 0.32689 | 0.1544 | 0.019988 | 0 | 0.039948 | 0.37343 | 1.1606 | 2.5242 | 4.4801 | 6.8599 | 9.3086 | 11.3672 | 12.5556 | 12.5741 | 11.3867 | 9.2283 | 6.6231 | 4.034 | 1.9938 | 0.57344 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_210_211 | 210 | 210 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 9:48:25 AM | Wednesday, November 18, 2015 9:48:27 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.37 | 0.79 | 0.0659 | 1.131 | Volume | 80.12 | 0.361 | 0.188 | 31.853 | 41.305 | 76.42 | 127.715 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.062299 | 0.090864 | 0.10614 | 0.11467 | 0.1208 | 0.12418 | 0.12825 | 0.1342 | 0.14159 | 0.1478 | 0.14903 | 0.14256 | 0.12865 | 0.11092 | 0.095683 | 0.091306 | 0.10616 | 0.14597 | 0.21243 | 0.29755 | 0.38779 | 0.458 | 0.48355 | 0.44173 | 0.32733 | 0.15477 | 0.020068 | 0 | 0.039856 | 0.3729 | 1.1595 | 2.5222 | 4.4771 | 6.8557 | 9.3034 | 11.362 | 12.5516 | 12.573 | 11.389 | 9.2335 | 6.6295 | 4.0394 | 1.9955 | 0.57162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_230_231 | 230 | 230 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 9:58:32 AM | Wednesday, November 18, 2015 9:58:34 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.23 | 0.939 | 0.0793 | 1.039 | Volume | 98.205 | 0.337 | 0.138 | 43.506 | 54.283 | 94.119 | 152.038 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.045901 | 0.067844 | 0.073736 | 0.074555 | 0.078593 | 0.082915 | 0.091132 | 0.10256 | 0.11546 | 0.12613 | 0.13092 | 0.12752 | 0.11587 | 0.098604 | 0.081443 | 0.072089 | 0.079336 | 0.1109 | 0.16942 | 0.25262 | 0.34554 | 0.42872 | 0.47173 | 0.44724 | 0.34635 | 0.15276 | 0.015516 | 0 | 0 | 0.032035 | 0.38296 | 1.2845 | 2.9401 | 5.3587 | 8.2765 | 11.1041 | 13.164 | 13.842 | 12.9239 | 10.6811 | 7.6869 | 4.7418 | 2.3535 | 0.82615 | 0.096342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_230_231 | 230 | 230 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 9:59:14 AM | Wednesday, November 18, 2015 9:59:15 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.78 | 0.945 | 0.0748 | 1.123 | Volume | 98.741 | 0.361 | 0.141 | 42.698 | 51.78 | 93.685 | 156.98 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.047007 | 0.069358 | 0.07531 | 0.076117 | 0.080327 | 0.084902 | 0.093528 | 0.10546 | 0.11888 | 0.12998 | 0.13505 | 0.13175 | 0.12008 | 0.10275 | 0.085545 | 0.076234 | 0.083635 | 0.11545 | 0.17424 | 0.25767 | 0.35073 | 0.43392 | 0.4768 | 0.45211 | 0.35067 | 0.15748 | 0.016899 | 0 | 0 | 0.080819 | 0.65175 | 1.774 | 3.5304 | 5.8145 | 8.3447 | 10.652 | 12.2665 | 12.7819 | 12.0621 | 10.2819 | 7.8076 | 5.2168 | 2.9016 | 1.2185 | 0.21305 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_250_251 | 250 | 250 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 10:09:09 AM | Wednesday, November 18, 2015 10:09:11 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.1 | 0.811 | 0.0669 | 1.141 | Volume | 91.293 | 0.365 | 0.148 | 40.477 | 47.136 | 86.385 | 145.734 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.052345 | 0.078739 | 0.086648 | 0.088651 | 0.093054 | 0.096447 | 0.10236 | 0.10996 | 0.11749 | 0.12172 | 0.11995 | 0.1114 | 0.097697 | 0.082756 | 0.072654 | 0.074256 | 0.093735 | 0.13501 | 0.19566 | 0.26877 | 0.33708 | 0.38165 | 0.38026 | 0.31786 | 0.20549 | 0.037381 | 0 | 0.004934 | 0.13372 | 0.59268 | 1.5074 | 2.98 | 4.9792 | 7.3085 | 9.6294 | 11.4815 | 12.4668 | 12.318 | 11.032 | 8.9068 | 6.3519 | 3.9149 | 1.9259 | 0.60754 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_250_251 | 250 | 250 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 10:09:50 AM | Wednesday, November 18, 2015 10:09:52 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.37 | 0.816 | 0.0689 | 1.144 | Volume | 91.432 | 0.365 | 0.148 | 40.661 | 47.159 | 86.468 | 146.057 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.051532 | 0.077676 | 0.085602 | 0.087738 | 0.092207 | 0.095714 | 0.10172 | 0.10937 | 0.1169 | 0.12105 | 0.11917 | 0.11049 | 0.096734 | 0.081835 | 0.071878 | 0.073688 | 0.09336 | 0.13473 | 0.19531 | 0.26816 | 0.33604 | 0.38013 | 0.37834 | 0.31586 | 0.20373 | 0.037006 | 0 | 0.005383 | 0.13592 | 0.59579 | 1.5102 | 2.9801 | 4.9742 | 7.2966 | 9.6106 | 11.4584 | 12.4442 | 12.3015 | 11.0264 | 8.914 | 6.3716 | 3.9426 | 1.9592 | 0.63744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_270_271 | 270 | 270 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 10:18:06 AM | Wednesday, November 18, 2015 10:18:08 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.39 | 0.461 | 0.0182 | 2.94 | Volume | 53.97 | 0.969 | 0.809 | 7.418 | 2.82 | 41.775 | 125.635 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006281 | 0.10098 | 0.22949 | 0.34079 | 0.42897 | 0.49972 | 0.55297 | 0.59667 | 0.64121 | 0.69643 | 0.77075 | 0.86394 | 0.97007 | 1.0768 | 1.1751 | 1.2617 | 1.3389 | 1.4124 | 1.4894 | 1.5783 | 1.6822 | 1.8025 | 1.9303 | 2.0564 | 2.162 | 2.2347 | 2.2613 | 2.2411 | 2.1861 | 2.1216 | 2.0868 | 2.1254 | 2.279 | 2.5793 | 3.0313 | 3.613 | 4.2664 | 4.903 | 5.4227 | 5.7214 | 5.7257 | 5.405 | 4.7784 | 3.9405 | 2.9901 | 2.0783 | 1.2804 | 0.68361 | 0.29013 | 0.082365 | 0.008181 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_270_271 | 270 | 270 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 10:18:48 AM | Wednesday, November 18, 2015 10:18:50 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.87 | 0.417 | 0.0186 | 3.028 | Volume | 52.735 | 0.995 | 0.812 | 7.386 | 2.803 | 40.01 | 123.955 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005648 | 0.091567 | 0.22052 | 0.33272 | 0.42225 | 0.49473 | 0.54998 | 0.59591 | 0.64301 | 0.7011 | 0.77865 | 0.87529 | 0.9849 | 1.0949 | 1.1962 | 1.2855 | 1.3653 | 1.4416 | 1.5218 | 1.6143 | 1.7219 | 1.8461 | 1.9776 | 2.1071 | 2.2158 | 2.2913 | 2.3207 | 2.3035 | 2.252 | 2.1913 | 2.1598 | 2.2 | 2.3518 | 2.6443 | 3.0808 | 3.638 | 4.2586 | 4.8575 | 5.3392 | 5.6056 | 5.589 | 5.2627 | 4.6464 | 3.8315 | 2.9104 | 2.0259 | 1.2452 | 0.65295 | 0.25162 | 0.005605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_290_291 | 290 | 290 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 10:26:24 AM | Wednesday, November 18, 2015 10:26:26 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.45 | 0.64 | 0.0514 | 1.456 | Volume | 72.899 | 0.454 | 0.242 | 24.753 | 27.837 | 67.772 | 126.485 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.08329 | 0.11861 | 0.1416 | 0.15572 | 0.16465 | 0.17 | 0.17483 | 0.18111 | 0.18895 | 0.19656 | 0.20113 | 0.20132 | 0.19852 | 0.19644 | 0.19994 | 0.21398 | 0.24233 | 0.28524 | 0.34006 | 0.39784 | 0.44852 | 0.47899 | 0.48201 | 0.45917 | 0.42754 | 0.42534 | 0.51134 | 0.75673 | 1.2416 | 2.019 | 3.1188 | 4.4982 | 6.0583 | 7.6277 | 8.988 | 9.924 | 10.2501 | 9.8782 | 8.8455 | 7.2836 | 5.473 | 3.6325 | 2.0914 | 0.86069 | 0.16753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_290_291 | 290 | 290 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 10:27:06 AM | Wednesday, November 18, 2015 10:27:08 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.9 | 0.631 | 0.0476 | 1.46 | Volume | 72.655 | 0.454 | 0.254 | 23.593 | 27.33 | 67.697 | 126.184 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055599 | 0.092825 | 0.12126 | 0.14399 | 0.15806 | 0.16674 | 0.17217 | 0.17737 | 0.18443 | 0.19342 | 0.20242 | 0.20843 | 0.20987 | 0.20799 | 0.20641 | 0.21004 | 0.22395 | 0.25213 | 0.29506 | 0.35024 | 0.40879 | 0.4606 | 0.49227 | 0.49616 | 0.4733 | 0.44019 | 0.43469 | 0.51535 | 0.75367 | 1.2303 | 1.9993 | 3.092 | 4.4668 | 6.026 | 7.5985 | 8.9659 | 9.9113 | 10.2469 | 9.8827 | 8.8539 | 7.2912 | 5.4758 | 3.6262 | 2.0747 | 0.8283 | 0.12272 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_296_297 | 296 | 296 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 10:37:45 AM | Wednesday, November 18, 2015 10:37:47 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.55 | 0.65 | 0.0447 | 1.514 | Volume | 74.332 | 0.468 | 0.263 | 22.821 | 25.666 | 69.193 | 130.393 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.059336 | 0.097653 | 0.12693 | 0.15018 | 0.16467 | 0.17369 | 0.17959 | 0.18555 | 0.19388 | 0.20474 | 0.21627 | 0.22531 | 0.23 | 0.23117 | 0.23193 | 0.23679 | 0.25066 | 0.27781 | 0.31946 | 0.37432 | 0.43492 | 0.49251 | 0.53406 | 0.55143 | 0.54254 | 0.5195 | 0.51348 | 0.57604 | 0.77334 | 1.1831 | 1.8637 | 2.8551 | 4.1323 | 5.6165 | 7.1557 | 8.5448 | 9.5708 | 10.0367 | 9.8335 | 8.966 | 7.5407 | 5.8088 | 3.9973 | 2.3979 | 1.1302 | 0.29903 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_C9_296_297 | 296 | 296 | 123-ABC | ACC2015 | malvern | Wednesday, November 18, 2015 10:38:26 AM | Wednesday, November 18, 2015 10:38:28 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.4 | 0.651 | 0.0442 | 1.526 | Volume | 74.654 | 0.471 | 0.262 | 22.858 | 25.39 | 69.417 | 131.333 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.058454 | 0.096578 | 0.12572 | 0.14894 | 0.16345 | 0.17254 | 0.17854 | 0.18462 | 0.19312 | 0.20423 | 0.21616 | 0.22581 | 0.23131 | 0.23335 | 0.23493 | 0.24039 | 0.25457 | 0.2817 | 0.32304 | 0.37742 | 0.43757 | 0.49503 | 0.53709 | 0.55595 | 0.54962 | 0.5301 | 0.52786 | 0.59334 | 0.79108 | 1.1971 | 1.8683 | 2.8443 | 4.1011 | 5.5629 | 7.0819 | 8.4583 | 9.4835 | 9.9627 | 9.7868 | 8.9558 | 7.5701 | 5.8717 | 4.0805 | 2.4821 | 1.1973 | 0.33303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0