## Sheet1
Sample Name | Sample source type | depth corret | Sample bulk lot ref | SOP Name | Operator name | Measurement date and time | Analysis date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Dispersant refractive index | Accessory name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Residual | Concentration | Span | Result transform type | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | Result Between User Sizes (Sizes in um) | [100 empty] | Operator Notes
[30 empty] | 0.01 | 0.011482 | 0.013183 | 0.015136 | 0.017378 | 0.019953 | 0.022909 | 0.026303 | 0.0302 | 0.034674 | 0.039811 | 0.045709 | 0.052481 | 0.060256 | 0.069183 | 0.079433 | 0.091201 | 0.10471 | 0.12023 | 0.13804 | 0.15849 | 0.18197 | 0.20893 | 0.23988 | 0.27542 | 0.31623 | 0.36308 | 0.41687 | 0.47863 | 0.54954 | 0.63096 | 0.72444 | 0.83176 | 0.95499 | 1.0965 | 1.2589 | 1.4454 | 1.6596 | 1.9055 | 2.1878 | 2.5119 | 2.884 | 3.3113 | 3.8019 | 4.3652 | 5.0119 | 5.7544 | 6.6069 | 7.5858 | 8.7096 | 10 | 11.4815 | 13.1826 | 15.1356 | 17.378 | 19.9526 | 22.9087 | 26.3027 | 30.1995 | 34.6737 | 39.8107 | 45.7088 | 52.4807 | 60.256 | 69.1831 | 79.4328 | 91.2011 | 104.7129 | 120.2264 | 138.0384 | 158.4893 | 181.9701 | 208.9296 | 239.8833 | 275.4229 | 316.2278 | 363.0781 | 416.8694 | 478.6301 | 549.5409 | 630.9573 | 724.436 | 831.7638 | 954.9926 | 1096.4782 | 1258.9254 | 1445.4398 | 1659.5869 | 1905.4607 | 2187.7616 | 2511.8864 | 2884.0315 | 3311.3112 | 3801.894 | 4365.1583 | 5011.8723 | 5754.3994 | 6606.9345 | 7585.7757 | 8709.6359 | 10000
depth correct
ACC2015_1_LB1_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 1:44:50 PM | Tuesday, November 24, 2015 1:44:52 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 18.13 | 0.452 | 0.0351 | 2.052 | Volume | 44.66 | 0.622 | 0.503 | 11.923 | 7.339 | 39.194 | 87.761 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13961 | 0.21001 | 0.2745 | 0.3155 | 0.34348 | 0.35693 | 0.36319 | 0.36815 | 0.37785 | 0.39508 | 0.41953 | 0.44849 | 0.48051 | 0.5165 | 0.55842 | 0.60803 | 0.66596 | 0.73272 | 0.80628 | 0.88692 | 0.97382 | 1.0744 | 1.1981 | 1.3694 | 1.6108 | 1.9612 | 2.4396 | 3.0729 | 3.8414 | 4.721 | 5.6321 | 6.491 | 7.1862 | 7.6217 | 7.7226 | 7.4559 | 6.8349 | 5.9271 | 4.819 | 3.6439 | 2.5043 | 1.5257 | 0.77945 | 0.27306 | 0.052577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 1:45:32 PM | Tuesday, November 24, 2015 1:45:34 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 17.99 | 0.497 | 0.035 | 2.052 | Volume | 44.661 | 0.623 | 0.5 | 12.006 | 7.387 | 39.173 | 87.759 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13393 | 0.20405 | 0.26875 | 0.31014 | 0.33883 | 0.35313 | 0.3603 | 0.36606 | 0.37632 | 0.39382 | 0.41823 | 0.44691 | 0.47857 | 0.51426 | 0.55605 | 0.60584 | 0.66434 | 0.73208 | 0.80699 | 0.88927 | 0.97789 | 1.0801 | 1.2051 | 1.3773 | 1.619 | 1.9692 | 2.4471 | 3.0798 | 3.8477 | 4.7268 | 5.6372 | 6.495 | 7.1884 | 7.6215 | 7.7197 | 7.4506 | 6.828 | 5.9196 | 4.812 | 3.6383 | 2.5007 | 1.5246 | 0.78087 | 0.27756 | 0.058034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_10_12 | 10 | 10 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 2:01:04 PM | Tuesday, November 24, 2015 2:01:06 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.19 | 0.322 | 0.0225 | 2.09 | Volume | 40.754 | 0.631 | 0.553 | 10.848 | 6.238 | 35.678 | 80.812 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15361 | 0.23164 | 0.30337 | 0.34934 | 0.38132 | 0.39763 | 0.4065 | 0.41442 | 0.42808 | 0.45043 | 0.48092 | 0.51613 | 0.55391 | 0.59458 | 0.63966 | 0.69072 | 0.74855 | 0.81441 | 0.88776 | 0.97123 | 1.067 | 1.1863 | 1.3412 | 1.5593 | 1.861 | 2.2829 | 2.8337 | 3.5299 | 4.3357 | 5.213 | 6.0707 | 6.8199 | 7.3543 | 7.592 | 7.4808 | 7.0159 | 6.2365 | 5.2322 | 4.0975 | 2.9669 | 1.915 | 1.0872 | 0.4082 | 0.098677 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_10_12 | 10 | 10 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 2:01:46 PM | Tuesday, November 24, 2015 2:01:48 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.05 | 0.322 | 0.0222 | 2.094 | Volume | 40.373 | 0.634 | 0.555 | 10.813 | 6.177 | 35.282 | 80.067 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15059 | 0.22892 | 0.30122 | 0.34772 | 0.38036 | 0.39735 | 0.40692 | 0.41551 | 0.42983 | 0.45281 | 0.48397 | 0.51992 | 0.55859 | 0.60036 | 0.64674 | 0.69926 | 0.75862 | 0.82603 | 0.90089 | 0.98588 | 1.0832 | 1.2045 | 1.362 | 1.5839 | 1.8908 | 2.3197 | 2.8792 | 3.5847 | 4.3988 | 5.2811 | 6.1377 | 6.877 | 7.3916 | 7.5996 | 7.4522 | 6.95 | 6.1389 | 5.1154 | 3.9784 | 2.8628 | 1.8414 | 1.0478 | 0.41152 | 0.11601 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_20_21 | 20 | 20 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 1:52:41 PM | Tuesday, November 24, 2015 1:52:43 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 23.22 | 0.36 | 0.0397 | 2.169 | Volume | 43.835 | 0.662 | 0.596 | 10.07 | 5.303 | 38.342 | 88.474 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.078685 | 0.17466 | 0.26162 | 0.32919 | 0.38047 | 0.41356 | 0.4332 | 0.44558 | 0.45791 | 0.47643 | 0.50348 | 0.53778 | 0.57548 | 0.61495 | 0.6581 | 0.70858 | 0.7699 | 0.84364 | 0.93021 | 1.0252 | 1.1252 | 1.2233 | 1.3203 | 1.4197 | 1.541 | 1.7077 | 1.9605 | 2.3291 | 2.8497 | 3.5179 | 4.3197 | 5.1846 | 6.0313 | 6.7464 | 7.2277 | 7.3922 | 7.1983 | 6.6526 | 5.816 | 4.7717 | 3.6483 | 2.5464 | 1.5883 | 0.84694 | 0.32863 | 0.087942 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_20_21 | 20 | 20 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 1:53:23 PM | Tuesday, November 24, 2015 1:53:25 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 23.18 | 0.37 | 0.0394 | 2.181 | Volume | 43.487 | 0.667 | 0.598 | 10.026 | 5.228 | 37.935 | 87.956 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073984 | 0.17118 | 0.25903 | 0.32752 | 0.3798 | 0.41391 | 0.43459 | 0.44806 | 0.4615 | 0.48122 | 0.50951 | 0.54513 | 0.58415 | 0.62494 | 0.66936 | 0.72104 | 0.78344 | 0.85816 | 0.94566 | 1.0416 | 1.1428 | 1.2423 | 1.3415 | 1.444 | 1.5695 | 1.7413 | 1.9995 | 2.373 | 2.8968 | 3.565 | 4.3623 | 5.2174 | 6.0489 | 6.7446 | 7.2044 | 7.3478 | 7.1364 | 6.5789 | 5.7375 | 4.6954 | 3.5802 | 2.4916 | 1.5506 | 0.82737 | 0.32899 | 0.098121 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_60_61 | 60 | 24 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 2:08:45 PM | Tuesday, November 24, 2015 2:08:47 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.79 | 0.31 | 0.0233 | 2.273 | Volume | 33.817 | 0.701 | 0.698 | 8.592 | 4.172 | 28.87 | 69.802 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.069112 | 0.18682 | 0.2912 | 0.37193 | 0.43327 | 0.47279 | 0.49647 | 0.51199 | 0.52839 | 0.55375 | 0.59139 | 0.64035 | 0.69596 | 0.75569 | 0.82047 | 0.89311 | 0.97667 | 1.0729 | 1.1841 | 1.3086 | 1.4486 | 1.6028 | 1.7808 | 1.9894 | 2.2539 | 2.5884 | 3.024 | 3.5608 | 4.2044 | 4.909 | 5.6254 | 6.2612 | 6.7311 | 6.9492 | 6.8617 | 6.4546 | 5.7624 | 4.8549 | 3.84 | 2.8114 | 1.8801 | 1.0922 | 0.53331 | 0.12543 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_60_61 | 60 | 24 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 2:09:26 PM | Tuesday, November 24, 2015 2:09:28 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.47 | 0.34 | 0.023 | 2.291 | Volume | 33.712 | 0.707 | 0.685 | 8.764 | 4.223 | 28.603 | 69.763 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18145 | 0.27662 | 0.3649 | 0.42248 | 0.46431 | 0.48851 | 0.50555 | 0.52339 | 0.55034 | 0.5896 | 0.64028 | 0.69779 | 0.75967 | 0.82682 | 0.90202 | 0.98833 | 1.0875 | 1.2018 | 1.3298 | 1.4738 | 1.6326 | 1.8161 | 2.0309 | 2.3021 | 2.6426 | 3.0823 | 3.6197 | 4.2586 | 4.9523 | 5.651 | 6.2636 | 6.707 | 6.8989 | 6.7895 | 6.3688 | 5.6737 | 4.7747 | 3.7783 | 2.7748 | 1.8719 | 1.1065 | 0.57617 | 0.15289 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_74_76 | 74 | 38 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 2:16:45 PM | Tuesday, November 24, 2015 2:16:47 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 20.18 | 0.863 | 0.0119 | 4.434 | Volume | 14.648 | 1.42 | 1.66 | 3.615 | 1.416 | 7.799 | 35.993 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007348 | 0.27343 | 0.496 | 0.69749 | 0.87518 | 1.0165 | 1.1356 | 1.2404 | 1.3532 | 1.4913 | 1.672 | 1.8947 | 2.1488 | 2.4103 | 2.6631 | 2.9016 | 3.1293 | 3.3542 | 3.5832 | 3.8237 | 4.0695 | 4.3119 | 4.5236 | 4.6799 | 4.7479 | 4.7067 | 4.5473 | 4.2716 | 3.9101 | 3.4918 | 3.0658 | 2.662 | 2.3123 | 2.0254 | 1.8008 | 1.622 | 1.4673 | 1.3148 | 1.1486 | 0.96654 | 0.77165 | 0.57833 | 0.39603 | 0.24827 | 0.13079 | 0.061524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_74_76 | 74 | 38 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 2:17:26 PM | Tuesday, November 24, 2015 2:17:28 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 20.02 | 0.945 | 0.0118 | 4.36 | Volume | 14.422 | 1.4 | 1.65 | 3.626 | 1.426 | 7.769 | 35.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006996 | 0.26285 | 0.48528 | 0.68657 | 0.86418 | 1.0061 | 1.126 | 1.2319 | 1.346 | 1.4855 | 1.6678 | 1.8921 | 2.1482 | 2.4123 | 2.6685 | 2.9111 | 3.1436 | 3.3738 | 3.6081 | 3.8536 | 4.1034 | 4.3485 | 4.5611 | 4.7163 | 4.7816 | 4.7361 | 4.572 | 4.2915 | 3.9258 | 3.5034 | 3.0725 | 2.6616 | 2.3019 | 2.0023 | 1.7648 | 1.5773 | 1.422 | 1.2791 | 1.1307 | 0.96815 | 0.78812 | 0.59401 | 0.41043 | 0.2189 | 0.087913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_80_81 | 80 | 44 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 4:58:02 PM | Tuesday, November 24, 2015 4:58:04 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.09 | 0.597 | 0.0272 | 2.077 | Volume | 44.741 | 0.634 | 0.566 | 10.597 | 5.489 | 40.112 | 88.813 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15475 | 0.23313 | 0.30631 | 0.35536 | 0.39242 | 0.41581 | 0.43365 | 0.45153 | 0.47501 | 0.50521 | 0.54008 | 0.57541 | 0.61011 | 0.64767 | 0.69418 | 0.75588 | 0.83659 | 0.93769 | 1.0532 | 1.1757 | 1.2909 | 1.3908 | 1.4699 | 1.5407 | 1.6274 | 1.7762 | 2.0359 | 2.4641 | 3.0839 | 3.9017 | 4.8557 | 5.8573 | 6.7663 | 7.4432 | 7.7646 | 7.6585 | 7.1199 | 6.2183 | 5.0613 | 3.8116 | 2.5977 | 1.5659 | 0.79162 | 0.28572 | 0.071097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_80_81 | 80 | 44 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 4:58:44 PM | Tuesday, November 24, 2015 4:58:45 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.82 | 0.628 | 0.0285 | 2.098 | Volume | 44.866 | 0.643 | 0.566 | 10.602 | 5.44 | 40.028 | 89.437 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14777 | 0.2265 | 0.30073 | 0.35083 | 0.38924 | 0.41407 | 0.43351 | 0.45311 | 0.47843 | 0.51046 | 0.54701 | 0.58372 | 0.61945 | 0.65774 | 0.70478 | 0.76696 | 0.84822 | 0.95012 | 1.0668 | 1.1911 | 1.3086 | 1.4114 | 1.4935 | 1.567 | 1.6552 | 1.8033 | 2.0592 | 2.4794 | 3.087 | 3.8885 | 4.8237 | 5.806 | 6.6982 | 7.3638 | 7.6819 | 7.582 | 7.0588 | 6.1802 | 5.0502 | 3.8268 | 2.6347 | 1.6162 | 0.84631 | 0.3337 | 0.10371 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_100_102 | 100 | 64 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 5:05:42 PM | Tuesday, November 24, 2015 5:05:44 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.13 | 0.432 | 0.0192 | 1.905 | Volume | 44.69 | 0.563 | 0.538 | 11.155 | 5.814 | 41.592 | 85.038 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13997 | 0.21593 | 0.28791 | 0.3368 | 0.37457 | 0.39905 | 0.41779 | 0.43568 | 0.45779 | 0.48516 | 0.51615 | 0.54758 | 0.57959 | 0.61654 | 0.66454 | 0.7285 | 0.80945 | 0.90469 | 1.0036 | 1.0936 | 1.1578 | 1.1871 | 1.1821 | 1.1632 | 1.1733 | 1.2766 | 1.5445 | 2.0517 | 2.827 | 3.8713 | 5.0949 | 6.3719 | 7.5121 | 8.3326 | 8.681 | 8.4806 | 7.7468 | 6.5923 | 5.1691 | 3.6965 | 2.3028 | 1.2414 | 0.32868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_100_102 | 100 | 64 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 5:06:24 PM | Tuesday, November 24, 2015 5:06:26 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.97 | 0.442 | 0.0189 | 1.902 | Volume | 44.376 | 0.564 | 0.538 | 11.145 | 5.766 | 41.35 | 84.429 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13494 | 0.2111 | 0.28369 | 0.33319 | 0.37187 | 0.39739 | 0.41732 | 0.43647 | 0.45986 | 0.48843 | 0.52053 | 0.55294 | 0.58585 | 0.6237 | 0.67268 | 0.73786 | 0.82037 | 0.91761 | 1.0189 | 1.1115 | 1.1783 | 1.2096 | 1.2058 | 1.187 | 1.1961 | 1.2976 | 1.5634 | 2.0687 | 2.843 | 3.8876 | 5.1128 | 6.3917 | 7.5327 | 8.3508 | 8.6916 | 8.4774 | 7.7241 | 6.5478 | 5.1054 | 3.6212 | 2.2302 | 1.1775 | 0.30366 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_120_121 | 120 | 84 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 5:14:44 PM | Tuesday, November 24, 2015 5:14:46 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.59 | 0.485 | 0.0329 | 1.245 | Volume | 48.393 | 0.399 | 0.299 | 20.067 | 23.228 | 45.416 | 79.76 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.054849 | 0.1002 | 0.13681 | 0.16959 | 0.19041 | 0.20234 | 0.20496 | 0.20049 | 0.191 | 0.17894 | 0.16657 | 0.15735 | 0.15661 | 0.17103 | 0.2053 | 0.2593 | 0.32572 | 0.39099 | 0.43427 | 0.43451 | 0.37657 | 0.26007 | 0.11664 | 0 | 0 | 0.12763 | 0.5289 | 1.3203 | 2.5867 | 4.3315 | 6.3851 | 8.491 | 10.2788 | 11.4096 | 11.6426 | 10.921 | 9.3809 | 7.3304 | 5.1158 | 3.0914 | 1.53 | 0.40593 | 0.037761 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_120_121 | 120 | 84 | 123-ABC | ACC2015 | malvern | Tuesday, November 24, 2015 5:15:26 PM | Tuesday, November 24, 2015 5:15:28 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.42 | 0.483 | 0.0325 | 1.251 | Volume | 48.468 | 0.401 | 0.298 | 20.159 | 23.185 | 45.432 | 79.999 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053881 | 0.098914 | 0.13526 | 0.16786 | 0.18856 | 0.20046 | 0.20309 | 0.19866 | 0.18924 | 0.17727 | 0.16501 | 0.15594 | 0.15538 | 0.16993 | 0.20422 | 0.25804 | 0.32404 | 0.38875 | 0.4315 | 0.43177 | 0.37438 | 0.26048 | 0.11997 | 0 | 0.013209 | 0.14974 | 0.54142 | 1.3372 | 2.6013 | 4.3398 | 6.3824 | 8.4746 | 10.2492 | 11.3708 | 11.6016 | 10.886 | 9.3598 | 7.3277 | 5.1321 | 3.1218 | 1.5679 | 0.43739 | 0.053392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_140_142 | 140 | 104 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 9:08:39 AM | Wednesday, November 25, 2015 9:08:41 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.57 | 0.484 | 0.0466 | 1.274 | Volume | 50.1 | 0.408 | 0.298 | 20.155 | 23.688 | 46.727 | 83.235 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.058513 | 0.1035 | 0.13994 | 0.1723 | 0.19307 | 0.20502 | 0.20789 | 0.20385 | 0.19492 | 0.18336 | 0.17119 | 0.16154 | 0.15948 | 0.17155 | 0.20258 | 0.25296 | 0.31624 | 0.37989 | 0.424 | 0.42811 | 0.37616 | 0.26648 | 0.12569 | 0 | 0 | 0.10301 | 0.45588 | 1.1797 | 2.3591 | 4.0106 | 5.9858 | 8.0511 | 9.857 | 11.0751 | 11.4591 | 10.9299 | 9.59 | 7.7087 | 5.5972 | 3.6107 | 1.9576 | 0.82218 | 0.14918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_140_142 | 140 | 104 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 9:09:20 AM | Wednesday, November 25, 2015 9:09:22 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.31 | 0.484 | 0.0461 | 1.279 | Volume | 50.262 | 0.409 | 0.295 | 20.349 | 23.728 | 46.819 | 83.597 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05659 | 0.10107 | 0.13708 | 0.16917 | 0.18974 | 0.20164 | 0.20456 | 0.20062 | 0.19181 | 0.18037 | 0.16829 | 0.15873 | 0.15673 | 0.16882 | 0.19982 | 0.25008 | 0.3132 | 0.37676 | 0.42102 | 0.42575 | 0.3749 | 0.26726 | 0.12867 | 0 | 0 | 0.10659 | 0.46129 | 1.1836 | 2.359 | 4.0035 | 5.9696 | 8.0257 | 9.8248 | 11.0412 | 11.4301 | 10.9122 | 9.5882 | 7.724 | 5.6278 | 3.6528 | 2.0028 | 0.87175 | 0.17246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_155_156 | 155 | 119 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 9:16:34 AM | Wednesday, November 25, 2015 9:16:35 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 20.48 | 0.491 | 0.0719 | 1.202 | Volume | 51.42 | 0.382 | 0.282 | 21.29 | 25.259 | 48.609 | 83.67 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.056884 | 0.099454 | 0.13389 | 0.16425 | 0.18367 | 0.19474 | 0.19735 | 0.19343 | 0.18454 | 0.17213 | 0.15701 | 0.14122 | 0.12918 | 0.12804 | 0.14483 | 0.18356 | 0.24241 | 0.31327 | 0.37904 | 0.41907 | 0.41165 | 0.34375 | 0.22617 | 0.095263 | 0.003391 | 0.048869 | 0.27309 | 0.81532 | 1.8055 | 3.317 | 5.2708 | 7.478 | 9.5857 | 11.2058 | 11.9869 | 11.7376 | 10.4879 | 8.4972 | 6.1386 | 3.8387 | 1.9815 | 0.56379 | 0.069436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_155_156 | 155 | 119 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 9:17:15 AM | Wednesday, November 25, 2015 9:17:17 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 20.19 | 0.501 | 0.0711 | 1.201 | Volume | 51.441 | 0.381 | 0.28 | 21.402 | 25.264 | 48.645 | 83.675 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055758 | 0.097994 | 0.13216 | 0.16234 | 0.18165 | 0.19273 | 0.19539 | 0.19157 | 0.18278 | 0.17045 | 0.15538 | 0.13963 | 0.1276 | 0.12645 | 0.1432 | 0.1819 | 0.24081 | 0.31195 | 0.37839 | 0.4196 | 0.41404 | 0.34839 | 0.23349 | 0.10519 | 0.003957 | 0.052177 | 0.27759 | 0.81664 | 1.8023 | 3.3077 | 5.2562 | 7.4609 | 9.5707 | 11.1979 | 11.9894 | 11.7505 | 10.5073 | 8.5169 | 6.1526 | 3.8441 | 1.9791 | 0.55867 | 0.066498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_160_161 | 160 | 124 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 9:40:59 AM | Wednesday, November 25, 2015 9:41:00 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.41 | 0.409 | 0.0122 | 4.896 | Volume | 45.629 | 1.58 | 1.04 | 5.75 | 2.118 | 23.866 | 118.962 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009214 | 0.14677 | 0.31124 | 0.45397 | 0.56758 | 0.65944 | 0.72992 | 0.7891 | 0.85027 | 0.92567 | 1.026 | 1.1509 | 1.2934 | 1.4383 | 1.5755 | 1.7013 | 1.818 | 1.9305 | 2.0439 | 2.1639 | 2.2892 | 2.4173 | 2.5356 | 2.6335 | 2.6945 | 2.71 | 2.6761 | 2.5976 | 2.4931 | 2.3856 | 2.3068 | 2.2841 | 2.3416 | 2.494 | 2.7415 | 3.0699 | 3.4471 | 3.8241 | 4.143 | 4.3381 | 4.3548 | 4.1586 | 3.7456 | 3.1654 | 2.4782 | 1.7917 | 1.1652 | 0.6741 | 0.32825 | 0.11783 | 0.01264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_160_161 | 160 | 124 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 9:41:40 AM | Wednesday, November 25, 2015 9:41:42 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.32 | 0.401 | 0.0121 | 4.801 | Volume | 45.161 | 1.55 | 1.03 | 5.799 | 2.139 | 23.994 | 117.342 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008458 | 0.13544 | 0.29901 | 0.44103 | 0.55443 | 0.64673 | 0.71822 | 0.77887 | 0.84182 | 0.91912 | 1.0213 | 1.148 | 1.2921 | 1.4387 | 1.5776 | 1.7053 | 1.8239 | 1.9387 | 2.0545 | 2.1768 | 2.3039 | 2.4327 | 2.55 | 2.6444 | 2.6994 | 2.7067 | 2.6639 | 2.5778 | 2.4697 | 2.3658 | 2.2995 | 2.2992 | 2.3868 | 2.5724 | 2.849 | 3.1948 | 3.5709 | 3.9256 | 4.2034 | 4.3464 | 4.3103 | 4.0722 | 3.6352 | 3.0524 | 2.3811 | 1.7215 | 1.1246 | 0.65729 | 0.32636 | 0.12319 | 0.0134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_180_181 | 180 | 144 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 9:49:08 AM | Wednesday, November 25, 2015 9:49:10 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.21 | 0.697 | 0.0366 | 1.837 | Volume | 78.577 | 0.538 | 0.365 | 16.457 | 9.895 | 74.294 | 146.351 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.092969 | 0.13969 | 0.18308 | 0.2122 | 0.2348 | 0.25064 | 0.26548 | 0.28332 | 0.30789 | 0.33916 | 0.37437 | 0.40818 | 0.43685 | 0.45976 | 0.47935 | 0.50031 | 0.52851 | 0.57029 | 0.62918 | 0.707 | 0.79798 | 0.8948 | 0.98121 | 1.0439 | 1.0674 | 1.0471 | 0.9921 | 0.92944 | 0.90896 | 0.9972 | 1.2678 | 1.7916 | 2.6063 | 3.7085 | 5.0282 | 6.4261 | 7.7195 | 8.6867 | 9.1498 | 8.9898 | 8.2 | 6.9142 | 5.3112 | 3.6771 | 2.187 | 1.0311 | 0.24191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_180_181 | 180 | 144 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 9:49:50 AM | Wednesday, November 25, 2015 9:49:51 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.94 | 0.694 | 0.0358 | 1.842 | Volume | 78.224 | 0.54 | 0.364 | 16.502 | 9.773 | 74.012 | 146.096 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.08849 | 0.13502 | 0.1785 | 0.20771 | 0.23059 | 0.24677 | 0.26202 | 0.2803 | 0.30539 | 0.3373 | 0.3734 | 0.40846 | 0.43882 | 0.46382 | 0.48578 | 0.50922 | 0.5398 | 0.58367 | 0.64423 | 0.72329 | 0.81523 | 0.91299 | 1.0006 | 1.0653 | 1.0917 | 1.0754 | 1.025 | 0.96698 | 0.9499 | 1.0388 | 1.3057 | 1.8204 | 2.6205 | 3.7038 | 5.0028 | 6.3819 | 7.6621 | 8.6247 | 9.0927 | 8.9457 | 8.1734 | 6.9029 | 5.3125 | 3.674 | 2.1882 | 1.0065 | 0.18859 | 0.009342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_200_201 | 200 | 164 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 9:57:23 AM | Wednesday, November 25, 2015 9:57:25 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.2 | 0.644 | 0.0358 | 1.734 | Volume | 75.602 | 0.505 | 0.318 | 18.864 | 13.44 | 71.269 | 137.016 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.078916 | 0.12087 | 0.15966 | 0.1849 | 0.20359 | 0.21529 | 0.225 | 0.23625 | 0.25218 | 0.2727 | 0.29513 | 0.31473 | 0.32836 | 0.33619 | 0.34168 | 0.35063 | 0.37022 | 0.40774 | 0.46745 | 0.5511 | 0.65178 | 0.76036 | 0.85765 | 0.92828 | 0.95596 | 0.93856 | 0.89166 | 0.85338 | 0.88624 | 1.0701 | 1.4839 | 2.1953 | 3.2212 | 4.525 | 5.9925 | 7.4407 | 8.6568 | 9.4156 | 9.564 | 9.0418 | 7.9044 | 6.3542 | 4.6076 | 2.9552 | 1.5694 | 0.56561 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_200_201 | 200 | 164 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 9:58:04 AM | Wednesday, November 25, 2015 9:58:06 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.09 | 0.637 | 0.0354 | 1.731 | Volume | 75.414 | 0.504 | 0.318 | 18.895 | 13.271 | 71.214 | 136.571 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.076145 | 0.11797 | 0.15686 | 0.18227 | 0.20131 | 0.21351 | 0.22386 | 0.23581 | 0.25248 | 0.27367 | 0.29665 | 0.31666 | 0.33059 | 0.33871 | 0.34458 | 0.3541 | 0.37451 | 0.41314 | 0.47419 | 0.55937 | 0.66166 | 0.77185 | 0.87059 | 0.94236 | 0.9706 | 0.95279 | 0.90409 | 0.86221 | 0.88969 | 1.0667 | 1.4732 | 2.1785 | 3.2011 | 4.5059 | 5.9793 | 7.4374 | 8.6655 | 9.4352 | 9.5899 | 9.0666 | 7.9197 | 6.3534 | 4.5878 | 2.9207 | 1.5265 | 0.5303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_214_216 | 214 | 178 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 10:06:29 AM | Wednesday, November 25, 2015 10:06:31 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.83 | 0.324 | 0.0328 | 2.67 | Volume | 58.493 | 0.944 | 0.493 | 12.171 | 7.423 | 40.641 | 115.93 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1317 | 0.19868 | 0.25988 | 0.29875 | 0.3258 | 0.34017 | 0.34958 | 0.36016 | 0.37796 | 0.40506 | 0.43995 | 0.47781 | 0.51488 | 0.54987 | 0.58356 | 0.61812 | 0.65671 | 0.70418 | 0.76501 | 0.84644 | 0.95385 | 1.0985 | 1.2865 | 1.5349 | 1.8467 | 2.2391 | 2.7046 | 3.2475 | 3.8392 | 4.459 | 5.0573 | 5.5923 | 6.0108 | 6.271 | 6.3399 | 6.2013 | 5.8568 | 5.3314 | 4.6581 | 3.9004 | 3.1091 | 2.3682 | 1.7196 | 1.2177 | 0.85484 | 0.6227 | 0.48304 | 0.40813 | 0.36477 | 0.32919 | 0.28836 | 0.23714 | 0.18425 | 0.12023 | 0.059439 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_214_216 | 214 | 178 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 10:07:11 AM | Wednesday, November 25, 2015 10:07:13 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.84 | 0.326 | 0.0326 | 2.646 | Volume | 55.9 | 0.892 | 0.496 | 12.099 | 7.289 | 40.373 | 114.132 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12915 | 0.1968 | 0.2589 | 0.29843 | 0.32618 | 0.34115 | 0.35117 | 0.3624 | 0.381 | 0.40914 | 0.44538 | 0.48489 | 0.52378 | 0.56057 | 0.59578 | 0.6314 | 0.67051 | 0.71804 | 0.77876 | 0.86041 | 0.9689 | 1.116 | 1.3079 | 1.5615 | 1.8786 | 2.2753 | 2.742 | 3.2817 | 3.8646 | 4.4701 | 5.0504 | 5.5665 | 5.9694 | 6.2212 | 6.2918 | 6.1659 | 5.8436 | 5.3465 | 4.7027 | 3.9701 | 3.195 | 2.4577 | 1.7995 | 1.277 | 0.88662 | 0.62602 | 0.45965 | 0.36155 | 0.29765 | 0.24509 | 0.19191 | 0.14065 | 0.096466 | 0.0466 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_220_221 | 220 | 184 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 10:15:27 AM | Wednesday, November 25, 2015 10:15:29 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.41 | 0.419 | 0.027 | 2.454 | Volume | 54.701 | 0.764 | 0.504 | 11.911 | 6.824 | 44.602 | 116.286 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13526 | 0.2028 | 0.26449 | 0.30413 | 0.33257 | 0.34928 | 0.36235 | 0.37801 | 0.40238 | 0.43703 | 0.47973 | 0.52446 | 0.56623 | 0.60287 | 0.63494 | 0.66526 | 0.69866 | 0.74225 | 0.80308 | 0.89038 | 1.0097 | 1.1703 | 1.3717 | 1.6215 | 1.9097 | 2.2394 | 2.5942 | 2.9738 | 3.3633 | 3.7646 | 4.1712 | 4.5882 | 5.0106 | 5.4281 | 5.8112 | 6.1103 | 6.2624 | 6.2008 | 5.8757 | 5.2828 | 4.4528 | 3.4933 | 2.5022 | 1.6166 | 0.90146 | 0.39824 | 0.094683 | 0.0051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_220_221 | 220 | 184 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 10:16:09 AM | Wednesday, November 25, 2015 10:16:11 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.54 | 0.41 | 0.0273 | 2.485 | Volume | 54.933 | 0.775 | 0.504 | 11.912 | 6.758 | 44.436 | 117.201 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13154 | 0.1994 | 0.26162 | 0.30165 | 0.33057 | 0.34775 | 0.36138 | 0.37769 | 0.40281 | 0.43832 | 0.48192 | 0.52755 | 0.5703 | 0.60804 | 0.64146 | 0.67343 | 0.70872 | 0.75435 | 0.81714 | 0.90609 | 1.0265 | 1.1874 | 1.3884 | 1.6371 | 1.9236 | 2.2512 | 2.604 | 2.9818 | 3.3696 | 3.7689 | 4.1722 | 4.5837 | 4.9977 | 5.4035 | 5.7726 | 6.0574 | 6.1977 | 6.1302 | 5.8078 | 5.2268 | 4.4172 | 3.483 | 2.5186 | 1.6563 | 0.95802 | 0.46397 | 0.1635 | 0.009729 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_225_226 | 225 | 189 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 10:39:12 AM | Wednesday, November 25, 2015 10:39:13 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.47 | 0.43 | 0.0426 | 1.773 | Volume | 64.208 | 0.612 | 0.278 | 21.546 | 22.168 | 52.283 | 114.847 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.061926 | 0.10827 | 0.14362 | 0.17184 | 0.18698 | 0.19249 | 0.18943 | 0.18128 | 0.1711 | 0.16176 | 0.15505 | 0.15256 | 0.15623 | 0.16814 | 0.18867 | 0.21534 | 0.24255 | 0.26276 | 0.26735 | 0.25027 | 0.21218 | 0.16315 | 0.12914 | 0.14954 | 0.27511 | 0.56602 | 1.0628 | 1.8034 | 2.7647 | 3.9116 | 5.1382 | 6.3386 | 7.3773 | 8.1474 | 8.5692 | 8.6077 | 8.2707 | 7.6043 | 6.6681 | 5.5617 | 4.3647 | 3.2078 | 2.1627 | 1.33 | 0.71716 | 0.33334 | 0.13015 | 0.063287 | 0.072158 | 0.10565 | 0.13283 | 0.13896 | 0.12832 | 0.10423 | 0.060213 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_225_226 | 225 | 189 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 10:39:53 AM | Wednesday, November 25, 2015 10:39:55 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.13 | 0.435 | 0.0405 | 1.737 | Volume | 59.971 | 0.551 | 0.284 | 21.129 | 21.858 | 51.336 | 111.026 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.062237 | 0.10952 | 0.14565 | 0.17473 | 0.19051 | 0.19657 | 0.19387 | 0.18591 | 0.17572 | 0.16627 | 0.15945 | 0.15702 | 0.16108 | 0.17385 | 0.19569 | 0.22398 | 0.25278 | 0.27417 | 0.2791 | 0.26128 | 0.22142 | 0.17004 | 0.13416 | 0.15464 | 0.28405 | 0.58444 | 1.0973 | 1.8607 | 2.8494 | 4.0252 | 5.2768 | 6.493 | 7.5338 | 8.2895 | 8.6814 | 8.6782 | 8.2937 | 7.5822 | 6.61 | 5.4823 | 4.2802 | 3.1325 | 2.1068 | 1.294 | 0.70061 | 0.3219 | 0.1153 | 0.00687 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_235_236 | 235 | 199 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 10:30:42 AM | Wednesday, November 25, 2015 10:30:43 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.14 | 0.417 | 0.035 | 1.515 | Volume | 49.171 | 0.48 | 0.332 | 18.084 | 20.011 | 44.14 | 86.894 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.085911 | 0.1372 | 0.18499 | 0.21458 | 0.23307 | 0.2376 | 0.23193 | 0.2194 | 0.20406 | 0.18988 | 0.17978 | 0.17662 | 0.18339 | 0.20259 | 0.23383 | 0.27254 | 0.30967 | 0.33382 | 0.33276 | 0.29849 | 0.23367 | 0.15444 | 0.099849 | 0.12662 | 0.30563 | 0.7175 | 1.4108 | 2.4247 | 3.7093 | 5.1932 | 6.7084 | 8.0874 | 9.1356 | 9.7093 | 9.7253 | 9.1858 | 8.1682 | 6.8218 | 5.3016 | 3.8003 | 2.441 | 1.3566 | 0.58907 | 0.13184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_235_236 | 235 | 199 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 10:31:23 AM | Wednesday, November 25, 2015 10:31:25 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.19 | 0.418 | 0.0354 | 1.521 | Volume | 49.473 | 0.482 | 0.329 | 18.246 | 20.066 | 44.37 | 87.54 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.083348 | 0.13418 | 0.1817 | 0.21123 | 0.22986 | 0.23472 | 0.22954 | 0.21755 | 0.20272 | 0.18888 | 0.17887 | 0.17547 | 0.18168 | 0.20009 | 0.23048 | 0.26848 | 0.3053 | 0.32978 | 0.32986 | 0.29756 | 0.23529 | 0.15875 | 0.10622 | 0.13351 | 0.31048 | 0.71687 | 1.401 | 2.4025 | 3.673 | 5.1432 | 6.6482 | 8.0233 | 9.076 | 9.663 | 9.7002 | 9.1868 | 8.1961 | 6.8731 | 5.369 | 3.874 | 2.511 | 1.4135 | 0.62777 | 0.14585 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_240_241 | 240 | 204 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 12:31:55 PM | Wednesday, November 25, 2015 12:31:57 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.38 | 1.029 | 0.1174 | 1.114 | Volume | 94.001 | 0.351 | 0.0859 | 69.835 | 50.182 | 88.024 | 148.283 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.028506 | 0.088054 | 0.1362 | 0.20607 | 0.28653 | 0.3543 | 0.38827 | 0.36751 | 0.28478 | 0.14632 | 0.01995 | 0 | 0 | 0.036648 | 0.43355 | 1.3368 | 2.8342 | 4.9001 | 7.3237 | 9.7438 | 11.6752 | 12.706 | 12.5685 | 11.2727 | 9.1335 | 6.5714 | 4.1339 | 2.1421 | 0.79958 | 0.081894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_240_241 | 240 | 204 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 12:32:37 PM | Wednesday, November 25, 2015 12:32:39 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.21 | 1.036 | 0.1151 | 1.118 | Volume | 93.943 | 0.353 | 0.0862 | 69.585 | 50.012 | 87.943 | 148.358 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.030126 | 0.092535 | 0.1404 | 0.21009 | 0.28996 | 0.357 | 0.39038 | 0.36958 | 0.28733 | 0.15176 | 0.0216 | 0 | 0 | 0.040856 | 0.45547 | 1.362 | 2.8598 | 4.92 | 7.3319 | 9.7367 | 11.6528 | 12.6724 | 12.5311 | 11.2396 | 9.1104 | 6.5607 | 4.134 | 2.1497 | 0.81024 | 0.091737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_260_261 | 260 | 224 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 12:41:35 PM | Wednesday, November 25, 2015 12:41:37 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.71 | 1.035 | 0.133 | 0.993 | Volume | 109.069 | 0.313 | 0.0714 | 84.033 | 62.754 | 103.57 | 165.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019449 | 0.10896 | 0.18837 | 0.27604 | 0.35963 | 0.40711 | 0.39343 | 0.31074 | 0.14233 | 0.016518 | 0 | 0 | 0 | 0.04888 | 0.55816 | 1.7548 | 3.7937 | 6.5877 | 9.686 | 12.4316 | 14.0569 | 14.0991 | 12.5355 | 9.7785 | 6.6326 | 3.7343 | 1.6429 | 0.43045 | 0.006487 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_260_261 | 260 | 224 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 12:42:17 PM | Wednesday, November 25, 2015 12:42:19 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.08 | 1.019 | 0.1388 | 0.99 | Volume | 109.466 | 0.312 | 0.071 | 84.533 | 63.097 | 103.986 | 166.036 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.017981 | 0.10141 | 0.18109 | 0.26923 | 0.35429 | 0.40404 | 0.39312 | 0.3128 | 0.14617 | 0.017942 | 0 | 0 | 0 | 0.039201 | 0.52734 | 1.6989 | 3.7145 | 6.4973 | 9.6053 | 12.3847 | 14.0602 | 14.1548 | 12.6273 | 9.8799 | 6.7176 | 3.7879 | 1.6661 | 0.43434 | 0.006489 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_265_267 | 265 | 229 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:03:55 PM | Wednesday, November 25, 2015 2:03:57 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.21 | 1 | 0.0119 | 3.267 | Volume | 30.002 | 1.06 | 0.962 | 6.238 | 2.488 | 20.333 | 68.924 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006269 | 0.10255 | 0.262 | 0.39801 | 0.50352 | 0.58586 | 0.64413 | 0.68801 | 0.7298 | 0.78211 | 0.85615 | 0.95397 | 1.071 | 1.1953 | 1.3177 | 1.4342 | 1.5456 | 1.6559 | 1.7707 | 1.8983 | 2.0436 | 2.214 | 2.4086 | 2.6328 | 2.8796 | 3.1547 | 3.4459 | 3.7561 | 4.0681 | 4.3755 | 4.6519 | 4.8756 | 5.0144 | 5.043 | 4.9414 | 4.7016 | 4.3302 | 3.8502 | 3.2939 | 2.7088 | 2.132 | 1.6095 | 1.161 | 0.81269 | 0.55986 | 0.39292 | 0.28181 | 0.18404 | 0.075228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_265_267 | 265 | 229 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:04:36 PM | Wednesday, November 25, 2015 2:04:38 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.22 | 1.006 | 0.0129 | 3.329 | Volume | 30.209 | 1.08 | 0.961 | 6.245 | 2.482 | 20.239 | 69.866 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005689 | 0.093863 | 0.25247 | 0.38865 | 0.49523 | 0.57924 | 0.63965 | 0.68598 | 0.73056 | 0.78594 | 0.86334 | 0.96467 | 1.0852 | 1.2128 | 1.3382 | 1.4573 | 1.5709 | 1.6829 | 1.7987 | 1.9265 | 2.0707 | 2.2386 | 2.4291 | 2.6476 | 2.8874 | 3.1542 | 3.4365 | 3.7373 | 4.0401 | 4.3384 | 4.6059 | 4.8212 | 4.9529 | 4.9766 | 4.8741 | 4.6391 | 4.2792 | 3.8169 | 3.2826 | 2.7205 | 2.1639 | 1.6556 | 1.2137 | 0.86437 | 0.6044 | 0.42625 | 0.30243 | 0.19182 | 0.070741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_280_282 | 280 | 244 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:13:52 PM | Wednesday, November 25, 2015 2:13:54 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.59 | 0.442 | 0.0266 | 1.903 | Volume | 63.45 | 0.601 | 0.369 | 16.27 | 12.769 | 54.768 | 116.979 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.089529 | 0.14133 | 0.19027 | 0.22269 | 0.24692 | 0.26132 | 0.27103 | 0.27951 | 0.29031 | 0.3043 | 0.32035 | 0.33619 | 0.35152 | 0.36886 | 0.39208 | 0.42462 | 0.46791 | 0.52114 | 0.57869 | 0.63344 | 0.67509 | 0.69754 | 0.70015 | 0.69461 | 0.70726 | 0.78054 | 0.96521 | 1.3211 | 1.8848 | 2.6836 | 3.6862 | 4.8373 | 6.0221 | 7.1114 | 7.9635 | 8.4567 | 8.5151 | 8.1183 | 7.3026 | 6.1781 | 4.8647 | 3.5489 | 2.3486 | 1.4021 | 0.72692 | 0.32873 | 0.14077 | 0.09691 | 0.11918 | 0.14425 | 0.14691 | 0.10079 | 0.038043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_280_282 | 280 | 244 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:14:33 PM | Wednesday, November 25, 2015 2:14:35 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.38 | 0.45 | 0.0258 | 1.924 | Volume | 63.211 | 0.609 | 0.372 | 16.113 | 12.264 | 54.331 | 116.81 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.08778 | 0.14011 | 0.18979 | 0.22288 | 0.24789 | 0.26307 | 0.27359 | 0.28288 | 0.29451 | 0.30939 | 0.32647 | 0.34352 | 0.36029 | 0.37927 | 0.40425 | 0.43848 | 0.48318 | 0.53733 | 0.59511 | 0.64946 | 0.69029 | 0.71202 | 0.71479 | 0.71111 | 0.72792 | 0.80792 | 1.0011 | 1.3658 | 1.9365 | 2.7378 | 3.7361 | 4.8751 | 6.0407 | 7.1052 | 7.9306 | 8.3991 | 8.4381 | 8.0301 | 7.2121 | 6.0944 | 4.7957 | 3.4997 | 2.3211 | 1.3934 | 0.73071 | 0.33697 | 0.14736 | 0.10017 | 0.12138 | 0.14864 | 0.15454 | 0.11124 | 0.043097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_298_300 | 298 | 262 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 1:13:32 PM | Wednesday, November 25, 2015 1:13:34 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.94 | 0.285 | 0.0171 | 3.106 | Volume | 29.098 | 0.976 | 0.953 | 6.295 | 2.52 | 20.935 | 67.547 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006445 | 0.10508 | 0.26258 | 0.39782 | 0.50318 | 0.58521 | 0.64278 | 0.68525 | 0.72477 | 0.77395 | 0.84393 | 0.93689 | 1.0484 | 1.1668 | 1.2837 | 1.3962 | 1.5059 | 1.6176 | 1.7367 | 1.8709 | 2.0232 | 2.1989 | 2.3942 | 2.6121 | 2.8445 | 3.097 | 3.3612 | 3.6448 | 3.9388 | 4.2439 | 4.54 | 4.809 | 5.0166 | 5.1319 | 5.1236 | 4.9705 | 4.6657 | 4.2204 | 3.6594 | 3.0282 | 2.3663 | 1.7326 | 1.1528 | 0.6957 | 0.31698 | 0.11745 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_298_300 | 298 | 262 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 1:14:13 PM | Wednesday, November 25, 2015 1:14:15 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.44 | 0.292 | 0.0169 | 3.098 | Volume | 29.165 | 0.978 | 0.931 | 6.447 | 2.608 | 20.887 | 67.316 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005239 | 0.086891 | 0.24089 | 0.37315 | 0.47657 | 0.5578 | 0.61557 | 0.65898 | 0.69979 | 0.75019 | 0.82102 | 0.91442 | 1.0262 | 1.1454 | 1.2639 | 1.3791 | 1.4928 | 1.6099 | 1.7356 | 1.8774 | 2.0379 | 2.222 | 2.4254 | 2.6507 | 2.8893 | 3.1469 | 3.4147 | 3.7004 | 3.9946 | 4.298 | 4.5903 | 4.8528 | 5.0511 | 5.154 | 5.1303 | 4.9599 | 4.6374 | 4.1759 | 3.6025 | 2.9649 | 2.3046 | 1.6795 | 1.1225 | 0.67749 | 0.35737 | 0.15906 | 0.07003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_320_322 | 320 | 284 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 1:25:05 PM | Wednesday, November 25, 2015 1:25:07 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 22.19 | 0.281 | 0.0223 | 2.917 | Volume | 24.053 | 0.916 | 0.999 | 6.007 | 2.479 | 17.549 | 53.664 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007548 | 0.12206 | 0.28914 | 0.43194 | 0.54183 | 0.62546 | 0.68128 | 0.71905 | 0.75117 | 0.79098 | 0.84984 | 0.93015 | 1.027 | 1.1286 | 1.2265 | 1.3196 | 1.4129 | 1.5162 | 1.6418 | 1.8053 | 2.0171 | 2.2905 | 2.623 | 3.019 | 3.4566 | 3.9301 | 4.3986 | 4.8443 | 5.2208 | 5.5024 | 5.6522 | 5.6498 | 5.4852 | 5.1632 | 4.709 | 4.1566 | 3.5491 | 2.9307 | 2.3349 | 1.7944 | 1.3192 | 0.92314 | 0.598 | 0.35882 | 0.17742 | 0.077596 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_320_322 | 320 | 284 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 1:25:47 PM | Wednesday, November 25, 2015 1:25:49 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 22.49 | 0.28 | 0.0229 | 2.958 | Volume | 24.525 | 0.935 | 0.983 | 6.104 | 2.53 | 17.636 | 54.697 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006676 | 0.10892 | 0.27354 | 0.41462 | 0.52378 | 0.60756 | 0.66428 | 0.70346 | 0.73728 | 0.77874 | 0.83902 | 0.92036 | 1.0179 | 1.1199 | 1.2182 | 1.3117 | 1.4054 | 1.5094 | 1.6359 | 1.8006 | 2.0141 | 2.2894 | 2.6241 | 3.0224 | 3.4622 | 3.9371 | 4.4058 | 4.8497 | 5.2222 | 5.4973 | 5.6387 | 5.6265 | 5.4524 | 5.1231 | 4.6658 | 4.1167 | 3.5197 | 2.9182 | 2.3436 | 1.8248 | 1.368 | 0.98299 | 0.66308 | 0.41479 | 0.23531 | 0.12111 | 0.063658 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_340_342 | 340 | 304 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:21:23 PM | Wednesday, November 25, 2015 2:21:25 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 16.28 | 0.286 | 0.0183 | 2.734 | Volume | 27.293 | 0.848 | 0.856 | 7.009 | 3.094 | 20.723 | 59.743 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005002 | 0.082971 | 0.23033 | 0.35587 | 0.45219 | 0.52523 | 0.57302 | 0.60399 | 0.6287 | 0.65881 | 0.70425 | 0.76741 | 0.84418 | 0.92441 | 1.0008 | 1.0719 | 1.1421 | 1.2203 | 1.3183 | 1.4515 | 1.6322 | 1.8756 | 2.1841 | 2.567 | 3.0085 | 3.5087 | 4.0303 | 4.5595 | 5.0476 | 5.468 | 5.7746 | 5.9394 | 5.9369 | 5.7591 | 5.4152 | 4.9282 | 4.3342 | 3.6775 | 2.9985 | 2.3431 | 1.7361 | 1.2106 | 0.77037 | 0.44605 | 0.20505 | 0.082758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_340_342 | 340 | 304 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:22:04 PM | Wednesday, November 25, 2015 2:22:06 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.99 | 0.266 | 0.0182 | 2.714 | Volume | 27.194 | 0.841 | 0.839 | 7.153 | 3.205 | 20.71 | 59.41 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.075043 | 0.21546 | 0.33861 | 0.43324 | 0.50529 | 0.55271 | 0.58375 | 0.60872 | 0.63903 | 0.68442 | 0.74727 | 0.82371 | 0.90396 | 0.98111 | 1.0541 | 1.1273 | 1.2097 | 1.3127 | 1.4519 | 1.6391 | 1.8895 | 2.2054 | 2.5956 | 3.0438 | 3.5497 | 4.0753 | 4.6063 | 5.0937 | 5.511 | 5.8125 | 5.9709 | 5.9614 | 5.7766 | 5.4262 | 4.9334 | 4.3343 | 3.673 | 2.9901 | 2.3317 | 1.7224 | 1.195 | 0.75216 | 0.42526 | 0.17748 | 0.060053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_360_361 | 360 | 324 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:29:14 PM | Wednesday, November 25, 2015 2:29:15 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.27 | 0.254 | 0.0199 | 2.459 | Volume | 41.332 | 0.81 | 0.577 | 10.403 | 6.133 | 31.236 | 82.955 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15415 | 0.23356 | 0.30566 | 0.3508 | 0.38182 | 0.39796 | 0.40876 | 0.42184 | 0.44458 | 0.47929 | 0.52353 | 0.57019 | 0.61289 | 0.64811 | 0.67546 | 0.69756 | 0.72056 | 0.75475 | 0.81293 | 0.91255 | 1.0691 | 1.3044 | 1.6269 | 2.0563 | 2.5795 | 3.2009 | 3.8803 | 4.5961 | 5.2852 | 5.9024 | 6.3809 | 6.6737 | 6.7405 | 6.566 | 6.1599 | 5.5594 | 4.8173 | 4.0067 | 3.1839 | 2.4172 | 1.7368 | 1.1869 | 0.76955 | 0.49241 | 0.32456 | 0.23672 | 0.19246 | 0.16863 | 0.14781 | 0.11769 | 0.088252 | 0.024506 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_360_361 | 360 | 324 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:29:55 PM | Wednesday, November 25, 2015 2:29:57 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.1 | 0.271 | 0.0198 | 2.503 | Volume | 42.863 | 0.86 | 0.571 | 10.508 | 6.209 | 31.198 | 84.287 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14879 | 0.22724 | 0.29863 | 0.34328 | 0.37404 | 0.39012 | 0.401 | 0.41422 | 0.43715 | 0.47214 | 0.51682 | 0.5642 | 0.60798 | 0.64463 | 0.67366 | 0.69759 | 0.72241 | 0.75831 | 0.81797 | 0.91886 | 1.0765 | 1.3128 | 1.6364 | 2.067 | 2.5916 | 3.2146 | 3.8956 | 4.6125 | 5.3018 | 5.9174 | 6.3914 | 6.6757 | 6.7295 | 6.5367 | 6.108 | 5.4827 | 4.7175 | 3.8907 | 3.0629 | 2.3052 | 1.6484 | 1.1337 | 0.75898 | 0.52462 | 0.39496 | 0.33488 | 0.30631 | 0.28534 | 0.25357 | 0.21004 | 0.14559 | 0.047934 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_380_382 | 380 | 344 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:37:19 PM | Wednesday, November 25, 2015 2:37:21 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.64 | 0.265 | 0.0156 | 2.621 | Volume | 37.804 | 0.92 | 0.768 | 7.815 | 3.346 | 27.501 | 75.425 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005034 | 0.082473 | 0.21253 | 0.32433 | 0.41124 | 0.47828 | 0.52387 | 0.55525 | 0.58184 | 0.61382 | 0.66016 | 0.7231 | 0.79924 | 0.87932 | 0.95569 | 1.0243 | 1.0847 | 1.1388 | 1.1911 | 1.2493 | 1.3215 | 1.4197 | 1.554 | 1.7404 | 1.9866 | 2.3113 | 2.7104 | 3.1938 | 3.7364 | 4.3248 | 4.9081 | 5.4451 | 5.8729 | 6.1433 | 6.2131 | 6.0607 | 5.6871 | 5.1199 | 4.4037 | 3.607 | 2.7874 | 2.0192 | 1.3414 | 0.80663 | 0.42164 | 0.19328 | 0.088485 | 0.070353 | 0.097546 | 0.13826 | 0.17023 | 0.17925 | 0.16594 | 0.13058 | 0.097087 | 0.038275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_380_382 | 380 | 344 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:38:01 PM | Wednesday, November 25, 2015 2:38:03 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.45 | 0.259 | 0.0155 | 2.602 | Volume | 37.083 | 0.896 | 0.756 | 7.94 | 3.425 | 27.441 | 74.838 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.076275 | 0.19984 | 0.30979 | 0.39546 | 0.46194 | 0.50763 | 0.53968 | 0.56733 | 0.60057 | 0.64817 | 0.71223 | 0.78937 | 0.87046 | 0.9481 | 1.0186 | 1.0816 | 1.1395 | 1.1963 | 1.2596 | 1.3369 | 1.44 | 1.5782 | 1.7674 | 2.015 | 2.3395 | 2.7369 | 3.2176 | 3.757 | 4.3423 | 4.9232 | 5.4593 | 5.8876 | 6.1599 | 6.2322 | 6.0814 | 5.7072 | 5.1354 | 4.4104 | 3.6017 | 2.7693 | 1.9914 | 1.3102 | 0.7796 | 0.40564 | 0.19157 | 0.10035 | 0.090709 | 0.11907 | 0.15344 | 0.17382 | 0.16943 | 0.14562 | 0.10563 | 0.042819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_400_402 | 400 | 364 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:45:36 PM | Wednesday, November 25, 2015 2:45:38 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.77 | 0.332 | 0.0166 | 2.528 | Volume | 34.03 | 0.784 | 0.79 | 7.598 | 3.196 | 27.722 | 73.279 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005727 | 0.092894 | 0.22471 | 0.33791 | 0.42593 | 0.49401 | 0.54087 | 0.57391 | 0.60266 | 0.63726 | 0.68652 | 0.75227 | 0.83079 | 0.91258 | 0.99026 | 1.0606 | 1.1239 | 1.183 | 1.2423 | 1.3087 | 1.3883 | 1.4904 | 1.6209 | 1.7924 | 2.0102 | 2.2918 | 2.6369 | 3.0607 | 3.5491 | 4.0995 | 4.6726 | 5.2351 | 5.725 | 6.0888 | 6.2691 | 6.2261 | 5.9417 | 5.4273 | 4.7199 | 3.8897 | 3.0036 | 2.1551 | 1.3925 | 0.80644 | 0.35194 | 0.1279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_400_402 | 400 | 364 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:46:18 PM | Wednesday, November 25, 2015 2:46:20 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.34 | 0.274 | 0.018 | 2.736 | Volume | 55.457 | 1.5 | 0.761 | 7.889 | 3.343 | 28.58 | 81.53 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084868 | 0.20701 | 0.3165 | 0.40215 | 0.46894 | 0.51548 | 0.54885 | 0.57827 | 0.61348 | 0.66303 | 0.72865 | 0.80672 | 0.88801 | 0.96543 | 1.0359 | 1.0998 | 1.16 | 1.2208 | 1.2889 | 1.37 | 1.4728 | 1.6028 | 1.7717 | 1.9844 | 2.2575 | 2.5907 | 2.9984 | 3.4671 | 3.9939 | 4.541 | 5.076 | 5.5398 | 5.8813 | 6.0461 | 5.9971 | 5.7174 | 5.2184 | 4.5354 | 3.736 | 2.885 | 2.0697 | 1.3426 | 0.76647 | 0.35817 | 0.10717 | 0 | 0 | 0.06697 | 0.13388 | 0.194 | 0.23711 | 0.26348 | 0.27883 | 0.2895 | 0.29694 | 0.2957 | 0.27926 | 0.24483 | 0.19678 | 0.14593 | 0.094061 | 0.052183 | 0.010965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_408_410 | 408 | 372 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:53:34 PM | Wednesday, November 25, 2015 2:53:36 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.56 | 0.351 | 0.019 | 2.261 | Volume | 36.903 | 0.687 | 0.682 | 8.796 | 4.13 | 31.603 | 75.587 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.083972 | 0.19634 | 0.2969 | 0.37465 | 0.43387 | 0.47278 | 0.49748 | 0.5158 | 0.53663 | 0.56781 | 0.61198 | 0.66702 | 0.72622 | 0.78409 | 0.8379 | 0.88692 | 0.93164 | 0.97363 | 1.0167 | 1.0653 | 1.1279 | 1.2143 | 1.3417 | 1.5257 | 1.7941 | 2.1587 | 2.6448 | 3.2416 | 3.947 | 4.7092 | 5.4809 | 6.176 | 6.7199 | 7.0331 | 7.0624 | 6.7835 | 6.2117 | 5.3959 | 4.4251 | 3.3853 | 2.392 | 1.5058 | 0.8328 | 0.32059 | 0.092276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB1_408_410 | 408 | 372 | 123-ABC | ACC2015 | malvern | Wednesday, November 25, 2015 2:54:15 PM | Wednesday, November 25, 2015 2:54:17 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.39 | 0.343 | 0.0188 | 2.272 | Volume | 36.7 | 0.691 | 0.68 | 8.818 | 4.124 | 31.32 | 75.275 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077318 | 0.18987 | 0.29025 | 0.36804 | 0.42763 | 0.46726 | 0.49301 | 0.51274 | 0.53526 | 0.56836 | 0.61451 | 0.67151 | 0.73247 | 0.79184 | 0.84681 | 0.89675 | 0.9423 | 0.98528 | 1.0298 | 1.0806 | 1.1466 | 1.2373 | 1.37 | 1.5597 | 1.8336 | 2.2026 | 2.691 | 3.2873 | 3.9889 | 4.7436 | 5.5043 | 6.1855 | 6.7132 | 7.0095 | 7.0222 | 6.7287 | 6.146 | 5.3245 | 4.3546 | 3.3232 | 2.3452 | 1.4802 | 0.82836 | 0.33937 | 0.1131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0