## Sheet1
Sample Name | Sample source type | depth corret | Sample bulk lot ref | SOP Name | Operator name | Measurement date and time | Analysis date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Dispersant refractive index | Accessory name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Residual | Concentration | Span | Result transform type | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | Result Between User Sizes (Sizes in um) | [100 empty] | Operator Notes
[30 empty] | 0.01 | 0.011482 | 0.013183 | 0.015136 | 0.017378 | 0.019953 | 0.022909 | 0.026303 | 0.0302 | 0.034674 | 0.039811 | 0.045709 | 0.052481 | 0.060256 | 0.069183 | 0.079433 | 0.091201 | 0.10471 | 0.12023 | 0.13804 | 0.15849 | 0.18197 | 0.20893 | 0.23988 | 0.27542 | 0.31623 | 0.36308 | 0.41687 | 0.47863 | 0.54954 | 0.63096 | 0.72444 | 0.83176 | 0.95499 | 1.0965 | 1.2589 | 1.4454 | 1.6596 | 1.9055 | 2.1878 | 2.5119 | 2.884 | 3.3113 | 3.8019 | 4.3652 | 5.0119 | 5.7544 | 6.6069 | 7.5858 | 8.7096 | 10 | 11.4815 | 13.1826 | 15.1356 | 17.378 | 19.9526 | 22.9087 | 26.3027 | 30.1995 | 34.6737 | 39.8107 | 45.7088 | 52.4807 | 60.256 | 69.1831 | 79.4328 | 91.2011 | 104.7129 | 120.2264 | 138.0384 | 158.4893 | 181.9701 | 208.9296 | 239.8833 | 275.4229 | 316.2278 | 363.0781 | 416.8694 | 478.6301 | 549.5409 | 630.9573 | 724.436 | 831.7638 | 954.9926 | 1096.4782 | 1258.9254 | 1445.4398 | 1659.5869 | 1905.4607 | 2187.7616 | 2511.8864 | 2884.0315 | 3311.3112 | 3801.894 | 4365.1583 | 5011.8723 | 5754.3994 | 6606.9345 | 7585.7757 | 8709.6359 | 10000
ACC2015_1_LB7_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 11:17:16 AM | Monday, December 21, 2015 11:17:18 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.99 | 0.376 | 0.0217 | 2.334 | Volume | 52.59 | 0.712 | 0.518 | 11.587 | 6.348 | 44.068 | 109.189 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14751 | 0.2188 | 0.28404 | 0.32629 | 0.35639 | 0.37341 | 0.38532 | 0.39839 | 0.41897 | 0.44937 | 0.48847 | 0.53178 | 0.57593 | 0.61974 | 0.66346 | 0.70785 | 0.75365 | 0.80252 | 0.85505 | 0.91421 | 0.98235 | 1.0676 | 1.1779 | 1.331 | 1.5388 | 1.8246 | 2.1943 | 2.6624 | 3.2132 | 3.8362 | 4.4903 | 5.1401 | 5.7333 | 6.2241 | 6.5655 | 6.7158 | 6.642 | 6.3245 | 5.7583 | 4.9799 | 4.0376 | 3.0436 | 2.083 | 1.2703 | 0.65147 | 0.24066 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 11:17:58 AM | Monday, December 21, 2015 11:17:59 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.84 | 0.359 | 0.0212 | 2.344 | Volume | 51.757 | 0.715 | 0.523 | 11.48 | 6.2 | 43.27 | 107.625 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1456 | 0.21739 | 0.28341 | 0.3264 | 0.35739 | 0.37534 | 0.38825 | 0.40235 | 0.42399 | 0.45552 | 0.49584 | 0.54053 | 0.58624 | 0.6318 | 0.67741 | 0.7238 | 0.77162 | 0.82245 | 0.87679 | 0.93751 | 1.0069 | 1.0931 | 1.2042 | 1.3586 | 1.5688 | 1.8589 | 2.2353 | 2.7126 | 3.2743 | 3.9082 | 4.5702 | 5.2219 | 5.8079 | 6.2805 | 6.5928 | 6.7057 | 6.5906 | 6.2346 | 5.6386 | 4.8447 | 3.9029 | 2.9238 | 1.9881 | 1.2039 | 0.61133 | 0.22197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_2_4 | 2 | 2 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 11:25:03 AM | Monday, December 21, 2015 11:25:04 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.96 | 0.44 | 0.0307 | 2.121 | Volume | 59.972 | 0.647 | 0.431 | 13.913 | 9.131 | 52.251 | 119.951 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12118 | 0.18019 | 0.23411 | 0.26865 | 0.29269 | 0.30534 | 0.31312 | 0.3212 | 0.33477 | 0.35581 | 0.38336 | 0.41381 | 0.44449 | 0.47469 | 0.50512 | 0.5371 | 0.57217 | 0.61251 | 0.65919 | 0.71471 | 0.78 | 0.86003 | 0.95817 | 1.0861 | 1.2515 | 1.4734 | 1.7612 | 2.1355 | 2.5979 | 3.1579 | 3.7991 | 4.5076 | 5.244 | 5.9625 | 6.5992 | 7.0787 | 7.326 | 7.2724 | 6.8773 | 6.1535 | 5.1507 | 4.003 | 2.8279 | 1.7826 | 0.94818 | 0.36179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_2_4 | 2 | 2 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 11:25:44 AM | Monday, December 21, 2015 11:25:46 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.83 | 0.43 | 0.0305 | 2.131 | Volume | 59.72 | 0.651 | 0.43 | 13.968 | 9.123 | 51.879 | 119.692 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11667 | 0.17561 | 0.2298 | 0.2647 | 0.28931 | 0.30258 | 0.31097 | 0.31953 | 0.33344 | 0.35465 | 0.3823 | 0.41292 | 0.44393 | 0.47471 | 0.506 | 0.53912 | 0.57549 | 0.61715 | 0.66493 | 0.72119 | 0.78676 | 0.86677 | 0.96502 | 1.0939 | 1.2617 | 1.4883 | 1.783 | 2.1661 | 2.6379 | 3.2058 | 3.8511 | 4.5576 | 5.2847 | 5.9866 | 6.6014 | 7.0574 | 7.2838 | 7.2163 | 6.8164 | 6.0968 | 5.1049 | 3.9708 | 2.8086 | 1.7729 | 0.9431 | 0.35741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_4_6 | 4 | 4 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 11:32:49 AM | Monday, December 21, 2015 11:32:51 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.66 | 0.34 | 0.0277 | 2.382 | Volume | 50.077 | 0.728 | 0.547 | 10.967 | 5.95 | 41.5 | 104.812 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.065475 | 0.15409 | 0.23314 | 0.2937 | 0.3389 | 0.36716 | 0.38333 | 0.39366 | 0.40552 | 0.42545 | 0.4561 | 0.49641 | 0.54191 | 0.58923 | 0.63731 | 0.68659 | 0.73808 | 0.79261 | 0.85199 | 0.91661 | 0.98949 | 1.0725 | 1.174 | 1.3012 | 1.4723 | 1.6984 | 2.0031 | 2.3908 | 2.8747 | 3.4364 | 4.0617 | 4.7051 | 5.3267 | 5.871 | 6.2912 | 6.5436 | 6.5938 | 6.4191 | 6.0139 | 5.3853 | 4.5805 | 3.6513 | 2.7059 | 1.8197 | 1.0907 | 0.55261 | 0.20746 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_4_6 | 4 | 4 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 11:33:30 AM | Monday, December 21, 2015 11:33:32 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.54 | 0.337 | 0.0272 | 2.411 | Volume | 49.758 | 0.737 | 0.552 | 10.862 | 5.767 | 41.035 | 104.683 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06175 | 0.1518 | 0.2319 | 0.29341 | 0.3396 | 0.36885 | 0.38608 | 0.39762 | 0.41088 | 0.43247 | 0.46507 | 0.50764 | 0.55566 | 0.60572 | 0.65669 | 0.70886 | 0.76304 | 0.81982 | 0.88084 | 0.94632 | 1.0193 | 1.1017 | 1.202 | 1.3281 | 1.4984 | 1.7244 | 2.0297 | 2.4184 | 2.9029 | 3.4635 | 4.0846 | 4.7196 | 5.3279 | 5.8545 | 6.2543 | 6.4861 | 6.5191 | 6.3338 | 5.9274 | 5.3079 | 4.5209 | 3.6146 | 2.6912 | 1.8214 | 1.0998 | 0.55912 | 0.20544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_6_8 | 6 | 6 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 11:42:17 AM | Monday, December 21, 2015 11:42:19 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.22 | 0.356 | 0.0247 | 2.361 | Volume | 47.466 | 0.722 | 0.551 | 10.89 | 5.901 | 39.364 | 98.829 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.061605 | 0.1504 | 0.2293 | 0.28982 | 0.33525 | 0.36396 | 0.38072 | 0.39161 | 0.40385 | 0.42391 | 0.45457 | 0.4951 | 0.54147 | 0.59067 | 0.64172 | 0.69484 | 0.75061 | 0.80934 | 0.87238 | 0.93977 | 1.0146 | 1.0993 | 1.2034 | 1.3363 | 1.5193 | 1.7662 | 2.1036 | 2.5361 | 3.0756 | 3.6973 | 4.3788 | 5.0622 | 5.6958 | 6.2143 | 6.5661 | 6.7095 | 6.6212 | 6.2955 | 5.7502 | 5.0119 | 4.1451 | 3.2061 | 2.3008 | 1.4858 | 0.8568 | 0.39037 | 0.13694 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_6_8 | 6 | 6 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 11:42:59 AM | Monday, December 21, 2015 11:43:01 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.63 | 0.36 | 0.0249 | 2.387 | Volume | 46.616 | 0.732 | 0.557 | 10.773 | 5.59 | 38.502 | 97.509 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15306 | 0.22819 | 0.29698 | 0.3414 | 0.37306 | 0.39104 | 0.40392 | 0.41847 | 0.44163 | 0.47603 | 0.52072 | 0.5712 | 0.62416 | 0.67854 | 0.73464 | 0.79324 | 0.85483 | 0.92101 | 0.99185 | 1.0705 | 1.1591 | 1.2671 | 1.4034 | 1.5888 | 1.8364 | 2.1722 | 2.6 | 3.1314 | 3.7413 | 4.4073 | 5.0725 | 5.6859 | 6.1832 | 6.5139 | 6.6376 | 6.5318 | 6.1918 | 5.6362 | 4.8926 | 4.0263 | 3.0946 | 2.2036 | 1.4108 | 0.80786 | 0.37392 | 0.14581 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_8_10 | 8 | 8 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 12:41:12 PM | Monday, December 21, 2015 12:41:14 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.09 | 1.359 | 0.0235 | 2.355 | Volume | 49.989 | 0.717 | 0.526 | 11.404 | 6.331 | 41.471 | 103.996 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14946 | 0.22166 | 0.28778 | 0.33057 | 0.36089 | 0.37772 | 0.38905 | 0.40116 | 0.42042 | 0.44925 | 0.48661 | 0.52825 | 0.57107 | 0.6142 | 0.6581 | 0.70368 | 0.75174 | 0.80401 | 0.86115 | 0.92653 | 1.003 | 1.1001 | 1.2267 | 1.4031 | 1.6421 | 1.9689 | 2.3881 | 2.9123 | 3.5194 | 4.1909 | 4.8741 | 5.5224 | 6.0739 | 6.4783 | 6.692 | 6.6861 | 6.4475 | 5.9832 | 5.311 | 4.4861 | 3.5613 | 2.6398 | 1.7857 | 1.085 | 0.54825 | 0.17732 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_8_10 | 8 | 8 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 12:41:53 PM | Monday, December 21, 2015 12:41:55 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.97 | 1.377 | 0.0232 | 2.358 | Volume | 49.359 | 0.718 | 0.526 | 11.417 | 6.293 | 40.904 | 102.743 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14333 | 0.21563 | 0.28224 | 0.32546 | 0.35643 | 0.37397 | 0.3861 | 0.39907 | 0.41928 | 0.44917 | 0.48774 | 0.53078 | 0.5752 | 0.62009 | 0.66583 | 0.71321 | 0.76294 | 0.81673 | 0.87523 | 0.94193 | 1.0199 | 1.1188 | 1.248 | 1.4282 | 1.6727 | 2.0069 | 2.4351 | 2.9692 | 3.5852 | 4.2627 | 4.9467 | 5.5887 | 6.1262 | 6.5094 | 6.697 | 6.6633 | 6.3985 | 5.913 | 5.2267 | 4.3963 | 3.4733 | 2.562 | 1.7159 | 1.0409 | 0.4956 | 0.1596 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_10_12 | 10 | 10 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 12:50:11 PM | Monday, December 21, 2015 12:50:13 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.2 | 0.378 | 0.0283 | 2.404 | Volume | 51.58 | 0.738 | 0.514 | 11.672 | 6.68 | 42.363 | 108.522 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14889 | 0.21906 | 0.28242 | 0.32232 | 0.34921 | 0.36239 | 0.36984 | 0.37811 | 0.39371 | 0.41921 | 0.4536 | 0.49267 | 0.53338 | 0.57521 | 0.61937 | 0.66794 | 0.7231 | 0.78812 | 0.86459 | 0.95653 | 1.0651 | 1.1976 | 1.357 | 1.5574 | 1.8035 | 2.1135 | 2.4879 | 2.938 | 3.4485 | 4.0106 | 4.5894 | 5.1556 | 5.6652 | 6.0795 | 6.3582 | 6.4646 | 6.3685 | 6.0517 | 5.5079 | 4.7698 | 3.8809 | 2.9443 | 2.039 | 1.2683 | 0.67984 | 0.27838 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_10_12 | 10 | 10 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 12:50:53 PM | Monday, December 21, 2015 12:50:55 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.98 | 0.368 | 0.0273 | 2.397 | Volume | 50.504 | 0.736 | 0.523 | 11.477 | 6.447 | 41.625 | 106.22 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1488 | 0.22029 | 0.28513 | 0.32621 | 0.35429 | 0.36856 | 0.37714 | 0.3866 | 0.40347 | 0.43032 | 0.46606 | 0.50643 | 0.54845 | 0.59172 | 0.63761 | 0.68833 | 0.74612 | 0.81426 | 0.89411 | 0.98948 | 1.1011 | 1.236 | 1.3968 | 1.5977 | 1.8435 | 2.1528 | 2.5263 | 2.9757 | 3.4858 | 4.0479 | 4.6268 | 5.1927 | 5.7008 | 6.1113 | 6.3826 | 6.4768 | 6.3629 | 6.0232 | 5.4535 | 4.6898 | 3.7787 | 2.8273 | 1.9148 | 1.1496 | 0.56968 | 0.19236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_12_14 | 12 | 12 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 12:59:06 PM | Monday, December 21, 2015 12:59:07 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.74 | 0.369 | 0.0216 | 2.418 | Volume | 50.573 | 0.738 | 0.561 | 10.701 | 5.523 | 41.783 | 106.566 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064465 | 0.15532 | 0.23641 | 0.29906 | 0.34672 | 0.37787 | 0.39741 | 0.41165 | 0.42779 | 0.45228 | 0.48752 | 0.53227 | 0.5818 | 0.63259 | 0.68335 | 0.73419 | 0.78569 | 0.83829 | 0.89336 | 0.95104 | 1.0141 | 1.0847 | 1.1712 | 1.2821 | 1.4362 | 1.6465 | 1.937 | 2.3135 | 2.7891 | 3.345 | 3.9661 | 4.6061 | 5.2248 | 5.7679 | 6.1908 | 6.4523 | 6.5203 | 6.3729 | 6.0029 | 5.414 | 4.647 | 3.7477 | 2.818 | 1.9304 | 1.1834 | 0.61443 | 0.2323 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_12_14 | 12 | 12 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 12:59:47 PM | Monday, December 21, 2015 12:59:49 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.09 | 0.37 | 0.0216 | 2.454 | Volume | 50.077 | 0.75 | 0.576 | 10.417 | 5.196 | 41.152 | 106.196 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064443 | 0.15826 | 0.24198 | 0.30687 | 0.35649 | 0.3893 | 0.41035 | 0.42617 | 0.44419 | 0.47109 | 0.5093 | 0.55752 | 0.61077 | 0.66526 | 0.71941 | 0.77305 | 0.82653 | 0.88011 | 0.93509 | 0.99163 | 1.0526 | 1.1205 | 1.204 | 1.312 | 1.4637 | 1.6723 | 1.9619 | 2.3377 | 2.8118 | 3.3641 | 3.978 | 4.6061 | 5.208 | 5.7304 | 6.1311 | 6.3726 | 6.4265 | 6.2737 | 5.9078 | 5.3308 | 4.5802 | 3.6986 | 2.7843 | 1.9095 | 1.1718 | 0.61265 | 0.23937 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_14_16 | 14 | 14 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:07:41 PM | Monday, December 21, 2015 1:07:43 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.49 | 0.353 | 0.0244 | 2.44 | Volume | 49.464 | 0.746 | 0.572 | 10.486 | 5.426 | 40.625 | 104.55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.069538 | 0.1626 | 0.24578 | 0.3098 | 0.35806 | 0.389 | 0.40771 | 0.42074 | 0.43569 | 0.45928 | 0.49408 | 0.53877 | 0.58834 | 0.63888 | 0.68886 | 0.73826 | 0.78773 | 0.83801 | 0.89105 | 0.94788 | 1.0123 | 1.0877 | 1.1835 | 1.3087 | 1.4825 | 1.7161 | 2.0322 | 2.4328 | 2.9277 | 3.494 | 4.1138 | 4.7396 | 5.3314 | 5.8368 | 6.2144 | 6.4273 | 6.4479 | 6.2591 | 5.8578 | 5.2503 | 4.4787 | 3.5883 | 2.6785 | 1.8184 | 1.1021 | 0.56198 | 0.20597 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_14_16 | 14 | 14 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:08:23 PM | Monday, December 21, 2015 1:08:24 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.42 | 0.358 | 0.0241 | 2.466 | Volume | 49.347 | 0.754 | 0.574 | 10.451 | 5.362 | 40.278 | 104.681 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.066383 | 0.16047 | 0.24441 | 0.30914 | 0.35814 | 0.38978 | 0.40911 | 0.42269 | 0.43809 | 0.46211 | 0.49736 | 0.54267 | 0.59315 | 0.64499 | 0.69662 | 0.74784 | 0.79907 | 0.85075 | 0.90464 | 0.96161 | 1.0256 | 1.1 | 1.195 | 1.32 | 1.4947 | 1.731 | 2.0516 | 2.4582 | 2.9594 | 3.5307 | 4.1521 | 4.7738 | 5.3545 | 5.8423 | 6.1974 | 6.3864 | 6.386 | 6.1828 | 5.7767 | 5.1744 | 4.417 | 3.5473 | 2.6603 | 1.8228 | 1.123 | 0.59617 | 0.2418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_16_18 | 16 | 16 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:16:15 PM | Monday, December 21, 2015 1:16:17 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.36 | 0.498 | 0.029 | 2.195 | Volume | 62.57 | 0.675 | 0.47 | 12.777 | 7.185 | 54.852 | 127.562 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13377 | 0.19681 | 0.25435 | 0.29174 | 0.31862 | 0.33453 | 0.34686 | 0.36139 | 0.38383 | 0.41586 | 0.45581 | 0.49871 | 0.54063 | 0.58001 | 0.61721 | 0.65385 | 0.69224 | 0.73585 | 0.78704 | 0.84946 | 0.92411 | 1.015 | 1.122 | 1.2514 | 1.4031 | 1.5866 | 1.8035 | 2.0674 | 2.3829 | 2.7663 | 3.2234 | 3.7664 | 4.3895 | 5.0762 | 5.7814 | 6.4303 | 6.9285 | 7.1669 | 7.0597 | 6.5688 | 5.7134 | 4.6115 | 3.3902 | 2.2361 | 1.2603 | 0.54043 | 0.08591 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_16_18 | 16 | 16 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:16:56 PM | Monday, December 21, 2015 1:16:58 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.17 | 0.492 | 0.0284 | 2.193 | Volume | 61.88 | 0.675 | 0.473 | 12.693 | 7.072 | 54.369 | 126.277 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13267 | 0.19624 | 0.25446 | 0.29242 | 0.31992 | 0.33638 | 0.34923 | 0.36421 | 0.38708 | 0.41955 | 0.46005 | 0.50365 | 0.54651 | 0.58701 | 0.62543 | 0.66325 | 0.70266 | 0.7471 | 0.79892 | 0.86191 | 0.93724 | 1.0291 | 1.1377 | 1.2694 | 1.424 | 1.6107 | 1.8307 | 2.097 | 2.4135 | 2.796 | 3.25 | 3.7883 | 4.4057 | 5.0867 | 5.7876 | 6.4337 | 6.9301 | 7.1663 | 7.0543 | 6.5549 | 5.6873 | 4.5711 | 3.3376 | 2.1723 | 1.199 | 0.48118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_18_20 | 18 | 18 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:24:30 PM | Monday, December 21, 2015 1:24:31 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.13 | 0.453 | 0.0262 | 2.203 | Volume | 60.124 | 0.676 | 0.471 | 12.733 | 7.209 | 52.405 | 122.646 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13095 | 0.1945 | 0.25273 | 0.29064 | 0.31804 | 0.33428 | 0.34667 | 0.36088 | 0.38261 | 0.41365 | 0.45258 | 0.49473 | 0.53651 | 0.5765 | 0.61501 | 0.65343 | 0.69363 | 0.73851 | 0.78985 | 0.85092 | 0.92273 | 1.0099 | 1.114 | 1.2438 | 1.4023 | 1.6029 | 1.8497 | 2.1584 | 2.5311 | 2.98 | 3.501 | 4.0949 | 4.7429 | 5.4176 | 6.0688 | 6.6241 | 6.9992 | 7.1037 | 6.8705 | 6.282 | 5.3682 | 4.2518 | 3.0549 | 1.951 | 1.041 | 0.38672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_18_20 | 18 | 18 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:25:11 PM | Monday, December 21, 2015 1:25:13 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.03 | 0.446 | 0.026 | 2.223 | Volume | 60.093 | 0.683 | 0.47 | 12.771 | 7.171 | 52.119 | 123.033 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12626 | 0.18953 | 0.24789 | 0.28606 | 0.31402 | 0.33094 | 0.34411 | 0.35909 | 0.38152 | 0.41318 | 0.45271 | 0.49562 | 0.53846 | 0.5799 | 0.62023 | 0.66062 | 0.70264 | 0.74898 | 0.80121 | 0.86257 | 0.9343 | 1.0214 | 1.126 | 1.2575 | 1.4191 | 1.6242 | 1.8763 | 2.1899 | 2.5658 | 3.0144 | 3.5304 | 4.1142 | 4.7471 | 5.4036 | 6.0356 | 6.5737 | 6.9362 | 7.0348 | 6.8033 | 6.224 | 5.3263 | 4.2306 | 3.0577 | 1.9743 | 1.0854 | 0.43835 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_20_21 | 20 | 20 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:31:52 PM | Monday, December 21, 2015 1:31:53 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.56 | 0.462 | 0.0254 | 2.149 | Volume | 60.62 | 0.657 | 0.463 | 12.948 | 7.501 | 53.399 | 122.262 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13113 | 0.19368 | 0.25088 | 0.28807 | 0.31483 | 0.33054 | 0.34239 | 0.35593 | 0.37674 | 0.4065 | 0.44372 | 0.48378 | 0.52308 | 0.56027 | 0.59576 | 0.63106 | 0.66829 | 0.71055 | 0.75977 | 0.81901 | 0.8888 | 0.97269 | 1.0711 | 1.1915 | 1.3367 | 1.5204 | 1.7499 | 2.0446 | 2.4119 | 2.8693 | 3.4157 | 4.0529 | 4.758 | 5.4967 | 6.2084 | 6.81 | 7.2092 | 7.311 | 7.0498 | 6.4146 | 5.4449 | 4.2761 | 3.0387 | 1.9141 | 0.99989 | 0.35721 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_20_21 | 20 | 20 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:32:33 PM | Monday, December 21, 2015 1:32:35 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.52 | 0.46 | 0.0254 | 2.163 | Volume | 60.938 | 0.662 | 0.461 | 13.003 | 7.497 | 53.544 | 123.288 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12659 | 0.18901 | 0.24646 | 0.28401 | 0.3114 | 0.3279 | 0.34065 | 0.35511 | 0.37678 | 0.40728 | 0.4451 | 0.48561 | 0.52527 | 0.56273 | 0.59841 | 0.63382 | 0.67109 | 0.71337 | 0.7627 | 0.82233 | 0.89297 | 0.97845 | 1.0793 | 1.2029 | 1.3518 | 1.539 | 1.7706 | 2.0645 | 2.4268 | 2.8739 | 3.4049 | 4.0226 | 4.7072 | 5.428 | 6.1284 | 6.7288 | 7.1382 | 7.261 | 7.0284 | 6.4245 | 5.4837 | 4.3357 | 3.1086 | 1.9813 | 1.0571 | 0.39569 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_40_41 | 40 | 40 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:41:27 PM | Monday, December 21, 2015 1:41:28 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.08 | 0.477 | 0.0225 | 2.226 | Volume | 60.127 | 0.686 | 0.457 | 13.136 | 7.747 | 51.918 | 123.328 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12396 | 0.18487 | 0.24037 | 0.27594 | 0.30117 | 0.31554 | 0.32623 | 0.33889 | 0.35915 | 0.38885 | 0.42656 | 0.46767 | 0.50843 | 0.54723 | 0.58422 | 0.62081 | 0.6592 | 0.70314 | 0.75568 | 0.82182 | 0.90425 | 1.0093 | 1.1386 | 1.3008 | 1.4952 | 1.7315 | 2.0072 | 2.3323 | 2.7034 | 3.13 | 3.6092 | 4.1463 | 4.7311 | 5.346 | 5.9503 | 6.4787 | 6.8498 | 6.9712 | 6.7708 | 6.2226 | 5.3496 | 4.2668 | 3.0934 | 1.9995 | 1.0898 | 0.42268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_40_41 | 40 | 40 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:42:08 PM | Monday, December 21, 2015 1:42:10 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.12 | 0.477 | 0.0224 | 2.244 | Volume | 59.828 | 0.692 | 0.46 | 13.046 | 7.552 | 51.495 | 123.093 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12163 | 0.18287 | 0.23891 | 0.27494 | 0.30078 | 0.31583 | 0.32739 | 0.34112 | 0.3627 | 0.3939 | 0.43328 | 0.47614 | 0.51872 | 0.5594 | 0.59831 | 0.6368 | 0.67706 | 0.72277 | 0.77688 | 0.84432 | 0.92766 | 1.0332 | 1.1625 | 1.3244 | 1.5181 | 1.7534 | 2.028 | 2.3517 | 2.721 | 3.1452 | 3.6211 | 4.1536 | 4.7321 | 5.3391 | 5.9338 | 6.4515 | 6.8116 | 6.9229 | 6.7145 | 6.1621 | 5.2903 | 4.2148 | 3.0563 | 1.9809 | 1.0966 | 0.44989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_60_61 | 60 | 60 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:51:01 PM | Monday, December 21, 2015 1:51:02 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.83 | 0.639 | 0.0318 | 1.935 | Volume | 76.154 | 0.593 | 0.347 | 17.288 | 12.11 | 69.99 | 147.538 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.090354 | 0.13547 | 0.1763 | 0.20191 | 0.21953 | 0.22897 | 0.23583 | 0.24467 | 0.25992 | 0.28299 | 0.31254 | 0.34437 | 0.37463 | 0.40095 | 0.42264 | 0.44067 | 0.45778 | 0.4788 | 0.50933 | 0.55657 | 0.62564 | 0.72281 | 0.84703 | 0.99992 | 1.1704 | 1.3544 | 1.5384 | 1.7227 | 1.9094 | 2.1216 | 2.3911 | 2.7666 | 3.2912 | 3.9955 | 4.8707 | 5.8539 | 6.8322 | 7.637 | 8.1051 | 8.0963 | 7.5545 | 6.5426 | 5.1835 | 3.7161 | 2.3058 | 1.1527 | 0.3187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_60_61 | 60 | 60 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:51:42 PM | Monday, December 21, 2015 1:51:44 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.85 | 0.648 | 0.032 | 1.934 | Volume | 76.4 | 0.593 | 0.345 | 17.39 | 12.13 | 70.231 | 147.966 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.087179 | 0.13222 | 0.17322 | 0.19905 | 0.21707 | 0.22698 | 0.23439 | 0.24376 | 0.2595 | 0.28294 | 0.3127 | 0.34455 | 0.37464 | 0.40064 | 0.42197 | 0.43972 | 0.45677 | 0.47803 | 0.5091 | 0.5571 | 0.62699 | 0.72487 | 0.8495 | 1.0023 | 1.1721 | 1.3547 | 1.5364 | 1.7177 | 1.9007 | 2.1087 | 2.3739 | 2.7455 | 3.2671 | 3.9702 | 4.847 | 5.8349 | 6.8208 | 7.6349 | 8.1124 | 8.111 | 7.5739 | 6.5644 | 5.2065 | 3.7405 | 2.331 | 1.178 | 0.33759 | 0.0053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_80_81 | 80 | 80 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:59:05 PM | Monday, December 21, 2015 1:59:07 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.29 | 0.887 | 0.0441 | 1.627 | Volume | 96.073 | 0.461 | 0.258 | 23.251 | 18.346 | 92.124 | 168.187 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.061359 | 0.09476 | 0.12017 | 0.1394 | 0.15197 | 0.16069 | 0.16895 | 0.18045 | 0.19835 | 0.22323 | 0.25339 | 0.28448 | 0.31217 | 0.33321 | 0.34615 | 0.35161 | 0.35273 | 0.35505 | 0.36567 | 0.39251 | 0.44108 | 0.51495 | 0.60837 | 0.71266 | 0.8057 | 0.86674 | 0.87334 | 0.81688 | 0.71213 | 0.60317 | 0.57104 | 0.72289 | 1.1722 | 2.0112 | 3.2694 | 4.8801 | 6.6819 | 8.3991 | 9.7471 | 10.4376 | 10.3195 | 9.3972 | 7.8112 | 5.8881 | 3.8863 | 2.1545 | 0.83112 | 0.018187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_80_81 | 80 | 80 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 1:59:47 PM | Monday, December 21, 2015 1:59:49 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.29 | 0.863 | 0.0424 | 1.645 | Volume | 94.924 | 0.466 | 0.268 | 22.347 | 16.868 | 91.237 | 166.947 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064016 | 0.098943 | 0.12555 | 0.14575 | 0.15903 | 0.16833 | 0.17721 | 0.18951 | 0.20858 | 0.23503 | 0.26713 | 0.30035 | 0.33024 | 0.35342 | 0.36835 | 0.37566 | 0.37848 | 0.38238 | 0.39448 | 0.42272 | 0.47251 | 0.54733 | 0.64127 | 0.74554 | 0.83807 | 0.89835 | 0.90435 | 0.84788 | 0.74405 | 0.63694 | 0.60712 | 0.76081 | 1.2101 | 2.0456 | 3.2954 | 4.8921 | 6.6747 | 8.3694 | 9.6944 | 10.3651 | 10.2328 | 9.3031 | 7.7155 | 5.7931 | 3.7949 | 2.0653 | 0.74393 | 0.015301 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_93_94 | 93 | 93 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:07:08 PM | Monday, December 21, 2015 2:07:10 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.95 | 0.427 | 0.0142 | 3.645 | Volume | 50.251 | 1.21 | 0.935 | 6.416 | 2.356 | 33.174 | 123.279 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008692 | 0.1379 | 0.28336 | 0.40956 | 0.50975 | 0.59037 | 0.65199 | 0.70378 | 0.75787 | 0.82541 | 0.91594 | 1.0287 | 1.1563 | 1.2837 | 1.3992 | 1.4976 | 1.58 | 1.6516 | 1.7207 | 1.7975 | 1.8885 | 1.9989 | 2.1234 | 2.2554 | 2.3764 | 2.4719 | 2.5216 | 2.5159 | 2.4552 | 2.3537 | 2.2437 | 2.1667 | 2.173 | 2.308 | 2.5998 | 3.0496 | 3.6203 | 4.2357 | 4.7959 | 5.1839 | 5.3063 | 5.1063 | 4.5845 | 3.8199 | 2.9121 | 2.0105 | 1.2152 | 0.60025 | 0.18685 | 0.010853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_93_94 | 93 | 93 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:07:50 PM | Monday, December 21, 2015 2:07:52 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.37 | 0.423 | 0.0138 | 4.164 | Volume | 46.939 | 1.37 | 0.995 | 6.028 | 2.199 | 27.83 | 118.074 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008955 | 0.14245 | 0.29898 | 0.43493 | 0.54312 | 0.63056 | 0.6978 | 0.7547 | 0.8143 | 0.88851 | 0.98753 | 1.1104 | 1.2491 | 1.3871 | 1.5121 | 1.6182 | 1.7065 | 1.7828 | 1.8558 | 1.9359 | 2.0298 | 2.1422 | 2.2672 | 2.3973 | 2.5134 | 2.6006 | 2.6393 | 2.6207 | 2.5471 | 2.4339 | 2.3146 | 2.2299 | 2.2281 | 2.3509 | 2.6222 | 3.0392 | 3.5627 | 4.1178 | 4.6089 | 4.9279 | 4.9906 | 4.7509 | 4.2158 | 3.4674 | 2.6024 | 1.7621 | 1.0356 | 0.48673 | 0.12787 | 0.007114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_100_101 | 100 | 100 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:15:34 PM | Monday, December 21, 2015 2:15:36 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.73 | 0.371 | 0.0214 | 2.443 | Volume | 53.782 | 0.745 | 0.467 | 12.861 | 8.54 | 42.797 | 113.081 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12661 | 0.19096 | 0.24986 | 0.28728 | 0.31303 | 0.32596 | 0.33316 | 0.34045 | 0.35393 | 0.37656 | 0.4082 | 0.44557 | 0.48545 | 0.52547 | 0.56352 | 0.59762 | 0.6263 | 0.65008 | 0.67137 | 0.69729 | 0.73896 | 0.81517 | 0.94612 | 1.1612 | 1.476 | 1.9139 | 2.4631 | 3.1168 | 3.8235 | 4.5409 | 5.1996 | 5.7522 | 6.1555 | 6.393 | 6.4642 | 6.3795 | 6.1495 | 5.7817 | 5.2718 | 4.6327 | 3.8754 | 3.0635 | 2.247 | 1.5153 | 0.91049 | 0.46318 | 0.1709 | 0.010271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_100_101 | 100 | 100 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:16:15 PM | Monday, December 21, 2015 2:16:17 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.01 | 0.369 | 0.0217 | 2.492 | Volume | 54.182 | 0.761 | 0.472 | 12.708 | 8.163 | 42.68 | 114.537 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12674 | 0.19179 | 0.25147 | 0.28952 | 0.31596 | 0.32963 | 0.33778 | 0.34629 | 0.36134 | 0.38584 | 0.41959 | 0.45916 | 0.50125 | 0.54342 | 0.58352 | 0.61947 | 0.64965 | 0.67451 | 0.69631 | 0.72207 | 0.7628 | 0.83713 | 0.96519 | 1.1762 | 1.486 | 1.918 | 2.4606 | 3.1075 | 3.8071 | 4.5173 | 5.1682 | 5.712 | 6.1051 | 6.3315 | 6.3917 | 6.2986 | 6.0653 | 5.7017 | 5.2049 | 4.587 | 3.8565 | 3.073 | 2.2811 | 1.5703 | 0.97131 | 0.53022 | 0.23578 | 0.066138 | 0.00653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_120_121 | 120 | 120 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:23:52 PM | Monday, December 21, 2015 2:23:54 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.71 | 0.87 | 0.0502 | 1.566 | Volume | 94.389 | 0.455 | 0.236 | 25.427 | 23.984 | 89.693 | 164.444 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.055203 | 0.086159 | 0.10957 | 0.12713 | 0.13812 | 0.14516 | 0.15124 | 0.15971 | 0.17336 | 0.19264 | 0.21586 | 0.23898 | 0.25813 | 0.2707 | 0.27598 | 0.27541 | 0.27284 | 0.27423 | 0.28667 | 0.31754 | 0.37109 | 0.44935 | 0.54474 | 0.64746 | 0.73574 | 0.79128 | 0.79687 | 0.75124 | 0.67718 | 0.62612 | 0.68083 | 0.94477 | 1.5177 | 2.4715 | 3.8108 | 5.4453 | 7.1988 | 8.7954 | 9.9651 | 10.4531 | 10.1426 | 9.077 | 7.4165 | 5.4926 | 3.5528 | 1.9147 | 0.69073 | 0.014283 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_120_121 | 120 | 120 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:24:33 PM | Monday, December 21, 2015 2:24:35 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.7 | 0.878 | 0.0499 | 1.569 | Volume | 94.196 | 0.455 | 0.237 | 25.332 | 23.576 | 89.561 | 164.127 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.054365 | 0.085736 | 0.10943 | 0.12733 | 0.13849 | 0.14569 | 0.15188 | 0.1605 | 0.17436 | 0.19396 | 0.21756 | 0.24112 | 0.26069 | 0.27365 | 0.27926 | 0.27895 | 0.27661 | 0.2782 | 0.29085 | 0.32197 | 0.37578 | 0.45427 | 0.54977 | 0.65241 | 0.74045 | 0.79566 | 0.80099 | 0.75531 | 0.68144 | 0.63073 | 0.68569 | 0.94949 | 1.5217 | 2.4743 | 3.8123 | 5.4462 | 7.2001 | 8.7981 | 9.9694 | 10.4572 | 10.1433 | 9.0706 | 7.4003 | 5.4676 | 3.5237 | 1.8898 | 0.67875 | 0.013999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_140_141 | 140 | 140 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:32:17 PM | Monday, December 21, 2015 2:32:19 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.69 | 0.854 | 0.0663 | 1.129 | Volume | 99.275 | 0.364 | 0.143 | 41.879 | 51.643 | 94.273 | 158.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.051229 | 0.075198 | 0.081311 | 0.081591 | 0.085322 | 0.088944 | 0.096478 | 0.10736 | 0.12006 | 0.13112 | 0.13704 | 0.1355 | 0.12619 | 0.1112 | 0.095509 | 0.086016 | 0.090863 | 0.11744 | 0.16887 | 0.244 | 0.33024 | 0.41072 | 0.4577 | 0.44676 | 0.36401 | 0.20925 | 0.040667 | 0 | 0.000932 | 0.13624 | 0.6805 | 1.7563 | 3.4481 | 5.6699 | 8.1627 | 10.4742 | 12.1374 | 12.7323 | 12.0993 | 10.3861 | 7.9437 | 5.3481 | 3.0032 | 1.2838 | 0.24666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_140_141 | 140 | 140 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:32:58 PM | Monday, December 21, 2015 2:33:00 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.51 | 0.873 | 0.0646 | 1.13 | Volume | 99.172 | 0.364 | 0.144 | 41.561 | 51.486 | 94.262 | 157.988 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.051371 | 0.075506 | 0.081743 | 0.082188 | 0.086079 | 0.089878 | 0.097614 | 0.10873 | 0.12175 | 0.1332 | 0.13963 | 0.13866 | 0.12996 | 0.11557 | 0.10038 | 0.091222 | 0.096165 | 0.12254 | 0.17348 | 0.24786 | 0.3333 | 0.41316 | 0.46003 | 0.44992 | 0.36846 | 0.21778 | 0.044242 | 0 | 0.002611 | 0.14423 | 0.68711 | 1.7581 | 3.4419 | 5.6549 | 8.1412 | 10.4513 | 12.1194 | 12.7241 | 12.1026 | 10.3976 | 7.957 | 5.3556 | 3.0004 | 1.269 | 0.22255 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_160_161 | 160 | 160 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:41:45 PM | Monday, December 21, 2015 2:41:47 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.71 | 0.797 | 0.0426 | 1.807 | Volume | 89.534 | 0.538 | 0.326 | 18.413 | 13.048 | 85.271 | 167.096 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.086061 | 0.12645 | 0.16324 | 0.18724 | 0.20493 | 0.21643 | 0.22704 | 0.24095 | 0.26233 | 0.29225 | 0.32929 | 0.36892 | 0.40668 | 0.43901 | 0.46362 | 0.47974 | 0.48856 | 0.49367 | 0.50058 | 0.51676 | 0.5496 | 0.60683 | 0.69063 | 0.80228 | 0.9304 | 1.0645 | 1.1841 | 1.2774 | 1.3394 | 1.3879 | 1.4645 | 1.639 | 1.9938 | 2.6078 | 3.5228 | 4.7125 | 6.0748 | 7.4093 | 8.4928 | 9.083 | 9.0351 | 8.324 | 7.0376 | 5.4293 | 3.7018 | 2.1655 | 0.95651 | 0.023105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_160_161 | 160 | 160 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:42:26 PM | Monday, December 21, 2015 2:42:28 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.74 | 0.806 | 0.0434 | 1.792 | Volume | 89.852 | 0.532 | 0.319 | 18.797 | 13.339 | 85.731 | 166.978 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.081256 | 0.12074 | 0.15682 | 0.18031 | 0.19772 | 0.20914 | 0.21984 | 0.23396 | 0.25562 | 0.28587 | 0.32322 | 0.3631 | 0.40098 | 0.43319 | 0.45741 | 0.47293 | 0.48102 | 0.48545 | 0.49191 | 0.50805 | 0.54146 | 0.59994 | 0.68556 | 0.79932 | 0.92916 | 1.0638 | 1.1815 | 1.27 | 1.3238 | 1.3614 | 1.4266 | 1.5915 | 1.9419 | 2.5599 | 3.4888 | 4.7018 | 6.094 | 7.4594 | 8.5687 | 9.1733 | 9.1257 | 8.4011 | 7.0918 | 5.457 | 3.7054 | 2.1498 | 0.9268 | 0.022017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_180_181 | 180 | 180 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:50:18 PM | Monday, December 21, 2015 2:50:19 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.02 | 0.893 | 0.0613 | 1.078 | Volume | 107.735 | 0.349 | 0.177 | 33.837 | 56.375 | 104.85 | 169.436 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.054197 | 0.07762 | 0.090031 | 0.097172 | 0.10372 | 0.10971 | 0.11889 | 0.13326 | 0.15323 | 0.17725 | 0.20151 | 0.22188 | 0.23481 | 0.23822 | 0.23217 | 0.21966 | 0.20638 | 0.20066 | 0.2118 | 0.24754 | 0.31261 | 0.4016 | 0.50345 | 0.5911 | 0.63591 | 0.60484 | 0.48332 | 0.26349 | 0.049629 | 0 | 0 | 0.011844 | 0.33422 | 1.2293 | 2.9149 | 5.4098 | 8.3788 | 11.2319 | 13.1831 | 13.6775 | 12.5468 | 10.098 | 7.0801 | 4.1556 | 1.9497 | 0.5992 | 0.023641 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_180_181 | 180 | 180 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 2:50:59 PM | Monday, December 21, 2015 2:51:01 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.94 | 0.91 | 0.0601 | 1.083 | Volume | 107.693 | 0.351 | 0.179 | 33.474 | 56.006 | 104.868 | 169.617 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05409 | 0.077817 | 0.090523 | 0.098086 | 0.105 | 0.11142 | 0.12103 | 0.13588 | 0.15632 | 0.18083 | 0.20558 | 0.22645 | 0.2399 | 0.24385 | 0.23835 | 0.22635 | 0.2135 | 0.20808 | 0.21934 | 0.255 | 0.31985 | 0.40858 | 0.5103 | 0.59811 | 0.64347 | 0.6135 | 0.49278 | 0.27573 | 0.055298 | 0 | 0 | 0.011925 | 0.33413 | 1.2236 | 2.9 | 5.3836 | 8.3423 | 11.1897 | 13.1427 | 13.6471 | 12.532 | 10.1001 | 7.0945 | 4.1741 | 1.965 | 0.6081 | 0.026012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_200_201 | 200 | 200 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 3:02:12 PM | Monday, December 21, 2015 3:02:13 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.27 | 0.517 | 0.0137 | 3.006 | Volume | 60.201 | 1 | 0.763 | 7.861 | 3.026 | 46.055 | 141.467 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005334 | 0.086533 | 0.20955 | 0.31518 | 0.39798 | 0.46375 | 0.51242 | 0.55197 | 0.59268 | 0.64447 | 0.71592 | 0.80719 | 0.91273 | 1.0201 | 1.1196 | 1.2062 | 1.28 | 1.3455 | 1.4099 | 1.4833 | 1.5737 | 1.6889 | 1.8275 | 1.9873 | 2.1517 | 2.3071 | 2.4267 | 2.4931 | 2.4909 | 2.4196 | 2.2976 | 2.1597 | 2.061 | 2.0636 | 2.2265 | 2.5882 | 3.1498 | 3.8626 | 4.6335 | 5.3233 | 5.795 | 5.9242 | 5.654 | 5.0141 | 4.0872 | 3.0472 | 2.0114 | 1.1439 | 0.49819 | 0.011993 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_200_201 | 200 | 200 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 3:02:53 PM | Monday, December 21, 2015 3:02:55 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.97 | 0.509 | 0.0134 | 3.053 | Volume | 59.481 | 1.02 | 0.759 | 7.907 | 3.051 | 44.93 | 140.209 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.083153 | 0.20048 | 0.3053 | 0.38761 | 0.45334 | 0.50241 | 0.54282 | 0.58477 | 0.6381 | 0.71129 | 0.80443 | 0.91193 | 1.0214 | 1.1232 | 1.2122 | 1.2889 | 1.3577 | 1.4258 | 1.5035 | 1.5986 | 1.7189 | 1.8629 | 2.0283 | 2.1978 | 2.3576 | 2.4801 | 2.5475 | 2.5434 | 2.4674 | 2.3378 | 2.1898 | 2.08 | 2.0718 | 2.2256 | 2.581 | 3.1391 | 3.8501 | 4.6192 | 5.3052 | 5.7706 | 5.8913 | 5.6117 | 4.9631 | 4.0297 | 2.9859 | 1.9509 | 1.0856 | 0.44055 | 0.010076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_220_221 | 220 | 220 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 3:11:57 PM | Monday, December 21, 2015 3:11:59 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.87 | 0.954 | 0.1258 | 1.095 | Volume | 101.722 | 0.347 | 0.0767 | 78.272 | 55.185 | 95.166 | 159.388 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.025391 | 0.1402 | 0.22283 | 0.29577 | 0.34519 | 0.34368 | 0.27962 | 0.15067 | 0.022042 | 0 | 0 | 0 | 0.05224 | 0.67764 | 1.8637 | 3.682 | 6.0103 | 8.5599 | 10.8648 | 12.4662 | 12.9711 | 12.2511 | 10.4811 | 8.0197 | 5.4351 | 3.1081 | 1.3936 | 0.33801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_220_221 | 220 | 220 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 3:12:39 PM | Monday, December 21, 2015 3:12:40 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.63 | 0.954 | 0.1224 | 1.095 | Volume | 101.53 | 0.347 | 0.0769 | 78.013 | 55.051 | 95.011 | 159.097 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.026352 | 0.14509 | 0.2271 | 0.29971 | 0.34856 | 0.34648 | 0.28191 | 0.1533 | 0.022762 | 0 | 0 | 0 | 0.054345 | 0.69394 | 1.8845 | 3.7064 | 6.0349 | 8.5811 | 10.879 | 12.471 | 12.9662 | 12.2374 | 10.4606 | 7.9941 | 5.4065 | 3.08 | 1.3714 | 0.32745 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_240_241 | 240 | 240 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 3:20:53 PM | Monday, December 21, 2015 3:20:55 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.5 | 0.902 | 0.0694 | 1.281 | Volume | 96.849 | 0.404 | 0.148 | 40.566 | 45.186 | 90.442 | 161.032 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.051256 | 0.07608 | 0.082865 | 0.083695 | 0.087437 | 0.090653 | 0.097166 | 0.10634 | 0.11661 | 0.1247 | 0.12758 | 0.12373 | 0.11377 | 0.10057 | 0.089443 | 0.087079 | 0.10047 | 0.13538 | 0.19259 | 0.26906 | 0.35123 | 0.42311 | 0.4609 | 0.44692 | 0.37492 | 0.25931 | 0.14808 | 0.1186 | 0.27559 | 0.73373 | 1.583 | 2.8661 | 4.5382 | 6.4498 | 8.3713 | 9.9911 | 11.0351 | 11.2797 | 10.6587 | 9.2861 | 7.3725 | 5.2874 | 3.284 | 1.6563 | 0.48408 | 0.007866 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_240_241 | 240 | 240 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 3:21:35 PM | Monday, December 21, 2015 3:21:37 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.42 | 0.917 | 0.0694 | 1.274 | Volume | 97.104 | 0.402 | 0.147 | 40.885 | 45.603 | 90.717 | 161.159 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.050399 | 0.074957 | 0.081746 | 0.082676 | 0.08644 | 0.089715 | 0.096268 | 0.10547 | 0.11575 | 0.12381 | 0.12666 | 0.12273 | 0.11261 | 0.099145 | 0.087622 | 0.084752 | 0.097626 | 0.13215 | 0.18931 | 0.26619 | 0.34925 | 0.42233 | 0.46115 | 0.44737 | 0.37394 | 0.25446 | 0.13663 | 0.097994 | 0.24457 | 0.69305 | 1.5361 | 2.8191 | 4.4987 | 6.4253 | 8.3675 | 10.0096 | 11.0736 | 11.3317 | 10.7161 | 9.3404 | 7.4169 | 5.318 | 3.2996 | 1.6582 | 0.47495 | 0.007481 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_260_261 | 260 | 260 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 3:30:42 PM | Monday, December 21, 2015 3:30:44 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.27 | 0.993 | 0.1283 | 1.09 | Volume | 102.825 | 0.347 | 0.078 | 76.936 | 55.7 | 96.655 | 161.02 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.024282 | 0.098945 | 0.1581 | 0.237 | 0.32041 | 0.38532 | 0.40627 | 0.36246 | 0.2663 | 0.053744 | 0 | 0 | 0 | 0.041481 | 0.56535 | 1.6338 | 3.3394 | 5.6001 | 8.1586 | 10.5597 | 12.3283 | 13.0267 | 12.4768 | 10.8063 | 8.3574 | 5.7101 | 3.28 | 1.4649 | 0.33816 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_260_261 | 260 | 260 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 3:31:24 PM | Monday, December 21, 2015 3:31:26 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.05 | 1.005 | 0.1247 | 1.089 | Volume | 102.389 | 0.347 | 0.0785 | 76.388 | 55.458 | 96.291 | 160.308 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.026094 | 0.10569 | 0.16498 | 0.24463 | 0.32843 | 0.3933 | 0.41367 | 0.36862 | 0.27153 | 0.054952 | 0 | 0 | 0 | 0.043447 | 0.58249 | 1.6623 | 3.3812 | 5.653 | 8.2165 | 10.6126 | 12.3647 | 13.037 | 12.4557 | 10.7566 | 8.2882 | 5.635 | 3.213 | 1.4155 | 0.31095 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_271_273 | 271 | 271 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 4:31:30 PM | Monday, December 21, 2015 4:31:31 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.32 | 1.77 | 0.0167 | 4.873 | Volume | 51.384 | 1.45 | 0.817 | 7.345 | 2.923 | 27.703 | 137.933 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006346 | 0.10205 | 0.23256 | 0.34395 | 0.42996 | 0.49646 | 0.54326 | 0.57893 | 0.6144 | 0.66081 | 0.7278 | 0.81663 | 0.9223 | 1.0326 | 1.1371 | 1.2301 | 1.3101 | 1.3799 | 1.4457 | 1.5181 | 1.6074 | 1.7269 | 1.8832 | 2.0855 | 2.3274 | 2.6082 | 2.9025 | 3.1956 | 3.453 | 3.655 | 3.7787 | 3.8192 | 3.7839 | 3.6958 | 3.5882 | 3.4936 | 3.436 | 3.4223 | 3.4403 | 3.4627 | 3.4556 | 3.3892 | 3.2462 | 3.0307 | 2.7477 | 2.4122 | 2.006 | 1.528 | 0.96061 | 0.32113 | 0.008484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_271_273 | 271 | 271 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 4:32:11 PM | Monday, December 21, 2015 4:32:13 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.28 | 1.91 | 0.0165 | 4.972 | Volume | 50.003 | 1.46 | 0.822 | 7.297 | 2.901 | 26.797 | 136.142 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00585 | 0.094749 | 0.22674 | 0.33964 | 0.42726 | 0.49556 | 0.54419 | 0.58168 | 0.61898 | 0.66714 | 0.73587 | 0.82642 | 0.93392 | 1.0462 | 1.1533 | 1.2492 | 1.3328 | 1.4067 | 1.4767 | 1.5531 | 1.6458 | 1.7679 | 1.9261 | 2.1298 | 2.3735 | 2.6572 | 2.9566 | 3.2574 | 3.5246 | 3.7373 | 3.8694 | 3.9124 | 3.8701 | 3.7628 | 3.6229 | 3.4857 | 3.3805 | 3.3217 | 3.3055 | 3.3117 | 3.31 | 3.2706 | 3.1711 | 3.0058 | 2.7662 | 2.4581 | 2.0394 | 1.5227 | 0.89658 | 0.024819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_280_281 | 280 | 280 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 4:44:24 PM | Monday, December 21, 2015 4:44:26 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.7 | 1.01 | 0.0724 | 1.249 | Volume | 101.218 | 0.398 | 0.144 | 41.591 | 48.211 | 95.076 | 166.951 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049942 | 0.073887 | 0.080326 | 0.081047 | 0.084815 | 0.088316 | 0.095456 | 0.1058 | 0.118 | 0.12884 | 0.13505 | 0.13437 | 0.12637 | 0.1128 | 0.098135 | 0.088793 | 0.092617 | 0.11714 | 0.16634 | 0.24066 | 0.32975 | 0.41946 | 0.48378 | 0.49979 | 0.45003 | 0.33531 | 0.18919 | 0.077675 | 0.10453 | 0.39401 | 1.0624 | 2.1889 | 3.7706 | 5.6939 | 7.7471 | 9.6086 | 10.97 | 11.5452 | 11.2099 | 10.0199 | 8.1621 | 6.0095 | 3.8438 | 2.0133 | 0.64093 | 0.011558 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_280_281 | 280 | 280 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 4:43:42 PM | Monday, December 21, 2015 4:43:44 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.96 | 1.007 | 0.0742 | 1.251 | Volume | 101.229 | 0.399 | 0.144 | 41.584 | 48.232 | 94.99 | 167.056 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.050398 | 0.074458 | 0.080824 | 0.081318 | 0.08489 | 0.088185 | 0.095202 | 0.10553 | 0.11785 | 0.12888 | 0.13529 | 0.13472 | 0.12666 | 0.11283 | 0.0977 | 0.087781 | 0.091041 | 0.11513 | 0.16414 | 0.23847 | 0.32769 | 0.41745 | 0.48156 | 0.49697 | 0.44628 | 0.33055 | 0.18379 | 0.072617 | 0.10136 | 0.39468 | 1.0688 | 2.2021 | 3.7904 | 5.7179 | 7.7712 | 9.6271 | 10.9778 | 11.5389 | 11.1892 | 9.9887 | 8.1276 | 5.982 | 3.8321 | 2.0261 | 0.68263 | 0.013176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_300_301 | 300 | 300 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 4:51:30 PM | Monday, December 21, 2015 4:51:32 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.17 | 0.382 | 0.0251 | 2.374 | Volume | 55.787 | 0.728 | 0.542 | 11.074 | 5.767 | 46.927 | 117.159 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06879 | 0.15586 | 0.23383 | 0.29384 | 0.33923 | 0.36875 | 0.38729 | 0.40115 | 0.41746 | 0.44252 | 0.47844 | 0.52363 | 0.57284 | 0.6219 | 0.66895 | 0.71383 | 0.75726 | 0.80039 | 0.84554 | 0.89416 | 0.9497 | 1.0145 | 1.0954 | 1.1979 | 1.3355 | 1.5157 | 1.7558 | 2.0596 | 2.4396 | 2.8867 | 3.3992 | 3.9536 | 4.5333 | 5.1064 | 5.6421 | 6.0996 | 6.4297 | 6.5797 | 6.4971 | 6.1436 | 5.5205 | 4.6572 | 3.6574 | 2.6166 | 1.6723 | 0.90388 | 0.3517 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB7_300_301 | 300 | 300 | 123-ABC | ACC2015 | malvern | Monday, December 21, 2015 4:52:12 PM | Monday, December 21, 2015 4:52:14 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14.24 | 0.383 | 0.0251 | 2.396 | Volume | 55.716 | 0.735 | 0.545 | 11.013 | 5.672 | 46.664 | 117.458 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.066447 | 0.15446 | 0.23319 | 0.29396 | 0.34012 | 0.37036 | 0.38961 | 0.4042 | 0.42128 | 0.4472 | 0.48406 | 0.53025 | 0.58048 | 0.63056 | 0.67863 | 0.72451 | 0.76887 | 0.81276 | 0.85847 | 0.90741 | 0.96315 | 1.0282 | 1.1097 | 1.2135 | 1.3532 | 1.5363 | 1.7799 | 2.0865 | 2.4673 | 2.9119 | 3.4173 | 3.9598 | 4.5235 | 5.0786 | 5.5972 | 6.0415 | 6.3649 | 6.5155 | 6.4401 | 6.0988 | 5.4903 | 4.6421 | 3.656 | 2.6278 | 1.6922 | 0.93078 | 0.37729 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0