## Sheet1
Sample Name | Sample source type | depth corret | Sample bulk lot ref | SOP Name | Operator name | Measurement date and time | Analysis date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Dispersant refractive index | Accessory name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Residual | Concentration | Span | Result transform type | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | Result Between User Sizes (Sizes in um) | [100 empty] | Operator Notes
[30 empty] | 0.01 | 0.011482 | 0.013183 | 0.015136 | 0.017378 | 0.019953 | 0.022909 | 0.026303 | 0.0302 | 0.034674 | 0.039811 | 0.045709 | 0.052481 | 0.060256 | 0.069183 | 0.079433 | 0.091201 | 0.10471 | 0.12023 | 0.13804 | 0.15849 | 0.18197 | 0.20893 | 0.23988 | 0.27542 | 0.31623 | 0.36308 | 0.41687 | 0.47863 | 0.54954 | 0.63096 | 0.72444 | 0.83176 | 0.95499 | 1.0965 | 1.2589 | 1.4454 | 1.6596 | 1.9055 | 2.1878 | 2.5119 | 2.884 | 3.3113 | 3.8019 | 4.3652 | 5.0119 | 5.7544 | 6.6069 | 7.5858 | 8.7096 | 10 | 11.4815 | 13.1826 | 15.1356 | 17.378 | 19.9526 | 22.9087 | 26.3027 | 30.1995 | 34.6737 | 39.8107 | 45.7088 | 52.4807 | 60.256 | 69.1831 | 79.4328 | 91.2011 | 104.7129 | 120.2264 | 138.0384 | 158.4893 | 181.9701 | 208.9296 | 239.8833 | 275.4229 | 316.2278 | 363.0781 | 416.8694 | 478.6301 | 549.5409 | 630.9573 | 724.436 | 831.7638 | 954.9926 | 1096.4782 | 1258.9254 | 1445.4398 | 1659.5869 | 1905.4607 | 2187.7616 | 2511.8864 | 2884.0315 | 3311.3112 | 3801.894 | 4365.1583 | 5011.8723 | 5754.3994 | 6606.9345 | 7585.7757 | 8709.6359 | 10000
depth correct
ACC2015_1_LB9_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:05:33 AM | Wednesday, December 23, 2015 10:05:35 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.86 | 0.296 | 0.0141 | 2.539 | Volume | 34.612 | 0.781 | 0.723 | 8.294 | 3.869 | 27.865 | 74.626 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.078551 | 0.19897 | 0.30496 | 0.38564 | 0.44594 | 0.48409 | 0.50721 | 0.52421 | 0.5453 | 0.57936 | 0.62939 | 0.69299 | 0.76254 | 0.83195 | 0.89876 | 0.96381 | 1.0305 | 1.104 | 1.1929 | 1.3043 | 1.4491 | 1.6326 | 1.8666 | 2.1506 | 2.4966 | 2.8934 | 3.347 | 3.8342 | 4.3476 | 4.8514 | 5.3214 | 5.7149 | 5.9983 | 6.1343 | 6.0942 | 5.8585 | 5.4239 | 4.8036 | 4.0418 | 3.1873 | 2.3272 | 1.513 | 0.86183 | 0.31639 | 0.069106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:06:15 AM | Wednesday, December 23, 2015 10:06:17 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.93 | 0.313 | 0.0141 | 2.542 | Volume | 34.202 | 0.782 | 0.724 | 8.292 | 3.855 | 27.503 | 73.768 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071538 | 0.19235 | 0.29865 | 0.38008 | 0.44157 | 0.48123 | 0.50607 | 0.52488 | 0.54769 | 0.58326 | 0.63448 | 0.699 | 0.76926 | 0.83939 | 0.90714 | 0.9735 | 1.042 | 1.1179 | 1.2095 | 1.324 | 1.4723 | 1.6594 | 1.8973 | 2.1854 | 2.5359 | 2.9372 | 3.3951 | 3.8855 | 4.4003 | 4.9024 | 5.3667 | 5.7496 | 6.0177 | 6.1342 | 6.0722 | 5.8148 | 5.3613 | 4.7278 | 3.9599 | 3.107 | 2.255 | 1.454 | 0.81743 | 0.29058 | 0.057595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_2_4 | 2 | 2 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:13:27 AM | Wednesday, December 23, 2015 10:13:29 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.26 | 0.445 | 0.0132 | 2.654 | Volume | 32.515 | 0.878 | 0.8 | 7.502 | 3.295 | 24.238 | 67.633 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005438 | 0.088854 | 0.22545 | 0.34126 | 0.42933 | 0.49519 | 0.53727 | 0.56368 | 0.58463 | 0.6116 | 0.65462 | 0.71684 | 0.79518 | 0.88005 | 0.96315 | 1.0398 | 1.1093 | 1.1743 | 1.2408 | 1.3192 | 1.4209 | 1.5622 | 1.7548 | 2.0174 | 2.3531 | 2.7766 | 3.2693 | 3.8284 | 4.4091 | 4.9828 | 5.4876 | 5.8796 | 6.1078 | 6.1436 | 5.9749 | 5.6112 | 5.0803 | 4.4254 | 3.6925 | 2.9402 | 2.2091 | 1.5524 | 0.99329 | 0.56901 | 0.28113 | 0.12999 | 0.082838 | 0.099682 | 0.13891 | 0.16545 | 0.16478 | 0.096664 | 0.023117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_2_4 | 2 | 2 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:14:09 AM | Wednesday, December 23, 2015 10:14:10 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.52 | 0.449 | 0.0135 | 2.648 | Volume | 31.956 | 0.87 | 0.803 | 7.471 | 3.282 | 23.946 | 66.685 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005971 | 0.096513 | 0.22795 | 0.33982 | 0.42535 | 0.48979 | 0.53187 | 0.55937 | 0.58219 | 0.61131 | 0.6564 | 0.72035 | 0.80014 | 0.88638 | 0.97091 | 1.0491 | 1.12 | 1.1863 | 1.2539 | 1.3335 | 1.4366 | 1.5801 | 1.7762 | 2.0437 | 2.3856 | 2.8165 | 3.3165 | 3.882 | 4.4667 | 5.0409 | 5.5418 | 5.9247 | 6.1384 | 6.1548 | 5.9638 | 5.5768 | 5.0251 | 4.3551 | 3.6155 | 2.8658 | 2.1456 | 1.5048 | 0.96318 | 0.55328 | 0.27421 | 0.12534 | 0.075575 | 0.088021 | 0.12352 | 0.14809 | 0.1473 | 0.07902 | 0.018199 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_4_6 | 4 | 4 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:19:46 AM | Wednesday, December 23, 2015 10:19:48 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.73 | 0.287 | 0.0149 | 2.596 | Volume | 34.177 | 0.795 | 0.743 | 8.079 | 3.698 | 27.191 | 74.289 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005079 | 0.082949 | 0.20972 | 0.31752 | 0.39972 | 0.46125 | 0.50045 | 0.52463 | 0.54298 | 0.56593 | 0.60252 | 0.6556 | 0.72232 | 0.79421 | 0.86422 | 0.92907 | 0.98921 | 1.0482 | 1.1125 | 1.1918 | 1.2958 | 1.4377 | 1.625 | 1.8711 | 2.1751 | 2.5478 | 2.9731 | 3.4522 | 3.9545 | 4.4674 | 4.9511 | 5.3812 | 5.7196 | 5.9413 | 6.02 | 5.9381 | 5.6837 | 5.2557 | 4.663 | 3.9406 | 3.127 | 2.3 | 1.5066 | 0.86447 | 0.31881 | 0.069528 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_4_6 | 4 | 4 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:20:28 AM | Wednesday, December 23, 2015 10:20:29 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.8 | 0.289 | 0.0149 | 2.615 | Volume | 34.05 | 0.801 | 0.745 | 8.05 | 3.667 | 26.965 | 74.184 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084859 | 0.2076 | 0.31619 | 0.39915 | 0.46145 | 0.5014 | 0.52631 | 0.54542 | 0.56918 | 0.6067 | 0.66082 | 0.72871 | 0.80183 | 0.87311 | 0.93921 | 1.0006 | 1.0609 | 1.1264 | 1.2073 | 1.3131 | 1.4571 | 1.6466 | 1.8951 | 2.201 | 2.5749 | 3.0002 | 3.4779 | 3.9772 | 4.4854 | 4.9628 | 5.3849 | 5.7138 | 5.924 | 5.9902 | 5.8954 | 5.6299 | 5.1946 | 4.601 | 3.8853 | 3.0857 | 2.2773 | 1.5036 | 0.87686 | 0.3414 | 0.087673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_6_8 | 6 | 6 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:26:33 AM | Wednesday, December 23, 2015 10:26:35 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.54 | 0.328 | 0.0157 | 2.455 | Volume | 37.244 | 0.765 | 0.755 | 7.948 | 3.42 | 31.205 | 80.042 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005382 | 0.087495 | 0.2148 | 0.32406 | 0.40889 | 0.47429 | 0.51883 | 0.54953 | 0.57537 | 0.60601 | 0.6498 | 0.70868 | 0.7794 | 0.85376 | 0.92608 | 0.99516 | 1.0634 | 1.1353 | 1.2157 | 1.31 | 1.4197 | 1.5473 | 1.6884 | 1.8443 | 2.0106 | 2.1966 | 2.4063 | 2.6618 | 2.9748 | 3.3691 | 3.843 | 4.393 | 4.9781 | 5.5484 | 6.0262 | 6.3337 | 6.3991 | 6.1765 | 5.6569 | 4.8829 | 3.9224 | 2.8981 | 1.8941 | 1.0764 | 0.38031 | 0.06982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_6_8 | 6 | 6 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:27:14 AM | Wednesday, December 23, 2015 10:27:16 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.44 | 0.322 | 0.0155 | 2.493 | Volume | 36.934 | 0.779 | 0.76 | 7.894 | 3.384 | 30.633 | 79.748 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005196 | 0.084791 | 0.21309 | 0.32326 | 0.40892 | 0.47519 | 0.52059 | 0.5522 | 0.57906 | 0.61085 | 0.65598 | 0.71634 | 0.78863 | 0.86457 | 0.93843 | 1.009 | 1.0788 | 1.1524 | 1.2347 | 1.3315 | 1.4443 | 1.5758 | 1.7215 | 1.8827 | 2.0548 | 2.2467 | 2.4619 | 2.7216 | 3.0366 | 3.4296 | 3.8974 | 4.4349 | 5.0007 | 5.5446 | 5.9907 | 6.2645 | 6.2985 | 6.0525 | 5.5223 | 4.7534 | 3.8141 | 2.8233 | 1.861 | 1.0807 | 0.42602 | 0.1164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_8_10 | 8 | 8 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:34:17 AM | Wednesday, December 23, 2015 10:34:19 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.08 | 0.365 | 0.0188 | 2.057 | Volume | 43.165 | 0.623 | 0.55 | 10.912 | 5.975 | 38.604 | 85.383 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15179 | 0.22866 | 0.29954 | 0.34555 | 0.37849 | 0.39692 | 0.40913 | 0.42145 | 0.4403 | 0.46801 | 0.5034 | 0.54231 | 0.58229 | 0.62375 | 0.66885 | 0.72008 | 0.77921 | 0.848 | 0.92528 | 1.0115 | 1.1044 | 1.2089 | 1.33 | 1.4871 | 1.6983 | 1.9989 | 2.4105 | 2.9648 | 3.6551 | 4.4712 | 5.3496 | 6.2173 | 6.965 | 7.4876 | 7.6902 | 7.5136 | 6.947 | 6.0429 | 4.8862 | 3.63 | 2.3775 | 1.3445 | 0.43478 | 0.039926 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_8_10 | 8 | 8 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:34:59 AM | Wednesday, December 23, 2015 10:35:01 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.01 | 0.373 | 0.0186 | 2.053 | Volume | 42.852 | 0.622 | 0.55 | 10.917 | 5.96 | 38.35 | 84.697 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14806 | 0.22516 | 0.29654 | 0.34295 | 0.37641 | 0.39534 | 0.40808 | 0.4209 | 0.44027 | 0.46846 | 0.50433 | 0.54372 | 0.58419 | 0.62623 | 0.67202 | 0.72415 | 0.78441 | 0.85455 | 0.93334 | 1.0211 | 1.1156 | 1.2216 | 1.3442 | 1.503 | 1.7162 | 2.0195 | 2.4345 | 2.9928 | 3.6873 | 4.5074 | 5.3883 | 6.2561 | 7.0003 | 7.515 | 7.7048 | 7.5105 | 6.9225 | 5.9962 | 4.8204 | 3.5526 | 2.3015 | 1.2797 | 0.40485 | 0.034943 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_30_31 | 30 | 16 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:41:35 AM | Wednesday, December 23, 2015 10:41:37 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.72 | 0.41 | 0.0207 | 2.046 | Volume | 48.048 | 0.625 | 0.531 | 11.295 | 6.245 | 43.524 | 95.274 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15158 | 0.22487 | 0.29195 | 0.3355 | 0.36677 | 0.38485 | 0.39789 | 0.41202 | 0.43317 | 0.46279 | 0.49861 | 0.53535 | 0.56974 | 0.60239 | 0.63693 | 0.6786 | 0.73284 | 0.80507 | 0.89659 | 1.0081 | 1.133 | 1.2682 | 1.4051 | 1.5472 | 1.6974 | 1.8785 | 2.1139 | 2.4448 | 2.8985 | 3.5042 | 4.2514 | 5.1111 | 6.0024 | 6.8199 | 7.4345 | 7.7223 | 7.5953 | 7.027 | 6.0549 | 4.8083 | 3.4316 | 2.1284 | 1.0409 | 0.25582 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_30_31 | 30 | 16 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:42:17 AM | Wednesday, December 23, 2015 10:42:19 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.94 | 0.391 | 0.0208 | 2.07 | Volume | 47.502 | 0.632 | 0.536 | 11.202 | 6.107 | 42.774 | 94.665 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1478 | 0.22166 | 0.28983 | 0.33448 | 0.36708 | 0.38651 | 0.40097 | 0.41651 | 0.43907 | 0.47007 | 0.50725 | 0.54537 | 0.58127 | 0.61563 | 0.65211 | 0.69591 | 0.75227 | 0.82643 | 0.91948 | 1.0321 | 1.158 | 1.2944 | 1.4333 | 1.5792 | 1.7356 | 1.9255 | 2.1718 | 2.5146 | 2.9784 | 3.5897 | 4.3341 | 5.1797 | 6.0441 | 6.8228 | 7.3905 | 7.6303 | 7.4626 | 6.8692 | 5.8937 | 4.6663 | 3.3296 | 2.0737 | 1.0429 | 0.27832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_50_51 | 50 | 36 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:50:29 AM | Wednesday, December 23, 2015 10:50:31 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.32 | 0.349 | 0.0173 | 2.218 | Volume | 42.605 | 0.68 | 0.616 | 9.737 | 4.946 | 37.122 | 87.268 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.072753 | 0.17387 | 0.26416 | 0.33392 | 0.38701 | 0.42182 | 0.44378 | 0.45986 | 0.47781 | 0.50428 | 0.54109 | 0.58587 | 0.63268 | 0.67764 | 0.72071 | 0.76471 | 0.81383 | 0.87246 | 0.94544 | 1.0344 | 1.1419 | 1.2653 | 1.4075 | 1.5672 | 1.7563 | 1.9814 | 2.2674 | 2.6271 | 3.087 | 3.6455 | 4.3019 | 5.0146 | 5.7336 | 6.3756 | 6.854 | 7.0818 | 6.9938 | 6.562 | 5.8126 | 4.8082 | 3.6743 | 2.5248 | 1.5078 | 0.71001 | 0.1703 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_50_51 | 50 | 36 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 10:51:10 AM | Wednesday, December 23, 2015 10:51:12 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.34 | 0.341 | 0.0168 | 2.262 | Volume | 41.639 | 0.694 | 0.636 | 9.438 | 4.645 | 35.991 | 86.073 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.07313 | 0.17777 | 0.27113 | 0.3434 | 0.39864 | 0.43519 | 0.45872 | 0.47646 | 0.49643 | 0.52553 | 0.56564 | 0.61429 | 0.6652 | 0.71417 | 0.76086 | 0.80784 | 0.85919 | 0.9193 | 0.99327 | 1.0832 | 1.1922 | 1.3187 | 1.4662 | 1.6336 | 1.833 | 2.0696 | 2.3663 | 2.733 | 3.193 | 3.7416 | 4.3761 | 5.0548 | 5.7297 | 6.3218 | 6.7506 | 6.9356 | 6.8177 | 6.3725 | 5.6271 | 4.642 | 3.5376 | 2.4202 | 1.4341 | 0.65297 | 0.14055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_70_71 | 70 | 56 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 11:11:54 AM | Wednesday, December 23, 2015 11:11:56 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.39 | 0.456 | 0.028 | 1.809 | Volume | 49.66 | 0.537 | 0.454 | 13.214 | 8.791 | 46.211 | 92.378 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12889 | 0.19313 | 0.2526 | 0.29157 | 0.31953 | 0.33491 | 0.34401 | 0.35143 | 0.3617 | 0.37617 | 0.39346 | 0.41056 | 0.42654 | 0.44389 | 0.46702 | 0.50048 | 0.54741 | 0.60912 | 0.68201 | 0.76117 | 0.83698 | 0.90449 | 0.96121 | 1.0191 | 1.1009 | 1.25 | 1.5148 | 1.9573 | 2.6125 | 3.5062 | 4.5972 | 5.8144 | 7.0165 | 8.0418 | 8.7185 | 8.9088 | 8.5445 | 7.6524 | 6.332 | 4.7899 | 3.1864 | 1.8321 | 0.62286 | 0.083595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_70_71 | 70 | 56 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 11:12:36 AM | Wednesday, December 23, 2015 11:12:38 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.48 | 0.456 | 0.0278 | 1.817 | Volume | 49.087 | 0.539 | 0.461 | 13.009 | 8.476 | 45.723 | 91.536 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12986 | 0.19506 | 0.2555 | 0.29514 | 0.32371 | 0.33959 | 0.34926 | 0.35741 | 0.36872 | 0.38457 | 0.40358 | 0.42261 | 0.44057 | 0.45973 | 0.48432 | 0.51875 | 0.56613 | 0.62792 | 0.70076 | 0.78018 | 0.85698 | 0.92665 | 0.98682 | 1.0495 | 1.1368 | 1.2915 | 1.5609 | 2.0063 | 2.6615 | 3.5519 | 4.6361 | 5.8428 | 7.031 | 8.0396 | 8.6973 | 8.8679 | 8.4847 | 7.5767 | 6.2453 | 4.6985 | 3.0973 | 1.751 | 0.55677 | 0.042753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_90_91 | 90 | 76 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 11:20:37 AM | Wednesday, December 23, 2015 11:20:38 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.75 | 0.651 | 0.0456 | 1.413 | Volume | 74.682 | 0.445 | 0.216 | 27.721 | 31.042 | 68.952 | 128.448 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.075531 | 0.10767 | 0.12837 | 0.14045 | 0.14715 | 0.14969 | 0.1507 | 0.15183 | 0.15331 | 0.15371 | 0.15105 | 0.14469 | 0.13663 | 0.13085 | 0.13213 | 0.14499 | 0.17243 | 0.21374 | 0.26512 | 0.31682 | 0.35822 | 0.37694 | 0.36696 | 0.33295 | 0.29525 | 0.29597 | 0.39693 | 0.67012 | 1.1944 | 2.0177 | 3.1634 | 4.5803 | 6.164 | 7.7415 | 9.0988 | 10.029 | 10.3562 | 9.9984 | 8.9911 | 7.4593 | 5.6664 | 3.8334 | 2.2464 | 0.99915 | 0.20033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_90_91 | 90 | 76 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 11:21:18 AM | Wednesday, December 23, 2015 11:21:20 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.75 | 0.647 | 0.0461 | 1.406 | Volume | 75.029 | 0.443 | 0.214 | 28.053 | 31.347 | 69.315 | 128.81 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.07406 | 0.10576 | 0.12627 | 0.1382 | 0.1448 | 0.14723 | 0.14811 | 0.14909 | 0.15041 | 0.15069 | 0.14798 | 0.14161 | 0.13345 | 0.12739 | 0.12818 | 0.14042 | 0.16727 | 0.20826 | 0.25989 | 0.31261 | 0.35587 | 0.37691 | 0.3691 | 0.33605 | 0.29693 | 0.29292 | 0.38528 | 0.64662 | 1.1572 | 1.9675 | 3.1041 | 4.519 | 6.1102 | 7.7049 | 9.0872 | 10.0462 | 10.4001 | 10.0619 | 9.0629 | 7.5278 | 5.7222 | 3.8721 | 2.269 | 1.0132 | 0.21291 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_110_111 | 110 | 96 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 11:27:37 AM | Wednesday, December 23, 2015 11:27:39 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.67 | 0.782 | 0.05 | 1.373 | Volume | 78.104 | 0.431 | 0.215 | 27.909 | 32.049 | 73.37 | 132.778 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077214 | 0.10809 | 0.1266 | 0.13723 | 0.1429 | 0.14542 | 0.14772 | 0.15182 | 0.15806 | 0.16479 | 0.16916 | 0.16909 | 0.16472 | 0.15829 | 0.15367 | 0.15586 | 0.16986 | 0.19886 | 0.24391 | 0.30044 | 0.36162 | 0.4145 | 0.44859 | 0.45533 | 0.43827 | 0.41836 | 0.43852 | 0.5633 | 0.87635 | 1.4557 | 2.369 | 3.6253 | 5.1749 | 6.8796 | 8.5227 | 9.8546 | 10.6171 | 10.6409 | 9.88 | 8.4212 | 6.5397 | 4.4788 | 2.6528 | 1.086 | 0.14347 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_110_111 | 110 | 96 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 11:28:19 AM | Wednesday, December 23, 2015 11:28:21 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.81 | 0.788 | 0.0503 | 1.376 | Volume | 78.149 | 0.431 | 0.216 | 27.757 | 31.863 | 73.442 | 132.933 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.076788 | 0.10778 | 0.12658 | 0.13748 | 0.14348 | 0.14638 | 0.14915 | 0.15379 | 0.16059 | 0.16786 | 0.17267 | 0.1729 | 0.16864 | 0.16218 | 0.15741 | 0.15945 | 0.17342 | 0.20267 | 0.24841 | 0.30615 | 0.36911 | 0.42415 | 0.4605 | 0.46897 | 0.45241 | 0.43101 | 0.44709 | 0.56513 | 0.86914 | 1.4384 | 2.3422 | 3.5917 | 5.1385 | 6.8453 | 8.4951 | 9.8368 | 10.6097 | 10.6424 | 9.8874 | 8.4313 | 6.5502 | 4.4892 | 2.6634 | 1.0988 | 0.15841 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_130_131 | 130 | 116 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 11:35:51 AM | Wednesday, December 23, 2015 11:35:53 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.07 | 0.755 | 0.0432 | 1.475 | Volume | 80.277 | 0.455 | 0.233 | 25.716 | 28.552 | 75.217 | 139.504 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.080775 | 0.11344 | 0.13351 | 0.14568 | 0.15331 | 0.15854 | 0.16461 | 0.17384 | 0.18648 | 0.20068 | 0.21297 | 0.2207 | 0.22338 | 0.22281 | 0.22258 | 0.22769 | 0.24342 | 0.27354 | 0.31995 | 0.37904 | 0.44501 | 0.50533 | 0.54948 | 0.56695 | 0.55806 | 0.53815 | 0.54307 | 0.6302 | 0.87624 | 1.3574 | 2.1436 | 3.2561 | 4.6636 | 6.254 | 7.8389 | 9.1918 | 10.0647 | 10.2821 | 9.7661 | 8.5675 | 6.9012 | 5.0032 | 3.1973 | 1.672 | 0.57081 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_130_131 | 130 | 116 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 11:36:33 AM | Wednesday, December 23, 2015 11:36:35 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.95 | 0.753 | 0.0422 | 1.489 | Volume | 80.144 | 0.458 | 0.236 | 25.411 | 27.925 | 75.052 | 139.657 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.081658 | 0.11465 | 0.13492 | 0.14729 | 0.15511 | 0.16057 | 0.16694 | 0.17658 | 0.18976 | 0.20465 | 0.2178 | 0.22656 | 0.23038 | 0.23096 | 0.23173 | 0.2375 | 0.25342 | 0.28317 | 0.3287 | 0.38657 | 0.45123 | 0.51057 | 0.55449 | 0.57286 | 0.56631 | 0.55007 | 0.55965 | 0.6514 | 0.90083 | 1.3826 | 2.1656 | 3.2703 | 4.666 | 6.2419 | 7.8116 | 9.1509 | 10.014 | 10.2269 | 9.7127 | 8.5227 | 6.8708 | 4.9918 | 3.2039 | 1.6946 | 0.59738 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_130_131 | 130 | 116 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 2:17:48 PM | Wednesday, December 23, 2015 2:17:50 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.21 | 1.398 | 0.0475 | 1.456 | Volume | 80.785 | 0.451 | 0.24 | 25.008 | 29.699 | 75.667 | 139.872 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053957 | 0.087313 | 0.11266 | 0.13239 | 0.14471 | 0.15254 | 0.15833 | 0.16512 | 0.17514 | 0.18841 | 0.20291 | 0.21504 | 0.22213 | 0.22379 | 0.22204 | 0.22076 | 0.2252 | 0.2409 | 0.2717 | 0.31939 | 0.37988 | 0.44648 | 0.5054 | 0.54457 | 0.55231 | 0.52799 | 0.48789 | 0.4695 | 0.53436 | 0.76375 | 1.2392 | 2.0349 | 3.1733 | 4.6215 | 6.2615 | 7.8957 | 9.2879 | 10.1813 | 10.3967 | 9.8582 | 8.6248 | 6.9238 | 5.0056 | 3.1984 | 1.7063 | 0.64424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_130_131 | 130 | 116 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 2:18:30 PM | Wednesday, December 23, 2015 2:18:32 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.34 | 1.505 | 0.0479 | 1.458 | Volume | 80.935 | 0.45 | 0.24 | 24.969 | 29.551 | 75.852 | 140.132 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053684 | 0.087363 | 0.11287 | 0.13269 | 0.14492 | 0.15258 | 0.15819 | 0.16489 | 0.17497 | 0.18851 | 0.20344 | 0.2161 | 0.22373 | 0.22591 | 0.22457 | 0.22353 | 0.228 | 0.24356 | 0.27421 | 0.32199 | 0.38306 | 0.45097 | 0.51186 | 0.55343 | 0.56329 | 0.54002 | 0.49883 | 0.47633 | 0.5337 | 0.75243 | 1.2155 | 1.999 | 3.1283 | 4.5728 | 6.2162 | 7.8609 | 9.2689 | 10.1802 | 10.4117 | 9.8841 | 8.655 | 6.9525 | 5.0303 | 3.2187 | 1.7252 | 0.66127 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_150_151 | 150 | 136 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 2:26:16 PM | Wednesday, December 23, 2015 2:26:18 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.68 | 0.775 | 0.0495 | 1.458 | Volume | 87.881 | 0.453 | 0.215 | 27.909 | 32.122 | 82.278 | 152.121 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071558 | 0.10045 | 0.11811 | 0.12888 | 0.13593 | 0.14142 | 0.14844 | 0.15923 | 0.17389 | 0.19048 | 0.20527 | 0.21512 | 0.21884 | 0.21742 | 0.21395 | 0.21337 | 0.22161 | 0.24407 | 0.2848 | 0.34287 | 0.41457 | 0.48778 | 0.55029 | 0.58547 | 0.58472 | 0.55098 | 0.5067 | 0.49995 | 0.60259 | 0.90031 | 1.4825 | 2.4054 | 3.6798 | 5.2363 | 6.9174 | 8.5065 | 9.7325 | 10.3744 | 10.2793 | 9.4332 | 7.9893 | 6.1597 | 4.281 | 2.5608 | 1.2235 | 0.30934 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_150_151 | 150 | 136 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 2:26:57 PM | Wednesday, December 23, 2015 2:26:59 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.59 | 0.787 | 0.0481 | 1.468 | Volume | 87.145 | 0.454 | 0.219 | 27.393 | 31.14 | 81.694 | 151.06 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.072799 | 0.10231 | 0.1205 | 0.13167 | 0.13906 | 0.14484 | 0.15215 | 0.16323 | 0.17825 | 0.1953 | 0.21069 | 0.22132 | 0.22597 | 0.2256 | 0.22316 | 0.2235 | 0.23246 | 0.25538 | 0.29635 | 0.35448 | 0.4262 | 0.49951 | 0.56237 | 0.59823 | 0.5987 | 0.5668 | 0.52513 | 0.52174 | 0.62847 | 0.93073 | 1.5175 | 2.4446 | 3.7216 | 5.278 | 6.9548 | 8.5339 | 9.744 | 10.3645 | 10.2453 | 9.3758 | 7.9137 | 6.0748 | 4.1966 | 2.4865 | 1.1626 | 0.25898 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_170_171 | 170 | 156 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 2:34:48 PM | Wednesday, December 23, 2015 2:34:50 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13 | 0.8 | 0.058 | 1.388 | Volume | 84.021 | 0.434 | 0.206 | 29.093 | 34.33 | 78.646 | 143.496 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.067 | 0.097651 | 0.11412 | 0.12355 | 0.1306 | 0.13499 | 0.14055 | 0.14891 | 0.16017 | 0.17229 | 0.18183 | 0.18611 | 0.18462 | 0.17918 | 0.17353 | 0.17298 | 0.18329 | 0.2089 | 0.25229 | 0.31023 | 0.37656 | 0.43746 | 0.47993 | 0.49011 | 0.46431 | 0.41514 | 0.37661 | 0.4091 | 0.59496 | 1.022 | 1.7737 | 2.8861 | 4.3395 | 6.0264 | 7.7525 | 9.2756 | 10.3213 | 10.6883 | 10.2731 | 9.1156 | 7.43 | 5.4674 | 3.5654 | 1.9476 | 0.74857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_170_171 | 170 | 156 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 2:35:30 PM | Wednesday, December 23, 2015 2:35:32 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.8 | 0.785 | 0.0564 | 1.397 | Volume | 83.677 | 0.436 | 0.209 | 28.756 | 33.816 | 78.305 | 143.21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.067601 | 0.098679 | 0.11545 | 0.12518 | 0.13246 | 0.13705 | 0.14275 | 0.15124 | 0.1626 | 0.17488 | 0.18467 | 0.18935 | 0.18846 | 0.18382 | 0.17913 | 0.1796 | 0.19088 | 0.21727 | 0.2611 | 0.319 | 0.38476 | 0.44464 | 0.48589 | 0.49514 | 0.46932 | 0.4217 | 0.38685 | 0.42523 | 0.61883 | 1.0542 | 1.8131 | 2.929 | 4.3802 | 6.0576 | 7.767 | 9.2681 | 10.2908 | 10.6381 | 10.2111 | 9.0521 | 7.3743 | 5.4254 | 3.5381 | 1.9303 | 0.73694 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_190_191 | 190 | 176 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 2:43:49 PM | Wednesday, December 23, 2015 2:43:51 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.44 | 0.773 | 0.0568 | 1.387 | Volume | 84.408 | 0.434 | 0.201 | 29.788 | 34.896 | 78.793 | 144.174 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.065576 | 0.095749 | 0.11192 | 0.12102 | 0.12759 | 0.13134 | 0.13602 | 0.14331 | 0.15336 | 0.1643 | 0.17285 | 0.17643 | 0.17453 | 0.16884 | 0.1629 | 0.16174 | 0.17076 | 0.19415 | 0.23414 | 0.28765 | 0.34882 | 0.40474 | 0.44346 | 0.45258 | 0.42968 | 0.38816 | 0.36222 | 0.41099 | 0.61492 | 1.0586 | 1.8223 | 2.9392 | 4.3881 | 6.0619 | 7.769 | 9.2713 | 10.2999 | 10.6578 | 10.2448 | 9.1012 | 7.4371 | 5.4998 | 3.6165 | 2.013 | 0.80961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_190_191 | 190 | 176 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 2:44:30 PM | Wednesday, December 23, 2015 2:44:32 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.37 | 0.762 | 0.0561 | 1.396 | Volume | 84.551 | 0.437 | 0.202 | 29.692 | 34.65 | 78.816 | 144.656 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064814 | 0.094934 | 0.1112 | 0.12061 | 0.12749 | 0.13167 | 0.13682 | 0.14457 | 0.15506 | 0.16641 | 0.17536 | 0.17937 | 0.17792 | 0.17271 | 0.16722 | 0.1664 | 0.17556 | 0.19881 | 0.23833 | 0.29102 | 0.35113 | 0.406 | 0.44403 | 0.45327 | 0.43168 | 0.39276 | 0.37057 | 0.42342 | 0.63067 | 1.0754 | 1.8366 | 2.9464 | 4.3838 | 6.0431 | 7.7353 | 9.2256 | 10.2486 | 10.609 | 10.2062 | 9.0774 | 7.4294 | 5.5037 | 3.6335 | 2.0286 | 0.83652 | 0.081174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_210_211 | 210 | 196 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 2:51:53 PM | Wednesday, December 23, 2015 2:51:55 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.53 | 0.784 | 0.0527 | 1.412 | Volume | 83.439 | 0.439 | 0.218 | 27.523 | 32.862 | 78.184 | 143.243 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074264 | 0.10408 | 0.12225 | 0.1334 | 0.14063 | 0.1461 | 0.15284 | 0.16293 | 0.17634 | 0.19091 | 0.20287 | 0.20924 | 0.20928 | 0.20475 | 0.19943 | 0.19881 | 0.20885 | 0.2343 | 0.27786 | 0.3365 | 0.40417 | 0.46693 | 0.51153 | 0.52348 | 0.49843 | 0.4483 | 0.40669 | 0.43407 | 0.61326 | 1.0329 | 1.7773 | 2.8823 | 4.3276 | 6.0042 | 7.7166 | 9.2226 | 10.2504 | 10.6023 | 10.1795 | 9.0246 | 7.3517 | 5.4099 | 3.5312 | 1.9376 | 0.75675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_210_211 | 210 | 196 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 2:52:35 PM | Wednesday, December 23, 2015 2:52:37 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.56 | 0.794 | 0.0529 | 1.41 | Volume | 83.565 | 0.439 | 0.217 | 27.595 | 32.885 | 78.386 | 143.373 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073412 | 0.10305 | 0.12121 | 0.13232 | 0.13953 | 0.14496 | 0.15164 | 0.16171 | 0.17517 | 0.18994 | 0.20232 | 0.20934 | 0.2102 | 0.20652 | 0.20195 | 0.20184 | 0.21213 | 0.23756 | 0.28098 | 0.33951 | 0.40721 | 0.47016 | 0.51506 | 0.52722 | 0.50199 | 0.45094 | 0.40726 | 0.43109 | 0.60497 | 1.0178 | 1.7542 | 2.8514 | 4.2908 | 5.9654 | 7.6813 | 9.1974 | 10.2412 | 10.6132 | 10.2105 | 9.0714 | 7.4056 | 5.4583 | 3.5635 | 1.9389 | 0.72801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_230_231 | 230 | 216 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 3:00:32 PM | Wednesday, December 23, 2015 3:00:34 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.26 | 0.884 | 0.049 | 1.374 | Volume | 91.974 | 0.431 | 0.208 | 28.78 | 37.233 | 86.735 | 156.445 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.068295 | 0.098315 | 0.11432 | 0.12354 | 0.13135 | 0.13748 | 0.14611 | 0.15913 | 0.17661 | 0.19637 | 0.21421 | 0.22631 | 0.23065 | 0.22758 | 0.21987 | 0.21281 | 0.2132 | 0.22809 | 0.26337 | 0.32002 | 0.39534 | 0.47646 | 0.54833 | 0.58824 | 0.57954 | 0.51636 | 0.41291 | 0.31542 | 0.29882 | 0.46418 | 0.92243 | 1.7595 | 3.0143 | 4.638 | 6.4781 | 8.3041 | 9.8093 | 10.7295 | 10.8598 | 10.1522 | 8.7389 | 6.838 | 4.8136 | 2.9097 | 1.3945 | 0.33464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_230_231 | 230 | 216 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 3:01:13 PM | Wednesday, December 23, 2015 3:01:15 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.12 | 0.891 | 0.0474 | 1.387 | Volume | 91.519 | 0.434 | 0.212 | 28.297 | 36.236 | 86.36 | 156.051 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.068734 | 0.09923 | 0.11558 | 0.12518 | 0.13337 | 0.14 | 0.14926 | 0.16308 | 0.18147 | 0.2022 | 0.22095 | 0.23391 | 0.23905 | 0.23678 | 0.22988 | 0.22357 | 0.22463 | 0.23999 | 0.27552 | 0.33215 | 0.40724 | 0.48808 | 0.55983 | 0.60004 | 0.59232 | 0.53093 | 0.43013 | 0.33588 | 0.3227 | 0.49096 | 0.9508 | 1.7873 | 3.0384 | 4.6548 | 6.484 | 8.296 | 9.7859 | 10.6913 | 10.8101 | 10.0959 | 8.6819 | 6.7861 | 4.7711 | 2.879 | 1.3741 | 0.32052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_250_251 | 250 | 236 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 3:09:30 PM | Wednesday, December 23, 2015 3:09:32 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.69 | 0.752 | 0.0525 | 1.556 | Volume | 92.377 | 0.567 | 0.22 | 27.294 | 31.929 | 77.764 | 152.916 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.065186 | 0.096831 | 0.11445 | 0.12585 | 0.13503 | 0.1425 | 0.15192 | 0.16498 | 0.18134 | 0.1985 | 0.21248 | 0.22055 | 0.22268 | 0.22168 | 0.22254 | 0.23153 | 0.25494 | 0.29642 | 0.35677 | 0.42911 | 0.50328 | 0.56093 | 0.58578 | 0.56417 | 0.49524 | 0.40086 | 0.32569 | 0.343 | 0.54351 | 1.0153 | 1.8312 | 3.0038 | 4.4834 | 6.133 | 7.7426 | 9.0762 | 9.8948 | 10.0481 | 9.4938 | 8.3128 | 6.7345 | 4.9871 | 3.3703 | 2.0216 | 1.0684 | 0.48176 | 0.21365 | 0.15141 | 0.1885 | 0.24432 | 0.27257 | 0.26515 | 0.23033 | 0.1811 | 0.11969 | 0.06685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_250_251 | 250 | 236 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 3:10:11 PM | Wednesday, December 23, 2015 3:10:13 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.78 | 0.761 | 0.0527 | 1.54 | Volume | 91.091 | 0.556 | 0.221 | 27.169 | 31.793 | 77.353 | 150.928 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.065208 | 0.097 | 0.11475 | 0.12634 | 0.13567 | 0.1433 | 0.15286 | 0.16604 | 0.18245 | 0.19958 | 0.21342 | 0.22124 | 0.22308 | 0.22187 | 0.22267 | 0.23192 | 0.25594 | 0.29838 | 0.35992 | 0.43348 | 0.50862 | 0.56667 | 0.59108 | 0.56813 | 0.49711 | 0.40047 | 0.32368 | 0.34108 | 0.54442 | 1.0225 | 1.8485 | 3.0341 | 4.5282 | 6.1913 | 7.8103 | 9.1463 | 9.9584 | 10.0965 | 9.5212 | 8.3171 | 6.7192 | 4.9588 | 3.3364 | 1.9871 | 1.0348 | 0.44718 | 0.17438 | 0.10424 | 0.13362 | 0.18599 | 0.21817 | 0.22264 | 0.20575 | 0.17505 | 0.1307 | 0.085078 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_270_271 | 270 | 256 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 4:17:56 PM | Wednesday, December 23, 2015 4:17:58 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.52 | 0.947 | 0.0738 | 1.405 | Volume | 92.734 | 0.442 | 0.196 | 30.668 | 37.807 | 86.407 | 159.169 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.061882 | 0.089973 | 0.1051 | 0.11395 | 0.12095 | 0.12598 | 0.13267 | 0.1427 | 0.15618 | 0.17127 | 0.18454 | 0.19315 | 0.19602 | 0.1942 | 0.19059 | 0.18984 | 0.19732 | 0.21777 | 0.25446 | 0.3058 | 0.36735 | 0.42693 | 0.47189 | 0.4865 | 0.46232 | 0.40374 | 0.33342 | 0.30029 | 0.37565 | 0.64528 | 1.1987 | 2.095 | 3.3508 | 4.9068 | 6.6185 | 8.281 | 9.6281 | 10.4337 | 10.5222 | 9.8521 | 8.54 | 6.7748 | 4.8851 | 3.0818 | 1.6243 | 0.57764 | 0.011868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_270_271 | 270 | 256 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 4:18:37 PM | Wednesday, December 23, 2015 4:18:39 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.62 | 0.989 | 0.0745 | 1.402 | Volume | 92.757 | 0.442 | 0.195 | 30.793 | 37.977 | 86.384 | 159.111 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.060182 | 0.088089 | 0.10327 | 0.1124 | 0.1196 | 0.12493 | 0.13192 | 0.14227 | 0.15603 | 0.17134 | 0.18477 | 0.19343 | 0.19623 | 0.19426 | 0.19048 | 0.18963 | 0.19722 | 0.2181 | 0.25567 | 0.30835 | 0.37162 | 0.43299 | 0.47936 | 0.49435 | 0.46883 | 0.40676 | 0.33062 | 0.29003 | 0.35746 | 0.6207 | 1.1714 | 2.0705 | 3.3355 | 4.9062 | 6.6352 | 8.3132 | 9.6691 | 10.473 | 10.5487 | 9.8574 | 8.523 | 6.7418 | 4.85 | 3.0592 | 1.6277 | 0.61397 | 0.013342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_290_291 | 290 | 276 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 4:26:50 PM | Wednesday, December 23, 2015 4:26:52 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.66 | 0.83 | 0.0507 | 1.215 | Volume | 88.915 | 0.392 | 0.19 | 31.575 | 43.039 | 84.161 | 145.278 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05813 | 0.084947 | 0.099515 | 0.10836 | 0.11569 | 0.12164 | 0.12964 | 0.14115 | 0.15574 | 0.17088 | 0.18237 | 0.18679 | 0.18313 | 0.1733 | 0.16198 | 0.15625 | 0.1641 | 0.19236 | 0.2452 | 0.3191 | 0.40553 | 0.48419 | 0.53338 | 0.52806 | 0.45326 | 0.31614 | 0.14792 | 0.021865 | 0.011311 | 0.17147 | 0.64756 | 1.5985 | 3.1054 | 5.1149 | 7.4015 | 9.6083 | 11.2838 | 12.0669 | 11.7537 | 10.3969 | 8.3246 | 5.9335 | 3.7158 | 1.9378 | 0.75683 | 0.12484 | 0.005722 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_290_291 | 290 | 276 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 4:27:31 PM | Wednesday, December 23, 2015 4:27:33 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.82 | 0.842 | 0.0522 | 1.214 | Volume | 89.509 | 0.392 | 0.187 | 32.034 | 43.44 | 84.644 | 146.216 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.056287 | 0.082609 | 0.096948 | 0.10571 | 0.1129 | 0.1188 | 0.12676 | 0.13825 | 0.15285 | 0.16802 | 0.17957 | 0.18406 | 0.18042 | 0.17052 | 0.15898 | 0.15286 | 0.16016 | 0.18779 | 0.24005 | 0.31363 | 0.40024 | 0.47972 | 0.53039 | 0.52689 | 0.45354 | 0.31716 | 0.14557 | 0.020708 | 0.008122 | 0.15428 | 0.61598 | 1.5492 | 3.0398 | 5.0389 | 7.3258 | 9.5463 | 11.248 | 12.0657 | 11.7879 | 10.4604 | 8.4056 | 6.019 | 3.7947 | 2.0037 | 0.80742 | 0.15975 | 0.008003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_295_296 | 295 | 281 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 4:35:02 PM | Wednesday, December 23, 2015 4:35:04 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.98 | 0.821 | 0.0588 | 1.379 | Volume | 86.852 | 0.437 | 0.219 | 27.357 | 36.133 | 81.26 | 148.204 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.075127 | 0.10461 | 0.12231 | 0.1336 | 0.1415 | 0.14839 | 0.15731 | 0.17029 | 0.18692 | 0.20454 | 0.21866 | 0.22574 | 0.22485 | 0.21813 | 0.21044 | 0.20894 | 0.2215 | 0.25449 | 0.31152 | 0.38836 | 0.47615 | 0.55471 | 0.60333 | 0.59881 | 0.52882 | 0.40279 | 0.25516 | 0.15854 | 0.21112 | 0.52536 | 1.2067 | 2.3086 | 3.8171 | 5.6164 | 7.4917 | 9.1754 | 10.3676 | 10.8525 | 10.52 | 9.4141 | 7.7564 | 5.7999 | 3.9001 | 2.248 | 1.0313 | 0.25214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_LB9_295_296 | 295 | 281 | 123-ABC | ACC2015 | malvern | Wednesday, December 23, 2015 4:35:43 PM | Wednesday, December 23, 2015 4:35:45 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 14 | 0.826 | 0.0585 | 1.389 | Volume | 87.298 | 0.44 | 0.22 | 27.226 | 35.769 | 81.721 | 149.277 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074248 | 0.10373 | 0.12165 | 0.13309 | 0.1412 | 0.14839 | 0.15774 | 0.17135 | 0.18884 | 0.2076 | 0.2231 | 0.23173 | 0.23241 | 0.22712 | 0.22055 | 0.21964 | 0.23216 | 0.26439 | 0.32004 | 0.39511 | 0.48112 | 0.5585 | 0.60708 | 0.60404 | 0.53712 | 0.41505 | 0.27093 | 0.17516 | 0.22337 | 0.52583 | 1.1868 | 2.2611 | 3.7387 | 5.5101 | 7.3686 | 9.0531 | 10.2673 | 10.7937 | 10.5138 | 9.4609 | 7.8434 | 5.9063 | 4.0025 | 2.3276 | 1.0803 | 0.27337 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0