## Sheet1
Sample Name | Sample source type | depth corret | Sample bulk lot ref | SOP Name | Operator name | Measurement date and time | Analysis date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Dispersant refractive index | Accessory name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Residual | Concentration | Span | Result transform type | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | Result Between User Sizes (Sizes in um) | [100 empty] | Operator Notes
[30 empty] | 0.01 | 0.011482 | 0.013183 | 0.015136 | 0.017378 | 0.019953 | 0.022909 | 0.026303 | 0.0302 | 0.034674 | 0.039811 | 0.045709 | 0.052481 | 0.060256 | 0.069183 | 0.079433 | 0.091201 | 0.10471 | 0.12023 | 0.13804 | 0.15849 | 0.18197 | 0.20893 | 0.23988 | 0.27542 | 0.31623 | 0.36308 | 0.41687 | 0.47863 | 0.54954 | 0.63096 | 0.72444 | 0.83176 | 0.95499 | 1.0965 | 1.2589 | 1.4454 | 1.6596 | 1.9055 | 2.1878 | 2.5119 | 2.884 | 3.3113 | 3.8019 | 4.3652 | 5.0119 | 5.7544 | 6.6069 | 7.5858 | 8.7096 | 10 | 11.4815 | 13.1826 | 15.1356 | 17.378 | 19.9526 | 22.9087 | 26.3027 | 30.1995 | 34.6737 | 39.8107 | 45.7088 | 52.4807 | 60.256 | 69.1831 | 79.4328 | 91.2011 | 104.7129 | 120.2264 | 138.0384 | 158.4893 | 181.9701 | 208.9296 | 239.8833 | 275.4229 | 316.2278 | 363.0781 | 416.8694 | 478.6301 | 549.5409 | 630.9573 | 724.436 | 831.7638 | 954.9926 | 1096.4782 | 1258.9254 | 1445.4398 | 1659.5869 | 1905.4607 | 2187.7616 | 2511.8864 | 2884.0315 | 3311.3112 | 3801.894 | 4365.1583 | 5011.8723 | 5754.3994 | 6606.9345 | 7585.7757 | 8709.6359 | 10000
depth correct
ACC2015_1_RB7_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 9:36:31 AM | Tuesday, December 22, 2015 9:36:33 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.06 | 0.838 | 0.0133 | 2.977 | Volume | 26.765 | 0.945 | 0.925 | 6.49 | 2.726 | 19.091 | 59.565 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005862 | 0.096168 | 0.25014 | 0.38085 | 0.48075 | 0.55642 | 0.60655 | 0.64073 | 0.67108 | 0.7108 | 0.77151 | 0.85627 | 0.96108 | 1.0741 | 1.1854 | 1.2898 | 1.3875 | 1.4834 | 1.5867 | 1.7118 | 1.8722 | 2.0864 | 2.3623 | 2.7137 | 3.1297 | 3.6111 | 4.1183 | 4.63 | 5.088 | 5.4556 | 5.6816 | 5.7386 | 5.6131 | 5.3144 | 4.8749 | 4.3373 | 3.7502 | 3.1578 | 2.5901 | 2.0725 | 1.6088 | 1.2089 | 0.8674 | 0.59486 | 0.38425 | 0.24077 | 0.13261 | 0.057826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_0_2 | 0 | 0 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 9:37:13 AM | Tuesday, December 22, 2015 9:37:14 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.01 | 0.806 | 0.0131 | 2.957 | Volume | 26.16 | 0.936 | 0.931 | 6.445 | 2.703 | 18.787 | 58.257 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00555 | 0.091637 | 0.24785 | 0.38041 | 0.48179 | 0.55881 | 0.61005 | 0.64523 | 0.67659 | 0.71742 | 0.77944 | 0.86569 | 0.97209 | 1.0867 | 1.1996 | 1.3056 | 1.405 | 1.5031 | 1.6091 | 1.7377 | 1.9024 | 2.1216 | 2.4031 | 2.7604 | 3.182 | 3.6681 | 4.1782 | 4.6901 | 5.1451 | 5.5055 | 5.7202 | 5.7615 | 5.6167 | 5.2962 | 4.8348 | 4.2778 | 3.6767 | 3.0781 | 2.5126 | 2.0046 | 1.5545 | 1.1674 | 0.83495 | 0.56389 | 0.35707 | 0.20245 | 0.10506 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_2_4 | 2 | 2 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 9:44:52 AM | Tuesday, December 22, 2015 9:44:53 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.33 | 0.472 | 0.0167 | 2.416 | Volume | 30.185 | 0.74 | 0.761 | 7.887 | 3.672 | 24.698 | 63.346 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084924 | 0.21222 | 0.32452 | 0.40992 | 0.47331 | 0.51257 | 0.53503 | 0.55002 | 0.56856 | 0.60044 | 0.64965 | 0.71444 | 0.78715 | 0.86085 | 0.93137 | 0.99742 | 1.0605 | 1.1249 | 1.1997 | 1.2958 | 1.4304 | 1.6181 | 1.8826 | 2.233 | 2.6911 | 3.2419 | 3.8855 | 4.5709 | 5.2616 | 5.8781 | 6.3601 | 6.6382 | 6.6728 | 6.4495 | 5.9861 | 5.3283 | 4.5421 | 3.6938 | 2.8571 | 2.0753 | 1.4012 | 0.8375 | 0.4482 | 0.12318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_2_4 | 2 | 2 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 9:45:33 AM | Tuesday, December 22, 2015 9:45:35 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.15 | 0.503 | 0.0164 | 2.402 | Volume | 29.733 | 0.736 | 0.763 | 7.859 | 3.648 | 24.417 | 62.305 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.081161 | 0.2092 | 0.32201 | 0.40799 | 0.47214 | 0.51227 | 0.53571 | 0.55176 | 0.57137 | 0.60433 | 0.6546 | 0.72046 | 0.79425 | 0.86909 | 0.9408 | 1.0081 | 1.0725 | 1.1385 | 1.2153 | 1.3139 | 1.4517 | 1.6436 | 1.913 | 2.2689 | 2.7328 | 3.2888 | 3.9365 | 4.6239 | 5.3135 | 5.9255 | 6.3992 | 6.6655 | 6.6857 | 6.4465 | 5.9666 | 5.293 | 4.4926 | 3.6327 | 2.7868 | 2.0013 | 1.3176 | 0.78032 | 0.33185 | 0.10686 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_4_6 | 4 | 4 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 9:59:29 AM | Tuesday, December 22, 2015 9:59:31 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.91 | 0.294 | 0.0121 | 2.8 | Volume | 30.023 | 0.862 | 0.847 | 7.086 | 3.016 | 22.738 | 66.676 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006025 | 0.098006 | 0.24161 | 0.36335 | 0.45592 | 0.52524 | 0.56994 | 0.59879 | 0.62285 | 0.65437 | 0.704 | 0.77476 | 0.86292 | 0.95758 | 1.0493 | 1.1326 | 1.2065 | 1.2742 | 1.3426 | 1.4237 | 1.5307 | 1.6815 | 1.8885 | 2.1703 | 2.5271 | 2.9696 | 3.4724 | 4.025 | 4.5759 | 5.0914 | 5.5109 | 5.7955 | 5.9082 | 5.8366 | 5.5887 | 5.1897 | 4.677 | 4.0923 | 3.4695 | 2.8443 | 2.2332 | 1.6638 | 1.1494 | 0.7137 | 0.395 | 0.13579 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_4_6 | 4 | 4 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:00:10 AM | Tuesday, December 22, 2015 10:00:12 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.79 | 0.293 | 0.0119 | 2.776 | Volume | 29.507 | 0.857 | 0.849 | 7.069 | 3.005 | 22.43 | 65.27 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005645 | 0.092382 | 0.23677 | 0.35928 | 0.45271 | 0.52305 | 0.56886 | 0.59889 | 0.62417 | 0.65691 | 0.7078 | 0.77985 | 0.86943 | 0.96567 | 1.0591 | 1.1443 | 1.2201 | 1.2894 | 1.3593 | 1.4418 | 1.5501 | 1.7025 | 1.9118 | 2.197 | 2.5589 | 3.0086 | 3.5201 | 4.0824 | 4.6421 | 5.1636 | 5.584 | 5.8627 | 5.9616 | 5.8688 | 5.594 | 5.1655 | 4.6244 | 4.0156 | 3.3758 | 2.7425 | 2.1318 | 1.573 | 1.0692 | 0.66917 | 0.33135 | 0.13797 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_6_8 | 6 | 6 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:10:26 AM | Tuesday, December 22, 2015 10:10:28 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.69 | 0.31 | 0.0121 | 2.92 | Volume | 28.496 | 0.916 | 0.911 | 6.585 | 2.725 | 20.896 | 63.744 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007016 | 0.11326 | 0.26513 | 0.39386 | 0.49172 | 0.56509 | 0.61289 | 0.64465 | 0.67243 | 0.70941 | 0.7671 | 0.84862 | 0.94993 | 1.059 | 1.1655 | 1.2629 | 1.3499 | 1.4294 | 1.5085 | 1.6 | 1.7172 | 1.8785 | 2.0957 | 2.3861 | 2.7473 | 3.1871 | 3.6766 | 4.2023 | 4.7115 | 5.1691 | 5.5172 | 5.7192 | 5.7439 | 5.5848 | 5.2579 | 4.7954 | 4.2417 | 3.6434 | 3.0374 | 2.4592 | 1.9219 | 1.4441 | 1.0258 | 0.68089 | 0.41535 | 0.21909 | 0.10519 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_6_8 | 6 | 6 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:11:08 AM | Tuesday, December 22, 2015 10:11:09 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12 | 0.294 | 0.0123 | 2.875 | Volume | 27.806 | 0.9 | 0.917 | 6.544 | 2.702 | 20.616 | 61.974 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006738 | 0.1092 | 0.26249 | 0.39282 | 0.49237 | 0.56743 | 0.61676 | 0.64986 | 0.6788 | 0.71681 | 0.77553 | 0.85816 | 0.96068 | 1.0711 | 1.1788 | 1.2775 | 1.3654 | 1.4456 | 1.5252 | 1.6173 | 1.7354 | 1.8983 | 2.1181 | 2.4123 | 2.7787 | 3.2249 | 3.7213 | 4.2538 | 4.7681 | 5.2281 | 5.5749 | 5.7711 | 5.7858 | 5.6134 | 5.2709 | 4.7918 | 4.2213 | 3.6065 | 2.9845 | 2.3915 | 1.8416 | 1.3554 | 0.93399 | 0.59288 | 0.33714 | 0.1568 | 0.063087 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_50_52 | 50 | 9 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:19:16 AM | Tuesday, December 22, 2015 10:19:18 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.83 | 0.313 | 0.0147 | 2.785 | Volume | 28.509 | 0.862 | 0.898 | 6.679 | 2.763 | 21.724 | 63.271 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007365 | 0.11833 | 0.26786 | 0.39486 | 0.49154 | 0.56396 | 0.61104 | 0.64202 | 0.66864 | 0.70377 | 0.75861 | 0.83616 | 0.93229 | 1.0351 | 1.1342 | 1.2231 | 1.3002 | 1.3683 | 1.4343 | 1.5106 | 1.6111 | 1.7549 | 1.9556 | 2.2329 | 2.5878 | 3.0314 | 3.5372 | 4.0936 | 4.6465 | 5.1592 | 5.5687 | 5.8341 | 5.9182 | 5.8099 | 5.5202 | 5.0781 | 4.5251 | 3.9065 | 3.2591 | 2.6216 | 2.0111 | 1.4579 | 0.96442 | 0.57796 | 0.25115 | 0.083524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_50_52 | 50 | 9 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:19:58 AM | Tuesday, December 22, 2015 10:20:00 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.89 | 0.305 | 0.0148 | 2.801 | Volume | 28.528 | 0.869 | 0.896 | 6.697 | 2.768 | 21.617 | 63.32 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006878 | 0.1111 | 0.26114 | 0.38878 | 0.48628 | 0.55976 | 0.608 | 0.6402 | 0.66805 | 0.70434 | 0.76024 | 0.83868 | 0.93556 | 1.039 | 1.1386 | 1.2281 | 1.3058 | 1.3746 | 1.4413 | 1.5185 | 1.6201 | 1.7651 | 1.9675 | 2.2467 | 2.6041 | 3.0505 | 3.5592 | 4.118 | 4.6718 | 5.183 | 5.5876 | 5.8441 | 5.9156 | 5.7922 | 5.4869 | 5.0311 | 4.4688 | 3.8477 | 3.2054 | 2.5798 | 1.9863 | 1.4517 | 0.97702 | 0.60469 | 0.29668 | 0.12336 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_52_54 | 52 | 11 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:28:15 AM | Tuesday, December 22, 2015 10:28:16 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.9 | 0.309 | 0.0113 | 2.914 | Volume | 28.7 | 0.904 | 0.907 | 6.615 | 2.717 | 21.21 | 64.527 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00684 | 0.11069 | 0.26359 | 0.3935 | 0.4927 | 0.56755 | 0.61687 | 0.65006 | 0.67905 | 0.71677 | 0.77451 | 0.85505 | 0.95398 | 1.059 | 1.1595 | 1.2492 | 1.3267 | 1.3952 | 1.4624 | 1.5416 | 1.6474 | 1.7994 | 2.0115 | 2.3026 | 2.6719 | 3.1275 | 3.6387 | 4.1893 | 4.7214 | 5.1961 | 5.5521 | 5.7528 | 5.7702 | 5.6037 | 5.2755 | 4.823 | 4.2907 | 3.7211 | 3.142 | 2.5786 | 2.0363 | 1.5323 | 1.0719 | 0.6809 | 0.37751 | 0.15934 | 0.051493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_52_54 | 52 | 11 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:28:56 AM | Tuesday, December 22, 2015 10:28:58 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.85 | 0.303 | 0.0112 | 2.859 | Volume | 28.236 | 0.891 | 0.905 | 6.631 | 2.727 | 21.051 | 62.916 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006378 | 0.10379 | 0.25662 | 0.38664 | 0.48624 | 0.56183 | 0.61212 | 0.64643 | 0.6766 | 0.71546 | 0.77426 | 0.85578 | 0.95571 | 1.0618 | 1.1635 | 1.2545 | 1.3333 | 1.4031 | 1.4715 | 1.5518 | 1.6586 | 1.8117 | 2.0249 | 2.3178 | 2.69 | 3.1503 | 3.6684 | 4.2281 | 4.771 | 5.257 | 5.623 | 5.8302 | 5.8483 | 5.6742 | 5.3293 | 4.8507 | 4.2853 | 3.6792 | 3.0658 | 2.4766 | 1.922 | 1.4217 | 0.97956 | 0.61605 | 0.34151 | 0.14879 | 0.052839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_70_72 | 70 | 19 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:38:02 AM | Tuesday, December 22, 2015 10:38:04 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.94 | 0.328 | 0.0143 | 3.215 | Volume | 33.044 | 0.976 | 0.862 | 6.959 | 2.872 | 23.292 | 77.751 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006967 | 0.11198 | 0.25411 | 0.37516 | 0.46784 | 0.53802 | 0.58479 | 0.61691 | 0.64555 | 0.68266 | 0.73859 | 0.81561 | 0.9092 | 1.0075 | 1.1005 | 1.1822 | 1.252 | 1.3136 | 1.3752 | 1.4499 | 1.5518 | 1.6988 | 1.9019 | 2.1762 | 2.5168 | 2.9276 | 3.3772 | 3.8497 | 4.2957 | 4.6861 | 4.9779 | 5.1524 | 5.1998 | 5.1317 | 4.9722 | 4.7483 | 4.481 | 4.1775 | 3.8284 | 3.4216 | 2.9409 | 2.3968 | 1.8089 | 1.2316 | 0.72963 | 0.30985 | 0.081193 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_70_72 | 70 | 19 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:38:43 AM | Tuesday, December 22, 2015 10:38:45 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.19 | 0.305 | 0.0143 | 3.244 | Volume | 32.344 | 0.987 | 0.876 | 6.853 | 2.813 | 22.616 | 76.18 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006612 | 0.10692 | 0.25311 | 0.37768 | 0.47323 | 0.54581 | 0.59434 | 0.6278 | 0.6576 | 0.696 | 0.75362 | 0.83284 | 0.92913 | 1.0305 | 1.1267 | 1.212 | 1.2857 | 1.3515 | 1.4176 | 1.4971 | 1.6036 | 1.7548 | 1.9617 | 2.2393 | 2.583 | 2.9968 | 3.4497 | 3.9254 | 4.3738 | 4.7641 | 5.0511 | 5.2136 | 5.2399 | 5.1408 | 4.9415 | 4.6723 | 4.3594 | 4.0166 | 3.641 | 3.2261 | 2.7579 | 2.2456 | 1.7038 | 1.178 | 0.72262 | 0.34066 | 0.12102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_72_74 | 72 | 21 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:46:37 AM | Tuesday, December 22, 2015 10:46:39 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.18 | 0.3 | 0.0134 | 2.895 | Volume | 30.705 | 0.891 | 0.859 | 6.988 | 2.928 | 22.817 | 68.991 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00648 | 0.10483 | 0.24917 | 0.37183 | 0.46548 | 0.53606 | 0.5823 | 0.6129 | 0.63889 | 0.6724 | 0.72406 | 0.79684 | 0.88704 | 0.98363 | 1.0768 | 1.1607 | 1.2336 | 1.2982 | 1.3611 | 1.4346 | 1.5319 | 1.6719 | 1.868 | 2.1395 | 2.4878 | 2.9234 | 3.4205 | 3.9676 | 4.5117 | 5.0175 | 5.4242 | 5.6939 | 5.7924 | 5.7121 | 5.4657 | 5.0827 | 4.602 | 4.0627 | 3.4923 | 2.9171 | 2.3446 | 1.7961 | 1.2815 | 0.83332 | 0.47759 | 0.21171 | 0.07316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_72_74 | 72 | 21 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:47:19 AM | Tuesday, December 22, 2015 10:47:20 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.31 | 0.293 | 0.0135 | 2.897 | Volume | 30.494 | 0.9 | 0.864 | 6.942 | 2.897 | 22.532 | 68.164 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006218 | 0.10102 | 0.24703 | 0.37126 | 0.46636 | 0.53833 | 0.58583 | 0.61758 | 0.6447 | 0.67939 | 0.73238 | 0.8066 | 0.89833 | 0.99648 | 1.0913 | 1.1767 | 1.2514 | 1.3179 | 1.383 | 1.4586 | 1.5582 | 1.7002 | 1.8982 | 2.1713 | 2.5206 | 2.9569 | 3.4541 | 4.0007 | 4.5435 | 5.0469 | 5.4499 | 5.7139 | 5.8042 | 5.7123 | 5.4508 | 5.0492 | 4.5475 | 3.9872 | 3.3991 | 2.8137 | 2.2419 | 1.7069 | 1.2161 | 0.80085 | 0.47082 | 0.24668 | 0.11208 | 0.055719 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_74_76 | 74 | 23 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:55:06 AM | Tuesday, December 22, 2015 10:55:08 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.81 | 0.298 | 0.0112 | 2.926 | Volume | 29.267 | 0.908 | 0.907 | 6.618 | 2.705 | 21.617 | 65.955 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.007129 | 0.11496 | 0.26736 | 0.39692 | 0.49591 | 0.57062 | 0.61994 | 0.65322 | 0.68235 | 0.72016 | 0.77781 | 0.85799 | 0.95621 | 1.0602 | 1.1593 | 1.2474 | 1.3233 | 1.39 | 1.4549 | 1.5308 | 1.6317 | 1.7763 | 1.9778 | 2.2547 | 2.607 | 3.0438 | 3.5374 | 4.0745 | 4.6013 | 5.0814 | 5.4553 | 5.6855 | 5.7406 | 5.6149 | 5.3246 | 4.9018 | 4.3885 | 3.8268 | 3.2471 | 2.6777 | 2.1263 | 1.6118 | 1.1392 | 0.73393 | 0.41545 | 0.17944 | 0.058627 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_74_76 | 74 | 23 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 10:55:47 AM | Tuesday, December 22, 2015 10:55:49 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.74 | 0.298 | 0.0111 | 2.903 | Volume | 28.815 | 0.898 | 0.905 | 6.629 | 2.711 | 21.422 | 64.895 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006721 | 0.10888 | 0.26129 | 0.39087 | 0.49 | 0.56509 | 0.61501 | 0.64916 | 0.67946 | 0.71874 | 0.77815 | 0.86026 | 0.96046 | 1.0663 | 1.167 | 1.2562 | 1.3328 | 1.3998 | 1.465 | 1.5415 | 1.6435 | 1.7904 | 1.9955 | 2.2775 | 2.6359 | 3.0795 | 3.5793 | 4.1211 | 4.6494 | 5.1274 | 5.4951 | 5.7158 | 5.7596 | 5.6226 | 5.3223 | 4.8917 | 4.3725 | 3.8058 | 3.2207 | 2.6452 | 2.0873 | 1.5667 | 1.0918 | 0.68392 | 0.37877 | 0.12806 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_90_91 | 90 | 39 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 11:03:19 AM | Tuesday, December 22, 2015 11:03:21 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.35 | 0.439 | 0.0198 | 2.506 | Volume | 46.516 | 0.788 | 0.645 | 9.309 | 4.47 | 38.365 | 100.619 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005022 | 0.08101 | 0.18867 | 0.28041 | 0.3505 | 0.40317 | 0.43737 | 0.45947 | 0.47752 | 0.50028 | 0.53514 | 0.58363 | 0.64212 | 0.70193 | 0.75601 | 0.80138 | 0.83946 | 0.87544 | 0.91771 | 0.97766 | 1.0656 | 1.1929 | 1.3626 | 1.5793 | 1.8311 | 2.1132 | 2.4004 | 2.6843 | 2.9456 | 3.189 | 3.4209 | 3.6692 | 3.9612 | 4.3262 | 4.7687 | 5.265 | 5.7496 | 6.1242 | 6.2806 | 6.1273 | 5.6201 | 4.7944 | 3.7338 | 2.606 | 1.5474 | 0.69858 | 0.12891 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_90_91 | 90 | 39 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 11:04:01 AM | Tuesday, December 22, 2015 11:04:02 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.32 | 0.439 | 0.0194 | 2.54 | Volume | 45.574 | 0.798 | 0.654 | 9.172 | 4.345 | 37.295 | 99.076 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.083375 | 0.18837 | 0.28199 | 0.35365 | 0.40766 | 0.44294 | 0.46596 | 0.48493 | 0.50877 | 0.54502 | 0.59523 | 0.65572 | 0.71765 | 0.77386 | 0.82134 | 0.86155 | 0.8998 | 0.94464 | 1.0076 | 1.099 | 1.2305 | 1.4049 | 1.6268 | 1.8839 | 2.1712 | 2.4631 | 2.7507 | 3.0141 | 3.2575 | 3.4868 | 3.7292 | 4.0116 | 4.3627 | 4.7869 | 5.2605 | 5.7193 | 6.0665 | 6.1968 | 6.0217 | 5.4999 | 4.6674 | 3.6121 | 2.486 | 1.4674 | 0.58197 | 0.10147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_110_111 | 110 | 59 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 11:12:04 AM | Tuesday, December 22, 2015 11:12:06 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.66 | 0.673 | 0.043 | 1.182 | Volume | 69.385 | 0.376 | 0.228 | 26.259 | 34.049 | 66.26 | 112.356 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.043146 | 0.072956 | 0.096735 | 0.11728 | 0.13129 | 0.14125 | 0.14842 | 0.15483 | 0.16174 | 0.16858 | 0.17304 | 0.17211 | 0.16474 | 0.15363 | 0.14502 | 0.14727 | 0.16911 | 0.21737 | 0.29253 | 0.38895 | 0.4881 | 0.56667 | 0.59376 | 0.54552 | 0.41635 | 0.2299 | 0.029921 | 0 | 0.064699 | 0.43786 | 1.2272 | 2.5754 | 4.4672 | 6.742 | 9.0667 | 11.0035 | 12.1396 | 12.1884 | 11.108 | 9.1334 | 6.6526 | 4.1857 | 2.1446 | 0.68184 | 0.051313 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_110_111 | 110 | 59 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 11:12:45 AM | Tuesday, December 22, 2015 11:12:47 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.77 | 0.683 | 0.0437 | 1.185 | Volume | 69.696 | 0.378 | 0.227 | 26.425 | 34.137 | 66.504 | 112.952 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.041913 | 0.071626 | 0.095318 | 0.11589 | 0.1299 | 0.13991 | 0.14716 | 0.15367 | 0.1607 | 0.16767 | 0.17228 | 0.17152 | 0.16433 | 0.15339 | 0.14489 | 0.14711 | 0.16871 | 0.21644 | 0.2908 | 0.38626 | 0.48458 | 0.56288 | 0.59071 | 0.54453 | 0.41836 | 0.23672 | 0.031471 | 0 | 0.065468 | 0.43575 | 1.2143 | 2.5473 | 4.422 | 6.6825 | 9.0009 | 10.9431 | 12.0972 | 12.1737 | 11.1252 | 9.1796 | 6.7197 | 4.2605 | 2.2155 | 0.73198 | 0.076541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_130_131 | 130 | 79 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 11:20:09 AM | Tuesday, December 22, 2015 11:20:11 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.75 | 0.672 | 0.0412 | 1.347 | Volume | 67.421 | 0.431 | 0.238 | 25.176 | 30.388 | 62.292 | 114.324 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077531 | 0.113 | 0.13796 | 0.15363 | 0.16407 | 0.17009 | 0.17408 | 0.17724 | 0.17918 | 0.17805 | 0.17216 | 0.16241 | 0.15353 | 0.15272 | 0.16731 | 0.20244 | 0.25924 | 0.331 | 0.40541 | 0.46115 | 0.47684 | 0.43422 | 0.32718 | 0.17845 | 0.015268 | 0 | 0.087047 | 0.50696 | 1.313 | 2.523 | 4.1078 | 5.9194 | 7.7504 | 9.339 | 10.4303 | 10.841 | 10.4914 | 9.4276 | 7.8372 | 5.9442 | 4.0717 | 2.4111 | 1.1999 | 0.3748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_130_131 | 130 | 79 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 11:20:51 AM | Tuesday, December 22, 2015 11:20:53 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.71 | 0.676 | 0.0409 | 1.355 | Volume | 67.809 | 0.433 | 0.238 | 25.164 | 30.375 | 62.611 | 115.227 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.076456 | 0.11176 | 0.13681 | 0.15259 | 0.16326 | 0.16962 | 0.17412 | 0.17795 | 0.18073 | 0.18059 | 0.17576 | 0.167 | 0.15894 | 0.1586 | 0.17326 | 0.20805 | 0.26421 | 0.33528 | 0.40927 | 0.46516 | 0.48191 | 0.44113 | 0.33641 | 0.19098 | 0.016795 | 0 | 0.088333 | 0.50129 | 1.2902 | 2.4806 | 4.0447 | 5.8389 | 7.6602 | 9.2503 | 10.3558 | 10.7924 | 10.476 | 9.4478 | 7.8895 | 6.0204 | 4.1609 | 2.498 | 1.2775 | 0.42053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_150_151 | 150 | 99 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 11:28:32 AM | Tuesday, December 22, 2015 11:28:33 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.9 | 0.616 | 0.0495 | 1.368 | Volume | 70.984 | 0.433 | 0.222 | 27.068 | 31.696 | 65.204 | 120.92 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074249 | 0.10722 | 0.12961 | 0.14325 | 0.15162 | 0.15558 | 0.15746 | 0.15853 | 0.15873 | 0.1566 | 0.15076 | 0.14187 | 0.1338 | 0.13241 | 0.14368 | 0.17185 | 0.21782 | 0.27611 | 0.33657 | 0.38171 | 0.39404 | 0.35875 | 0.27139 | 0.15251 | 0.013657 | 0 | 0.10395 | 0.51328 | 1.2377 | 2.3323 | 3.7746 | 5.4502 | 7.1896 | 8.7688 | 9.956 | 10.5665 | 10.4874 | 9.7141 | 8.3686 | 6.6286 | 4.7884 | 3.0453 | 1.6677 | 0.63929 | 0.097875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_150_151 | 150 | 99 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 11:29:13 AM | Tuesday, December 22, 2015 11:29:15 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.94 | 0.603 | 0.0495 | 1.371 | Volume | 71.192 | 0.434 | 0.222 | 26.992 | 31.669 | 65.398 | 121.355 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073842 | 0.10684 | 0.1294 | 0.14316 | 0.15172 | 0.15594 | 0.15821 | 0.1598 | 0.16065 | 0.15928 | 0.15415 | 0.14581 | 0.13801 | 0.13656 | 0.14748 | 0.1751 | 0.22055 | 0.27855 | 0.33922 | 0.38519 | 0.39915 | 0.36604 | 0.28111 | 0.16545 | 0.015238 | 0 | 0.10641 | 0.51181 | 1.223 | 2.3038 | 3.7323 | 5.3975 | 7.1327 | 8.7156 | 9.9145 | 10.5429 | 10.4844 | 9.7305 | 8.3998 | 6.668 | 4.829 | 3.0818 | 1.6974 | 0.66316 | 0.11867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_170_171 | 170 | 119 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 11:37:51 AM | Tuesday, December 22, 2015 11:37:53 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.05 | 0.608 | 0.0448 | 1.342 | Volume | 64.418 | 0.427 | 0.248 | 24.145 | 28.559 | 59.963 | 109.022 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.086426 | 0.12454 | 0.15029 | 0.1659 | 0.17524 | 0.17925 | 0.18062 | 0.18089 | 0.18023 | 0.17732 | 0.17092 | 0.16201 | 0.15492 | 0.15593 | 0.17117 | 0.20455 | 0.25634 | 0.31984 | 0.38375 | 0.42957 | 0.43977 | 0.40128 | 0.31326 | 0.2004 | 0.10927 | 0.11847 | 0.32466 | 0.82037 | 1.6872 | 2.9353 | 4.5239 | 6.3046 | 8.0723 | 9.5708 | 10.5514 | 10.8361 | 10.3538 | 9.161 | 7.4596 | 5.4936 | 3.573 | 1.961 | 0.69903 | 0.080113 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_170_171 | 170 | 119 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 11:38:33 AM | Tuesday, December 22, 2015 11:38:35 AM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.12 | 0.604 | 0.0449 | 1.337 | Volume | 64.209 | 0.425 | 0.249 | 24.051 | 28.484 | 59.873 | 108.543 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.086391 | 0.12459 | 0.15049 | 0.16627 | 0.17582 | 0.18007 | 0.18167 | 0.18217 | 0.18173 | 0.17904 | 0.17287 | 0.16416 | 0.15726 | 0.15839 | 0.17367 | 0.20703 | 0.25878 | 0.32235 | 0.38652 | 0.43291 | 0.44397 | 0.40648 | 0.31932 | 0.20678 | 0.11507 | 0.12261 | 0.32615 | 0.81889 | 1.6833 | 2.9308 | 4.5216 | 6.3079 | 8.0839 | 9.592 | 10.5804 | 10.8683 | 10.382 | 9.1774 | 7.4583 | 5.472 | 3.534 | 1.9116 | 0.65046 | 0.044518 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_190_191 | 190 | 139 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 1:39:40 PM | Tuesday, December 22, 2015 1:39:42 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.42 | 0.837 | 0.0513 | 1.138 | Volume | 68.386 | 0.364 | 0.205 | 29.217 | 35.471 | 64.741 | 109.135 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.069784 | 0.099962 | 0.11973 | 0.13138 | 0.13808 | 0.14086 | 0.14199 | 0.14256 | 0.14216 | 0.13868 | 0.12982 | 0.11521 | 0.098023 | 0.084238 | 0.081082 | 0.095407 | 0.13161 | 0.18833 | 0.25888 | 0.32677 | 0.37295 | 0.37435 | 0.31562 | 0.20482 | 0.018432 | 0 | 0 | 0.082068 | 0.56439 | 1.5253 | 3.0755 | 5.1516 | 7.5396 | 9.8617 | 11.6616 | 12.5427 | 12.2729 | 10.8814 | 8.6826 | 6.1079 | 3.688 | 1.7823 | 0.51095 | 0.008821 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_190_191 | 190 | 139 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 1:40:22 PM | Tuesday, December 22, 2015 1:40:23 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.4 | 0.832 | 0.052 | 1.133 | Volume | 70.371 | 0.36 | 0.202 | 29.633 | 36.429 | 66.8 | 112.131 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.066963 | 0.10042 | 0.11909 | 0.13068 | 0.13815 | 0.14127 | 0.14286 | 0.14377 | 0.14353 | 0.13996 | 0.13068 | 0.11537 | 0.097326 | 0.082754 | 0.079114 | 0.093455 | 0.13025 | 0.18805 | 0.25993 | 0.32902 | 0.37584 | 0.37701 | 0.3169 | 0.20312 | 0.018186 | 0 | 0 | 0.063911 | 0.46436 | 1.3019 | 2.6975 | 4.6332 | 6.9484 | 9.3118 | 11.2829 | 12.4387 | 12.4788 | 11.3517 | 9.2985 | 6.7255 | 4.1821 | 2.0954 | 0.63401 | 0.02761 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_210_211 | 210 | 159 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 1:47:33 PM | Tuesday, December 22, 2015 1:47:34 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.14 | 0.553 | 0.0407 | 1.177 | Volume | 56.258 | 0.378 | 0.255 | 23.492 | 28.265 | 53.237 | 90.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.047939 | 0.08571 | 0.11629 | 0.14367 | 0.16163 | 0.17275 | 0.17693 | 0.17578 | 0.17045 | 0.16166 | 0.14948 | 0.13504 | 0.122 | 0.11714 | 0.12796 | 0.15989 | 0.21337 | 0.28297 | 0.35328 | 0.4051 | 0.41044 | 0.35665 | 0.22966 | 0 | 0 | 0 | 0.038524 | 0.3413 | 1.0497 | 2.2647 | 3.9889 | 6.1151 | 8.3623 | 10.3681 | 11.7388 | 12.1701 | 11.5421 | 9.9677 | 7.7341 | 5.2945 | 3.0255 | 1.2999 | 0.22291 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_210_211 | 210 | 159 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 1:48:14 PM | Tuesday, December 22, 2015 1:48:16 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.13 | 0.551 | 0.0406 | 1.18 | Volume | 56.261 | 0.379 | 0.256 | 23.479 | 28.205 | 53.223 | 90.985 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.047394 | 0.085223 | 0.11586 | 0.14339 | 0.16146 | 0.17273 | 0.17702 | 0.17598 | 0.17073 | 0.16204 | 0.14999 | 0.13577 | 0.12304 | 0.11857 | 0.12977 | 0.16196 | 0.21551 | 0.28494 | 0.35485 | 0.40618 | 0.41107 | 0.35742 | 0.23115 | 0 | 0 | 0 | 0.043038 | 0.35184 | 1.0627 | 2.278 | 3.999 | 6.1182 | 8.3559 | 10.3517 | 11.715 | 12.1437 | 11.519 | 9.9528 | 7.7298 | 5.3003 | 3.0376 | 1.3175 | 0.23191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_230_231 | 230 | 179 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 1:56:02 PM | Tuesday, December 22, 2015 1:56:03 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.25 | 0.395 | 0.0288 | 1.484 | Volume | 44.29 | 0.468 | 0.37 | 16.21 | 17.733 | 40.427 | 77.715 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.091633 | 0.14896 | 0.20283 | 0.23652 | 0.25817 | 0.26461 | 0.26028 | 0.24905 | 0.23569 | 0.22464 | 0.2191 | 0.22182 | 0.23546 | 0.26187 | 0.29961 | 0.34287 | 0.38155 | 0.40377 | 0.39795 | 0.35823 | 0.2914 | 0.21942 | 0.188 | 0.26141 | 0.51366 | 1.0277 | 1.8432 | 2.9882 | 4.3889 | 5.9501 | 7.4773 | 8.7833 | 9.6661 | 9.9894 | 9.6951 | 8.8253 | 7.5029 | 5.9233 | 4.2775 | 2.7519 | 1.5311 | 0.51218 | 0.09817 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_230_231 | 230 | 179 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 1:56:43 PM | Tuesday, December 22, 2015 1:56:45 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.26 | 0.394 | 0.0289 | 1.488 | Volume | 44.364 | 0.469 | 0.369 | 16.26 | 17.737 | 40.449 | 77.944 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.090435 | 0.14758 | 0.20138 | 0.23503 | 0.25672 | 0.26325 | 0.25905 | 0.24798 | 0.23482 | 0.22399 | 0.21868 | 0.2216 | 0.23537 | 0.26179 | 0.29938 | 0.34231 | 0.38049 | 0.40208 | 0.39565 | 0.3555 | 0.28864 | 0.2173 | 0.18728 | 0.26293 | 0.51791 | 1.0347 | 1.8522 | 2.9974 | 4.3958 | 5.9516 | 7.4707 | 8.7672 | 9.6414 | 9.9597 | 9.6666 | 8.8051 | 7.4964 | 5.9326 | 4.3 | 2.7812 | 1.5605 | 0.53238 | 0.10727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_250_251 | 250 | 199 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 2:22:19 PM | Tuesday, December 22, 2015 2:22:21 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.46 | 0.368 | 0.0238 | 1.702 | Volume | 42.883 | 0.512 | 0.453 | 13.256 | 11.08 | 39.347 | 78.062 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11607 | 0.18314 | 0.24618 | 0.28693 | 0.31546 | 0.32905 | 0.3338 | 0.33453 | 0.33676 | 0.3441 | 0.3581 | 0.37876 | 0.40665 | 0.44273 | 0.48633 | 0.53382 | 0.57834 | 0.61178 | 0.6254 | 0.61488 | 0.58443 | 0.55093 | 0.54909 | 0.63069 | 0.8555 | 1.2942 | 1.9838 | 2.9552 | 4.1553 | 5.5128 | 6.868 | 8.0618 | 8.9123 | 9.2864 | 9.1121 | 8.404 | 7.252 | 5.8211 | 4.2778 | 2.8179 | 1.5677 | 0.61483 | 0.069325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_250_251 | 250 | 199 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 2:23:01 PM | Tuesday, December 22, 2015 2:23:03 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.32 | 0.369 | 0.0233 | 1.715 | Volume | 42.707 | 0.515 | 0.456 | 13.165 | 10.775 | 39.152 | 77.915 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1165 | 0.18391 | 0.24724 | 0.28818 | 0.31687 | 0.33064 | 0.33568 | 0.33688 | 0.3398 | 0.34803 | 0.36305 | 0.38468 | 0.41335 | 0.4499 | 0.49359 | 0.54087 | 0.58501 | 0.61812 | 0.63174 | 0.62186 | 0.59307 | 0.56258 | 0.56519 | 0.65268 | 0.88409 | 1.3292 | 2.0234 | 2.9959 | 4.1921 | 5.5397 | 6.8798 | 8.0547 | 8.8856 | 9.2426 | 9.0568 | 8.3445 | 7.1957 | 5.7741 | 4.2441 | 2.7978 | 1.5593 | 0.61239 | 0.068644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_256_258 | 256 | 205 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 2:30:55 PM | Tuesday, December 22, 2015 2:30:57 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 13.14 | 0.351 | 0.0251 | 1.818 | Volume | 41.06 | 0.538 | 0.497 | 12.076 | 8.227 | 37.472 | 76.349 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13758 | 0.20975 | 0.27651 | 0.31922 | 0.34842 | 0.36194 | 0.36679 | 0.36875 | 0.37416 | 0.38684 | 0.40795 | 0.43638 | 0.47145 | 0.51301 | 0.55971 | 0.60804 | 0.65221 | 0.68623 | 0.7043 | 0.70562 | 0.69723 | 0.69829 | 0.74185 | 0.87696 | 1.1538 | 1.6332 | 2.3382 | 3.2883 | 4.4233 | 5.6712 | 6.8835 | 7.9176 | 8.6161 | 8.8686 | 8.6207 | 7.894 | 6.7751 | 5.4146 | 3.9672 | 2.591 | 1.4645 | 0.48479 | 0.085161 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_256_258 | 256 | 205 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 2:31:37 PM | Tuesday, December 22, 2015 2:31:39 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.94 | 0.362 | 0.0245 | 1.821 | Volume | 40.721 | 0.538 | 0.5 | 11.997 | 8.007 | 37.186 | 75.731 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13679 | 0.2093 | 0.27645 | 0.31946 | 0.349 | 0.36288 | 0.36819 | 0.37075 | 0.37696 | 0.39066 | 0.41303 | 0.4429 | 0.47948 | 0.5225 | 0.57049 | 0.61985 | 0.66478 | 0.69934 | 0.71787 | 0.71975 | 0.7122 | 0.71459 | 0.76015 | 0.89809 | 1.1785 | 1.6624 | 2.3722 | 3.3269 | 4.4652 | 5.7141 | 6.9234 | 7.9496 | 8.6348 | 8.8687 | 8.5985 | 7.8484 | 6.7083 | 5.3329 | 3.8799 | 2.5108 | 1.3997 | 0.45394 | 0.076431 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_260_262 | 260 | 209 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 2:40:23 PM | Tuesday, December 22, 2015 2:40:25 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.53 | 0.298 | 0.0241 | 2.222 | Volume | 39.816 | 0.669 | 0.624 | 9.621 | 4.781 | 34.216 | 80.812 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074932 | 0.1781 | 0.27012 | 0.3408 | 0.39389 | 0.42753 | 0.44733 | 0.46055 | 0.47578 | 0.5008 | 0.53897 | 0.58932 | 0.64641 | 0.70527 | 0.76246 | 0.81536 | 0.86175 | 0.90003 | 0.93092 | 0.95701 | 0.98613 | 1.0305 | 1.111 | 1.2508 | 1.4841 | 1.8309 | 2.3209 | 2.9444 | 3.6969 | 4.5192 | 5.3583 | 6.1221 | 6.7356 | 7.1222 | 7.2338 | 7.0485 | 6.5767 | 5.8542 | 4.9503 | 3.9338 | 2.9071 | 1.9408 | 1.1298 | 0.51616 | 0.1186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_260_262 | 260 | 209 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 2:41:05 PM | Tuesday, December 22, 2015 2:41:07 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.48 | 0.3 | 0.0239 | 2.222 | Volume | 39.444 | 0.669 | 0.626 | 9.591 | 4.728 | 33.897 | 80.046 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.070923 | 0.17529 | 0.26815 | 0.33959 | 0.39339 | 0.42765 | 0.44798 | 0.4617 | 0.47749 | 0.50323 | 0.54236 | 0.59401 | 0.65272 | 0.71345 | 0.77255 | 0.82725 | 0.87515 | 0.91446 | 0.94583 | 0.97183 | 1.0003 | 1.0438 | 1.1233 | 1.2628 | 1.4969 | 1.8465 | 2.3418 | 2.9732 | 3.7353 | 4.5673 | 5.4135 | 6.1787 | 6.7856 | 7.1566 | 7.2448 | 7.0314 | 6.5314 | 5.7853 | 4.867 | 3.8465 | 2.8297 | 1.8717 | 1.1039 | 0.45325 | 0.13419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_264_266 | 264 | 213 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 2:47:48 PM | Tuesday, December 22, 2015 2:47:50 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.18 | 0.329 | 0.0202 | 1.958 | Volume | 38.073 | 0.579 | 0.565 | 10.611 | 5.8 | 34.29 | 72.925 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15549 | 0.23614 | 0.31065 | 0.3587 | 0.39246 | 0.41006 | 0.42 | 0.42915 | 0.44496 | 0.47133 | 0.50881 | 0.55447 | 0.60567 | 0.66033 | 0.71571 | 0.7677 | 0.81102 | 0.84161 | 0.85708 | 0.86122 | 0.86605 | 0.89565 | 0.98464 | 1.1819 | 1.5289 | 2.0757 | 2.8263 | 3.7815 | 4.8643 | 5.9922 | 7.0207 | 7.8223 | 8.2709 | 8.2923 | 7.8691 | 7.0503 | 5.9331 | 4.661 | 3.3656 | 2.1754 | 1.2229 | 0.42029 | 0.086359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_264_266 | 264 | 213 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 2:48:30 PM | Tuesday, December 22, 2015 2:48:32 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 12.13 | 0.33 | 0.02 | 1.951 | Volume | 37.671 | 0.577 | 0.569 | 10.55 | 5.723 | 34.008 | 72.06 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15497 | 0.23622 | 0.31141 | 0.35989 | 0.39405 | 0.41193 | 0.42214 | 0.43157 | 0.44777 | 0.47466 | 0.51283 | 0.55933 | 0.61149 | 0.66719 | 0.7236 | 0.7765 | 0.82055 | 0.85162 | 0.8673 | 0.87144 | 0.87625 | 0.90614 | 0.99624 | 1.1961 | 1.5476 | 2.1012 | 2.8604 | 3.8253 | 4.917 | 6.0511 | 7.0807 | 7.8765 | 8.3116 | 8.3119 | 7.8621 | 7.0146 | 5.8708 | 4.5785 | 3.2726 | 2.0834 | 1.1412 | 0.35812 | 0.054234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_268_270 | 268 | 217 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 2:57:03 PM | Tuesday, December 22, 2015 2:57:05 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.59 | 0.341 | 0.0207 | 1.859 | Volume | 39.645 | 0.544 | 0.525 | 11.435 | 6.975 | 36.16 | 74.196 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14315 | 0.2194 | 0.29016 | 0.33571 | 0.36745 | 0.38319 | 0.39055 | 0.3957 | 0.40543 | 0.42359 | 0.45116 | 0.48642 | 0.52806 | 0.57534 | 0.62636 | 0.67711 | 0.72142 | 0.75323 | 0.76714 | 0.76324 | 0.75031 | 0.74976 | 0.79722 | 0.94411 | 1.2412 | 1.7488 | 2.4854 | 3.4645 | 4.6168 | 5.8618 | 7.0436 | 8.0166 | 8.6271 | 8.774 | 8.4186 | 7.6009 | 6.4232 | 5.0472 | 3.6285 | 2.3198 | 1.2755 | 0.40096 | 0.060464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_268_270 | 268 | 217 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 2:57:44 PM | Tuesday, December 22, 2015 2:57:46 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.44 | 0.338 | 0.0203 | 1.863 | Volume | 39.327 | 0.546 | 0.528 | 11.37 | 6.848 | 35.873 | 73.696 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14183 | 0.21855 | 0.28992 | 0.33597 | 0.36825 | 0.38447 | 0.39229 | 0.39789 | 0.40812 | 0.4269 | 0.4553 | 0.49165 | 0.53462 | 0.5833 | 0.6356 | 0.6873 | 0.73216 | 0.76417 | 0.77819 | 0.77477 | 0.76328 | 0.7657 | 0.81794 | 0.97148 | 1.2764 | 1.7921 | 2.5352 | 3.5178 | 4.6686 | 5.9059 | 7.0736 | 8.0274 | 8.6162 | 8.7421 | 8.3695 | 7.5405 | 6.3581 | 4.983 | 3.5692 | 2.2677 | 1.2314 | 0.36501 | 0.040724 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_272_274 | 272 | 221 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 3:04:57 PM | Tuesday, December 22, 2015 3:04:59 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.6 | 0.303 | 0.0156 | 2.041 | Volume | 35.751 | 0.607 | 0.63 | 9.526 | 4.57 | 32.028 | 69.936 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17375 | 0.26288 | 0.3452 | 0.39868 | 0.43718 | 0.45912 | 0.47444 | 0.491 | 0.51719 | 0.55677 | 0.60943 | 0.67043 | 0.73532 | 0.80063 | 0.86278 | 0.91763 | 0.96076 | 0.98988 | 1.005 | 1.0129 | 1.0277 | 1.0753 | 1.1892 | 1.416 | 1.7904 | 2.3552 | 3.1046 | 4.0311 | 5.0528 | 6.0864 | 6.9943 | 7.6601 | 7.9749 | 7.881 | 7.3761 | 6.519 | 5.4093 | 4.1855 | 2.969 | 1.8741 | 1.0137 | 0.30014 | 0.033498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_272_274 | 272 | 221 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 3:05:38 PM | Tuesday, December 22, 2015 3:05:40 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.54 | 0.304 | 0.0155 | 2.051 | Volume | 35.702 | 0.611 | 0.63 | 9.521 | 4.561 | 31.895 | 69.979 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17102 | 0.26038 | 0.34312 | 0.39694 | 0.43586 | 0.45821 | 0.47396 | 0.49094 | 0.51758 | 0.55763 | 0.61082 | 0.6724 | 0.73795 | 0.80396 | 0.86684 | 0.92247 | 0.96652 | 0.99683 | 1.0136 | 1.0236 | 1.0413 | 1.0926 | 1.2106 | 1.4416 | 1.8194 | 2.3859 | 3.1342 | 4.0558 | 5.0688 | 6.0898 | 6.983 | 7.6337 | 7.9354 | 7.8325 | 7.3241 | 6.4696 | 5.3678 | 4.1561 | 2.9539 | 1.8743 | 1.0266 | 0.32824 | 0.05418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_276_278 | 276 | 225 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 3:14:32 PM | Tuesday, December 22, 2015 3:14:34 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.87 | 0.401 | 0.0267 | 1.565 | Volume | 43.393 | 0.482 | 0.42 | 14.285 | 14.426 | 40.137 | 77.243 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11118 | 0.1743 | 0.23325 | 0.27077 | 0.2959 | 0.30588 | 0.3061 | 0.30099 | 0.29566 | 0.29391 | 0.2978 | 0.30847 | 0.32761 | 0.3572 | 0.39715 | 0.44388 | 0.48987 | 0.52565 | 0.54051 | 0.52792 | 0.49023 | 0.44315 | 0.42253 | 0.48275 | 0.68987 | 1.1219 | 1.8242 | 2.8353 | 4.1046 | 5.5593 | 7.0289 | 8.3392 | 9.2874 | 9.7217 | 9.5564 | 8.8027 | 7.5586 | 6.0057 | 4.3408 | 2.751 | 1.4917 | 0.33796 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_276_278 | 276 | 225 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 3:15:13 PM | Tuesday, December 22, 2015 3:15:15 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 11.83 | 0.395 | 0.0265 | 1.576 | Volume | 43.228 | 0.485 | 0.422 | 14.21 | 14.141 | 39.952 | 77.113 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10989 | 0.17336 | 0.23281 | 0.27074 | 0.29635 | 0.30683 | 0.30761 | 0.30315 | 0.29858 | 0.2977 | 0.30255 | 0.31417 | 0.33417 | 0.36441 | 0.40468 | 0.45137 | 0.49701 | 0.53231 | 0.54685 | 0.53445 | 0.49788 | 0.45326 | 0.43657 | 0.50221 | 0.7156 | 1.1539 | 1.8612 | 2.8744 | 4.1415 | 5.5886 | 7.0453 | 8.3383 | 9.2673 | 9.6832 | 9.5037 | 8.7423 | 7.4985 | 5.9534 | 4.3027 | 2.7291 | 1.4905 | 0.34158 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_280_282 | 280 | 229 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 3:21:58 PM | Tuesday, December 22, 2015 3:22:00 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.1 | 0.317 | 0.0248 | 1.95 | Volume | 37.618 | 0.575 | 0.591 | 10.157 | 5.495 | 34.055 | 71.889 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.067096 | 0.16744 | 0.25697 | 0.32604 | 0.37795 | 0.41035 | 0.42804 | 0.43736 | 0.44618 | 0.46187 | 0.48837 | 0.52605 | 0.5717 | 0.6224 | 0.67593 | 0.72938 | 0.77844 | 0.8177 | 0.84291 | 0.85175 | 0.84815 | 0.84488 | 0.86691 | 0.95052 | 1.1462 | 1.4969 | 2.0538 | 2.8204 | 3.7967 | 4.9025 | 6.0521 | 7.0966 | 7.9048 | 8.3479 | 8.3509 | 7.898 | 7.0426 | 5.888 | 4.584 | 3.2674 | 2.0692 | 1.121 | 0.33078 | 0.035885 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_280_282 | 280 | 229 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 3:22:39 PM | Tuesday, December 22, 2015 3:22:41 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 15.09 | 0.32 | 0.0246 | 1.956 | Volume | 37.379 | 0.578 | 0.595 | 10.091 | 5.397 | 33.822 | 71.566 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064803 | 0.1664 | 0.2569 | 0.32678 | 0.37942 | 0.41244 | 0.43073 | 0.44069 | 0.45028 | 0.46691 | 0.49454 | 0.53342 | 0.58023 | 0.63194 | 0.68627 | 0.74032 | 0.78985 | 0.82956 | 0.8554 | 0.86529 | 0.86342 | 0.86274 | 0.88833 | 0.97615 | 1.1763 | 1.531 | 2.0905 | 2.8572 | 3.8302 | 4.9289 | 6.0676 | 7.0981 | 7.8908 | 8.3187 | 8.3089 | 7.8473 | 6.9881 | 5.8344 | 4.5353 | 3.2263 | 2.037 | 1.0976 | 0.31502 | 0.027991 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_284_286 | 284 | 233 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 3:30:35 PM | Tuesday, December 22, 2015 3:30:37 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.5 | 0.308 | 0.0149 | 2.111 | Volume | 34.114 | 0.632 | 0.652 | 9.197 | 4.28 | 29.98 | 67.565 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17374 | 0.26528 | 0.34971 | 0.40419 | 0.44343 | 0.46605 | 0.48275 | 0.50206 | 0.53312 | 0.57994 | 0.64214 | 0.714 | 0.78962 | 0.8636 | 0.93054 | 0.98508 | 1.0228 | 1.043 | 1.0491 | 1.0528 | 1.0748 | 1.1473 | 1.3074 | 1.6033 | 2.0618 | 2.7154 | 3.5374 | 4.5004 | 5.5025 | 6.4481 | 7.2025 | 7.6647 | 7.7573 | 7.4594 | 6.8045 | 5.8764 | 4.7824 | 3.651 | 2.5784 | 1.6483 | 0.93229 | 0.35523 | 0.096414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_284_286 | 284 | 233 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 3:31:16 PM | Tuesday, December 22, 2015 3:31:18 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.51 | 0.331 | 0.015 | 2.109 | Volume | 34.164 | 0.633 | 0.647 | 9.278 | 4.345 | 29.981 | 67.571 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16898 | 0.25976 | 0.34368 | 0.39782 | 0.43687 | 0.45936 | 0.47589 | 0.49492 | 0.52555 | 0.57184 | 0.63353 | 0.70513 | 0.78095 | 0.85569 | 0.92395 | 0.98021 | 1.0198 | 1.0417 | 1.0493 | 1.0539 | 1.0762 | 1.1487 | 1.3088 | 1.6052 | 2.065 | 2.7213 | 3.5475 | 4.5159 | 5.5234 | 6.4734 | 7.2293 | 7.6889 | 7.7743 | 7.4652 | 6.7972 | 5.8569 | 4.7545 | 3.6218 | 2.5531 | 1.6447 | 0.92019 | 0.43163 | 0.098051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_288_290 | 288 | 237 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 3:40:15 PM | Tuesday, December 22, 2015 3:40:17 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.61 | 0.318 | 0.0162 | 2.013 | Volume | 35.571 | 0.596 | 0.607 | 9.884 | 4.937 | 31.78 | 68.908 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16113 | 0.24758 | 0.32769 | 0.37941 | 0.41637 | 0.43675 | 0.45011 | 0.46416 | 0.48724 | 0.52351 | 0.57328 | 0.63244 | 0.69671 | 0.762 | 0.82352 | 0.87562 | 0.91255 | 0.93123 | 0.93237 | 0.92451 | 0.92642 | 0.96925 | 1.093 | 1.3501 | 1.777 | 2.4159 | 3.2516 | 4.2653 | 5.3568 | 6.4278 | 7.3289 | 7.941 | 8.1636 | 7.9558 | 7.3377 | 6.3897 | 5.2258 | 3.9906 | 2.7999 | 1.7575 | 0.95467 | 0.30877 | 0.054744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACC2015_1_RB7_288_290 | 288 | 237 | 123-ABC | ACC2015 | malvern | Tuesday, December 22, 2015 3:40:57 PM | Tuesday, December 22, 2015 3:40:58 PM | Silica 0.1 | 1.544 | 0.1 | Water | 1.33 | Hydro 2000G (A) | General purpose | 0.02 | 2000 | Off | 10.37 | 0.321 | 0.0159 | 2.017 | Volume | 35.632 | 0.597 | 0.603 | 9.95 | 5.004 | 31.784 | 69.113 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15882 | 0.24438 | 0.32362 | 0.37471 | 0.41118 | 0.43124 | 0.44441 | 0.45831 | 0.48125 | 0.51736 | 0.567 | 0.62611 | 0.69049 | 0.75605 | 0.81802 | 0.87074 | 0.90853 | 0.9284 | 0.93117 | 0.92555 | 0.93035 | 0.97675 | 1.1044 | 1.3653 | 1.795 | 2.4351 | 3.2693 | 4.2782 | 5.3621 | 6.423 | 7.3136 | 7.9169 | 8.1347 | 7.9281 | 7.3177 | 6.3826 | 5.2341 | 4.012 | 2.8287 | 1.7848 | 0.97407 | 0.3129 | 0.053191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0